| PRR Number | 541 | PRR Title | Regulation Deployment Ramp Rate |
| --- | --- | --- | --- |
| Impact Analysis Date |  | September 22, 2004 |  |
| Credit Impacts |  | YES _______ NO ___X___ If No, skip the next two boxes. |  |
| Has the Credit Workgroup reviewed the PRR? |  | YES _______ NO ______ |  |
| Outcome of Credit Workgroup review |  |  |  |
| Cost/Budgetary Impact |  | This Impact shall be updated after further discussion. |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | Approximately 6 weeks (as originally submitted) plus any additional time needed for implementation of impacts determined upon further discussion. |  |
| ERCOT Staffing Impacts (across all areas) |  | There is no staffing impact provided the coding to make the Compliance measures is in place. (See Evaluation of Interim Solutions section below.) |  |
| ERCOT Computer System Impacts |  | Changes in the Regulation deployment ramp rate and the SCE performance monitoring can be done by ERCOT staff. |  |
| ERCOT Business Function Impacts |  | None |  |
| Grid Operations & Practices Impacts |  | None |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

Evaluation of Interim Solutions (e.g., manual workarounds)

There is not a feasible manual workaround to measure SCE performance for the Compliance staff without the SCE coding changes.

Comments

ERCOT recommends pursuing PRR525 (SCE Performance and Monitoring) before continuing with PRR541. PRR525 involves three methods of measuring SCE performance, including Regulation, which will be tested over the next couple of months.