## Master List
Protocol Revision Request Master List - TNT PRR designation 9/19/05 | [5 empty] | Search | m5 | d5
[6 empty] | Term | 9/9/04 | 6.8.2
Rev Req No. | Description | Protocol Section | TAC Action | Board Action | Effective Date/Status | Finalized | Date Filter | Text Filter | Action Required Y/N | Nodal Section | TNT Comments
542PRR | Clarifying the LaaR Three Hour Limit. Clarify that QSEs are allowed to replace LaaR Responsive Reserve with Responsive Reserve from a Generating Resource or other uncommitted LaaR following a deployment of Responsive Reserve Service. | 6.10.5.4 | 12/2/04 Approved | 1/21/05 Approved | 2005-02-01 | 2005 |  |  | ? |  | LCRA Homework - 9/23
403PRR | URC Update Due to Smoothing Algorithm Revision. Clarifies and describes in detail the changes to the URC equation as a result of the implementation of PRR 350. Specifically describes how to treat DC Tie Schedules when calculating the schedule to be used in the URC calculation. | 6.8.1.15 | 5/8/03 Approved | 5/20/03 Approved | Upon System Implementation | 2003 | FALSE | FALSE | N |  | not relevant/already included
404PRR | Energy Procured from ERCOT. Expands the functionality of Relaxed Balanced Schedules by allowing Market Participants to schedule up to 500MW of generation from ERCOT. | 4.3.2 | 1/8/04 Approve | 1/21/04 Approved as revised | Upon System Implementation | 2004 | FALSE | FALSE | N |  | not relevant
409PRR | Voltage Support Service. The current Protocols allow for excessive reactive dispatching on the part of TSPs without compensation to generation owners. This PRR changes the power factor envelope from +-.95 to +-.98, and allows for payment to generators. | 6.5.7, 6.8.4 | 9/9/04 Approve as revised | 9/21/04 Approved as revised | 2004-10-01 | 2004 | FALSE | FALSE | N | 6 | Already included in Section 6.5.7.7.
413PRR | Optimization for the whole operating day in RPRS procurement process. Modify RPRS procurement process so that RPRS procurement process is an optimum solution for the whole operating day. | 4.4.16, 6.3.1, 6.5.9, 6.6.3.2.1, 6.7.8, 6.8.1.10, 6.8.1.11, 6.8.2.2, 7.4.2 | 8/6/03 Approved | 8/19/03 Approved | Upon system implementation | 2003 | FALSE | FALSE | N |  | not relevant/already included
422PRR | OOM Zonal Dispatch Instructions. Provides detail on deployment and settlement of Zonal OOME Dispatch Instructions in command and control conditions | 6.1.12, 6.2.1, 6.3.1, 6.5, 6.5.9, 6.5.11, 6.6.5, 6.7.7.1, 6.7.7.2, 6.7.7.3, 6.7.8, 6.8.2, 6.8.2.5, 6.9.7.2 | 7/2/2003 Remanded to PRS; 8/6/03 Approved | 8/19/03 Approved | 9/1/03 for manual work-around; balance upon system implementation | 2003 | FALSE | FALSE | N |  | not relevant
423PRR | Dispatch of QFs Below Minimum Generation Levels. This PRR would limit ERCOT's ability to dispatch QFs to a value no lower than their Minimum Generation Level, except in the case of an imminent Emergency. | 4.4.15 | 7/2/03 Approved | 7/15/03 Approved | Upon system implementation | 2003 | FALSE | FALSE | N |  | already included
424PRR | Elimination of Resource Specific Deployment Used for Energy Balance Purpose. This PRR will eliminate the Resource specific deployments for energy balance purposes and will reduce the cost of Local Congestion that is currently uplifted to all Loads. | 6.7.1.2, 7.3.2, 7.4.3.1, 7.4.3.2 | 7/2/03 Approved | 7/15/03 Approved | Upon system implementation | 2003 | FALSE | FALSE | N |  | not relevant
426PRR | URC for Uncontrollable Resources. Defines an Uncontrollable Renewable Resource and allows wind resource to elect to use their Renewable Production Potential in lieu of their schedule as the basis for URC charges and OOME Down payments. | 2.1, 6.8.1.15.1 | 2/5/04 Approved | 2/17/04 Approved | 3/1/04 for those portions of the PRR that can be manually implemented. The remaining portions will be effective upon system implementation. | 2004 | FALSE | FALSE | N |  | already included to extent required
428PRR | RMR Scheduling Clarifications. This PRR would document/clarify the scheduling process for energy from RMR Units. | 4.5.11.3.1, 4.5.11.3.2, 4.9.4.3 | 10/9/2003 Approved as revised | 10/21/03 Approved | Upon system implementation | 2003 | FALSE | FALSE | N |  | already included
436PRR | Enhance LaaR/BUL Ability to Participate in Balancing Energy Up Service, Non-Spinning Reserve Service, and Responsive Reserve Service Markets. This PRR would include the changes proposed by the Demand Side Working Group to clarify the role of Loads in the Ancillary Service and BUL markets. | 6.5.2, 6.5.4, 6.10.3.2, 6.10.3.3, 6.10.5.2, 6.10.5.4, 6.10.5.5, 6.10.8 | 12/4/03 Approve as revised | 12/16/03 Approved | Upon system implementation | 2004 | FALSE | FALSE | N |  | already included
439PRR | Clarification on Defining OOME as Instructed Deviation. To clarify two exceptions on defining OOME as Instructed Deviation for the implementation of 373PRR. | 6.7.7 | 8/6/03 Approved | 8/19/03 Approved | Upon system implementation | 2003 | FALSE | FALSE | N |  | not relevant
441PRR | Protocol Revision Implementation. Requires estimated implementation dates to be developed for PRRs that are approved by the PRS. | 21.4.5, 21.6 [New] | 11/6/03 Approved | 11/18/03 Approved | Upon fulfilling ERCOT staffing requirements | 2003 | FALSE | FALSE | N |  | non nodal section
444PRR | Move In Move Out (MIMO) Stacking. Market Participant solution for handling multiple non-sequential transactions on a single ESI ID. | 15.1 | 10/9/03 Approved | 10/21/03 Approved | 11/1/03 and upon system implementation | 2003 | FALSE | FALSE | N |  | non nodal section
446PRR | Disclosure of OOMC Deployments. Provides for disclosure on the date of Initial Settlement, but no sooner than day 14, of each unit receiving an OOMC Dispatch Instruction, intervals for which the instruction was received, intervals for which and quantity of energy deployed by ERCOT from units receiving an OOMC Dispatch Instruction. | 1.3.1.1; 6.5.10 | 9/4/03 Approved | 9/16/03 Approved | Upon system implementation | 2003 | FALSE | FALSE | N |  | not relevant
448PRR | Changes to implement Balancing Up Loads (BULs) and Block Deployment of LaaRs. Clarification of Balancing Up Load (BUL) calculations, removal of BUL Resource Plan language, and inclusion of BUL capacity payment calculations in Section 6.8. | 6.8.1.14; 6.8.1.15.3; 6.10.4.4 | 9/4/03 Approved | 9/16/03 Approved | Upon system implementation | 2003 | FALSE | FALSE | N |  | LaaR already included; BUL not relevant
450PRR | BLT Generic Cost Fix Again. During the course of approving 371 the resource generic cost for Block Load Transfers were inadvertently omitted. This simply maintains the BLT category generic fuel cost that is currently in effect when the language from 371 is removed from the box. | 6.8.2.1 | 11/6/03 Approved | 11/18/03 Approved | Upon system implementation | 2003 | FALSE | FALSE | N |  | already included
451PRR | Clarification of Ancillary Services Obligation Calculation. Clarification that ERCOT’s calculated AS Obligations for its Day Ahead Operating Day Ancillary Services are based on Initial Settlement data only for the purpose of setting up the Day Ahead plan. After the Operating Day, the AS Obligation calculations are to be adjusted according to actual Metered Load Ratio Share throughout the entire settlement process, in the same manner as Load Imbalance, BENA, etc. | 6.3.1, 6.9.1, 6.9.1.1, 6.9.1.2, 6.9.1.3, 6.9.1.4 | 12/4/03 Approve | 12/16/03 Approved | Upon system implementation | 2004 | FALSE | FALSE | N |  | already included
454PRR | OOME Off-line. When a generation unit receives an OOME instruction that would force it off-line, ERCOT must provide OOME instructions until the unit was scheduled to come off-line, or an OOMC instruction when the unit is requested to return. | 2.1, 6.5.10, 6.7.7.4 [new], 6.8.2.6 [new] | 11/6/03 Approved as revised | 11/18/03 Approved | Upon system implementation | 2003 | FALSE | FALSE | N |  | not relevant
459PRR | EPS Meter Data Transmittal. ERCOT has implemented some of the requirements of PIP204 and PRR283; as a result the content and the order of some of the text previously shown as boxed has been altered. This PRR clarifies the features currently implemented and identifies within the boxed Protocol language those features which are still pending implementation. | 11.1.10; 11.1.11 | 11/6/03 Remanded to PRS; 2/5/04 Approved | 2/17/04 Approved | Upon system implementation | 2004 | FALSE | FALSE | N |  | non nodal section
462PRR | Market Solution Definition. Revises the definition of Market Solution to allow for submittal of bids in circumstances including reliability needs other than local Congestion. | 2.1 |  |  | Tabled pending WMS/PRS Market Solution definition |  |  |  | N |  | Rejected by PRS
471PRR | NIDR to IDR Default Profile Scaling. When an ESI ID changes meters and profile ID assignment when changing from a NIDR to IDR meter, the IDR data is likely to be unavailable for at least the Initial Settlement. Currently the IDR default profile would be used and is likely to be an over statement of the Load for the ESI ID. By scaling the IDR default profile based on the Load of the last NIDR readings would greatly reduce the variance. | 11.3.3.3 | 1/8/04 Approve | 1/21/04 Approved | Upon system implementation | 2004 | FALSE | FALSE | N |  | non nodal section
472PRR | ERCOT Meter Read Transaction Validation Reinstatement. Ensures that meter read transactions received by ERCOT from the TDSP or any 3rd party service provider have been completely validated for technical, business and data set points prior to ERCOT's submittal of the transaction to the Market Participant(s) designated to receive the information | 10.12.1, 15.3 |  |  | 11/20/03 Remanded to RMS; No action until Q4 2004 |  |  |  | N |  | non nodal section
476PRR | Ramp Rate Adherence During Local Congestion. Currently, the ramp rates on individual resources are ignored during Local Congestion. This leads to Dispatch Instructions that are impossible to adhere to, especially when every unit running for a QSE is getting a unit specific instruction. Although a QSE may ignore category 4 instructions, they must still follow the category 1. In the event that every unit running for a QSE in a zone is getting a category 4, they all make up the category 1. As a result of the ramp rates being violated, SCE cannot be followed, which puts a strain on frequency which leads to regulation and balancing instructions. Further, the QSE can potentially be penalized with imbalance charges for not keeping SCE at 0. | 6.7.1.2, 6.10.7 | 6/3/04 Approved; 7/8 Remanded to WMS | 6/15/04 Remanded to TAC | Upon System Implementation |  |  |  | N |  | not relevant
478PRR | Use of Lagged Dynamic Samples for New Load Profiles. This is a change to the method for creating Load Profiles allowing for the use of lagged dynamic samples for new profiles adopted subsequent to market open. | 18.2.2, 18.2.7 | 2/5/04 Approved | 2/17/04 Approved | Upon system implementation | 2004 | FALSE | FALSE | N |  | non nodal section
479PRR | IDR Optional Removal Threshold. Allow the removal of an IDR meter for settlement under certain conditions when load drops below a minimum threshold. | 18.6.1, 18.6.7 [new], 18.6.8 [new] | 3/4/04 Remanded to PRS; 7/8/04 Approve | 7/20/04 Approved | 8/1/04 and upon system implementation | 2004 | FALSE | FALSE | N |  | non nodal section
483PRR | Interruptible LaaR Response to Instructions. The Load Response to Instructions has always been a requirement from LaaRs, so this just adds it to the list. For reliability reasons, ERCOT feels the Load Resource Response to Instructions should be a Real Time signal telemetered from the QSE and not a calculation based on information provided in the Resource Plan. | 6.5.1.1, 6.10.4.4 | 4/8/04 Approved | 4/20/04 Approved | 2004-05-01 | 2004 | FALSE | FALSE | N |  | already in 6.5.5.2(4)
484PRR | Changes for Implementation of Direct Load Control (DLC). The requested changes will facilitate and specify how DLC programs participate in the BUL market. | 6.10.2, 6.10.5.2 | 2/5/04 Approved | 2/17/04 Approved | Upon system implementation | 2004 | FALSE | FALSE | N |  | not relevant - no BUL mkt in nodal
485PRR | Revision to Unit-Specific Deployment Based on Generic Cost. This revision includes RMR Units in the list of exceptions and would avoid the bids for certain types of units exceeding the $1,000/MW bid cap. | 4.4.20 | 4/8/04 Approved | 4/20/04 Approved | Upon system implementation | 2004 | FALSE | FALSE | N |  | already included
488PRR | Weather Responsiveness Determination. Amend the weather responsiveness determination to reflect the requirement for TDSPs to submit profile code changes, to prevent changing the weather responsiveness based on missing data, to establish a threshold for the amount of missing data and to set up a process to re-test ESI IDs with insufficient data. | 11.3.3.1 | 4/8/04 Approved | 4/20/04 Approved | Upon system implementation | 2004 | FALSE | FALSE | N |  | non nodal section
489PRR | Ancillary Service Deployment Performance Conditions. Revises the requirement that ERCOT remove from consideration of average performance of a QSE any interval or group of intervals in which any one of several specific events (e.g., OOME deployments to the QSE) has occurred. | 6.10.6 | 4/8/04 Approved | 4/20/04 Approved | 2004-05-01 | 2004 | FALSE | FALSE | N |  | not applicable
491PRR | Clarification to PRR 413 RPRS Market. This PRR separates the RPRS bid price used to resolve Local Congestion from that used to resolve Zonal Congestion and capacity insufficiency. For procurement of local capacity, the solution uses the Resource Category Generic Cost. For procurement of zonal or system capacity, the solution uses the submitted RPRS bids. The Market Solution concept is removed. PRR 466 has extended the current expiration date for the suspension of Market Solution for Local Balancing Energy from December 31, 2003 to February 1, 2005. | 6.6.3.2.1, 6.8.1.11, 7.4.2 | 2004-03-04 | 3/16/04 Approved | Upon system implementation | 2004 | FALSE | FALSE | N |  | not relevant
493PRR | Induction Generator Exemption. Revise section to clarify the mechanism an induction generator may use to receive an exemption from the generator and the level of the payment to be made. | 6.5.7.1 | 2004-03-04 | 3/16/04 Approved | Upon Filling ERCOT Staffing Requirements | 2004 | FALSE | FALSE | N |  | not relevant
497PRR | Unavailable Units and RMR Agreements. Restores the evaluation and notice requirement until alternate Protocol language can be developed. The language included in this PRR is identical to the language in PRR452 approved by the Board in October 2003. The March 31, 2004 expiration date of the PRR452 language was intended to allow time for a new PRR that enhances the process in the PRR452 language. Good progress has been made on a new PRR. The RMR Task Force has almost finalized a draft for PRS consideration. Failure to reinstate the language from PRR452 that expires on March 31 could adversely impact ERCOT’s ability to prevent critical generation units from exiting the system. | 8.1.3.2 | 4/8/04 Approved | 4/20/04 Approved | 2004-04-21 | 2004 | FALSE | FALSE | N |  | already included
498PRR | Exclusion of Payment For Black Start Service from Short Payment Obligation. Revise Section 9.4.4, Partial Payments, to exclude payments for Black Start Service from the calculation of reduced payments to Invoice Recipients when ERCOT incurs short payments. | 9.4.4 | 6/3/2004 Rejected |  |  | 2004 | FALSE | FALSE | N |  | not applicable
501PRR | A/S Revision to Down Balancing Requirement. Revise the Down Balancing Requirement to account for Regulation Down obligations. | 4.5.2, 6.5.2 | 6/3/04 Remanded to PRS; 7/8/04 Approve | 7/20/04 Approved | Upon updating documentation | 2004 | FALSE | FALSE | N |  | not relevant
504PRR | Resource Derating Clarification. Provides an explanation of what constitutes a Resource deration. | 8.6.3 | 6/3/04 Approved | 6/15/04 Approved | 2004-07-01 | 2004 | FALSE | FALSE | N | 3.1.4.8 | already included
507PRR | RMR Process enhancements. The proposed revisions to Sections 2, 6.5.9.1, 6.8.3.1, 8.1.3.2 and 22(I) streamline and clarify the RMR initiation process timeline and add incentives for Resource Owners to negotiate RMR agreements. | 6.5.9.1, 6.8.3.1, 8.1.3.2, 22(I) | 6/3/2004 Approved | 6/15/04 Approved | Upon Staffing | 2004 | FALSE | FALSE | N |  | already inlcuded
509PRR | Initiation, Procedure, and Settlement of Disputes through ADR. The changes describe the process for initiating the ADR process, deadlines for prosecuting ADRs, and implementing ADR resolutions in the Settlement process. | 20.1; [new] 20.1.1; [new] 20.1.2; 20.2; [new] 20.6; [new] 20.6.1; [new] 20.6.2; [new] 20.7; [new] 20.8; [new] 20.8.1; [new] 20.8.2; [new] 20.8.3 | 9/9/04 Approve as revised | 9/21/04 Approved | 2004-10-01 | 2004 | FALSE | FALSE | N |  | non nodal section
510PRR | Remove PIP134 and PIP158 Boxed Language. This PRR removes changes due to PIP134 and PIP158, which will not be supported. PIP134 required ERCOT System and Zonal Load forecasts to be distributed through the Message System and PIP158 added information contained in Dispatch Instructions. | 5.4.2.2; 6.4.2 | 6/3/2004 Approved | 6/15/04 Approved | 2004-07-01 | 2004 | FALSE | FALSE | N | 6.5.7.4 | deletions already incorporated
512PRR | OOMC and OOME of LaaRs. This PRR clarifies that LaaRs will not be given OOMC and will be limited to a capped amount of verifiable cost recovery. | 6.1.10, 6.5.10, 6.8.2.1, 6.8.2.2, 6.8.2.3, 6.10.8 | 6/3/2004 Approved | 6/15/04 Approved | 2004-07-01 | 2004 | FALSE | FALSE | N |  | not relevant
514PRR | Twelve Month Window for Non-IDR Scaling. Change the window used in data aggregation for estimating non-IDR meter reads when data for a trade day is not present in ERCOT systems. | 11.3.2 | 7/8/04 Approve | 7/20/04 Approved | Upon system implementation | 2004 | FALSE | FALSE | N |  | non nodal section
515PRR | Disclosure of Local Congestion. This PRR provides for the disclosure of information on each unit receiving OOMC/OOME, the intervals and amount of OOMC/OOME provided as well as the transmission studies that lead to OOMC/OOME/RMR deployments. This PRR also provides for disclosure of the contingency and/or overloaded element(s) causing the Local Congestion deployments ASAP. | 1.3.1.1, 1.3.1.2, 6.5.10, 6.7.8 | 7/8/04 Approve | 7/20/04 Approved | Upon system implementation | 2004 | FALSE | FALSE | N |  | already included
517PRR | Reduce the Number of Annual TCRs Sold to 40% from 60% This PRR wants to reduce the number of annual TCRs being sold from 60% to 40%. | 7.5.3.1 | 8/5/04 Approve | 8/17/04 Approved | 2004-09-01 | 2004 | FALSE | FALSE | N |  | not relevant
519PRR | ERCOT and TDSP Acceptance of Customer Cancellation of Switch Request. Revise current Protocol language to clarify that ERCOT and the TDSP will accept cancellations (814_08s) until five (5) Business Days preceding the effectuating meter read date. | 15.1.1.4 | 6/3/2004 Approved | 6/15/04 Approved | 2004-08-01 | 2004 | FALSE | FALSE | N |  | non nodal section
520PRR | Resource Plan Performance Metrics. Establishes Resource Plan performance metrics which are needed for ERCOT to accurately monitor compliance with the Protocols. This revision also defines acronyms for High/Low Operating Limit and High/Low Sustainable Limit. | 2.1, 2.2, 4.4.15, 4.10 [new] | 8/5/04 Approve | 8/17/04 Approved | 2004-09-01 | 2004 | FALSE | FALSE | N |  | not applicable
521PRR | Add Fleet/Zonal OOME instruction to SCE Calculation. For Release 4, ERCOT is planning on partially implementing PRR 422. It is not within the scope of Release 4 to include Fleet/Zonal OOME instructions in market clearing, thus an addition to the SCE equation is necessary to aid a QSE who receives a fleet deployment in following its SCE. | 6.10.4.4, 6.7.7.1 | 8/5/04 Approve | 8/17/04 Approved | Upon system implementation | 2004 | FALSE | FALSE | N |  | not relevant
522PRR | Collateral Requirements and Credit Changes. Changes are proposed to strengthen ERCOT’s ability to enforce collateral and offset appropriately in bankruptcy situations. Changes also will adjust collateral requirements for known or estimated potential liability, Other “clean up” language is also incorporated. | 2.1, 9.4.1, 9.4.2, 9.4.3, 9.4.4, 9.4.5, 16.1, 16.2 | 8/5/04 Remanded to PRS; 9/9/04 Approve as revised | 9/21/04 Approved | 2004-10-01 | 2004 | FALSE | FALSE | N |  | all changes to 2, 9, and 16 have been made
523PRR | Revisions to Protocol Section 21. This PRR modifies the process for revising the Protocols, including: establishing timelines for ERCOT to complete Impact Analyses for all PRRs submitted, standardizing certain provisions, correcting grammatical errors; and formalizing the process for submitting and approving System Change Requests. | 21 | 10/7/04 Approve | 10/19/04 Approved | 2004-11-01 | 2004 | FALSE | FALSE | N |  | non nodal section
525PRR | SCE Performance and Monitoring. Frequency control has been an on-going issue and concern with Market Participants and ERCOT. PRR 356 (SCE Performance Requirement) and PRR 358 (Negative Impact Schedule Control Error) were submitted, respectively, in August and September of 2002 with the intent of providing incentives to QSEs to more closely follow SCE, thereby resulting in improved frequency control and reliability. These two PRRs have been languishing for nearly two years, with no resolution expected. | 6.10.4, 6.10.4.1, 6.10.5, 6.10.5.1, 6.10.5.3, 6.10.5.6, 6.10.6 | 3/3/05 Approve as revised | 4/19/05 Approved | 5/1/05 and upon system implementation | 2005 | FALSE |  | N |  | not relevant
526PRR | OOMC Verifiable Cost Documentation. Section 6.8.2.2 requires that for recovery of actual cost associated with OOMC instructions specific documentation standards be outlined in the protocols. This new section 6.8.2.2(iv) defines the documentation standards required when ERCOT cancels or delays unit’s planned & approved maintenance outage via an OOMC instruction, with insufficient time to avoid additional costs. | 6.8.2.2 | 10/7/04 Approve | 10/19/04 Approved | 2004-11-01 | 2004 | FALSE | FALSE | N |  | Reject for synchronization, but market should consider at PRS (Richard Ross)
527PRR | Clarify OOM Definition. Current interpretation is that OOM only includes operator manual entry of unit specific deployment. | 2.1 | 11/4/04 Approve | 11/16/04 Approved | 2004-12-01 | 2004 | FALSE | FALSE | N |  | not relevant
528PRR | Deadline for Filing ADR Claims. Amends the deadline for filing an Alternative Dispute Resolution (ADR) claim for denied settlement and billing disputes from thirty (30) to forty-five (45) days. | 9.5.4 | 9/9/04 Approve | 9/21/04 Approved | 2004-10-01 | 2004 | FALSE | FALSE | N | Section 9.8.4.5 | changes have already been made
529PRR | Calculating Final REC Purchasing Requirements. Revises Section 14 to reflect REC Program software changes that (1) allow for recalculation of previous year’s Final REC Requirements for all Competitive Retailers and (2) change the way the Final REC Requirements are calculated. | 14 | 8/5/04 Approve | 8/17/04 Approved | 2004-08-18 | 2004 | FALSE | FALSE | N |  | non nodal section
532PRR | Implementation of Non-Transmission Alternatives to RMR and OOM Services. Revisions to allow ERCOT to implement non-transmission alternatives to Reliability Must-Run (“RMR”) and Out-Of-Merit (“OOM”) Services to reduce uneconomic uplift. | 2.1, 6.1.9, 6.3.1, 6.5.9.2, 6.7.8, 6.8.3, 6.9.4.2, 7.4.5 | 10/7/04 Approve; 11/4/04 Approve | 10/19/04 Remanded to TAC; 11/16/04 Approved; 1/21/05 Amended | 12/1/04; 2/1/05 | 2005 | FALSE | FALSE | N | 3.14.1.4; 3.14.1.5 | already included
534PRR | Temporary Modifications to the Annual Load Profile ID Assignment and Validation Process. Inserts language in Protocols to allow temporary modifications applicable to the process for annual Load Profile ID Assignment and Validation to be established and approved by the ERCOT Board. | 18.4.3 | 9/9/04 Approve | 9/21/04 Approved | 2004-09-22 | 2004 | FALSE | FALSE | N |  | non nodal section
536PRR | Mandatory IDR Threshold Reduction. Lower the mandatory threshold for IDR mandatory installation to 700 kW (or kVA) and be complete by January 30, 2006. | 18.6.1; 18.6.6 | 11/4/04 Approve | 12/14/04 Approved | 2005-01-01 | 2005 | FALSE | FALSE | N |  | non nodal section
537PRR | Increased Congestion Management Flexibility. This PRR provides ERCOT with additional options to use in the management of congestion both in day-ahead and real-time operations. | 1.3.1.1; 6.5.10 | 9/9/04 Approve | 9/21/04 Approved | 2004-10-01 | 2004 | FALSE | FALSE | N |  | not relevant
538PRR | OOMC Generic Cost for Coal. Establish generic cost for coal plants for use when they receive OOMC Instructions. This same logic would apply to Nuclear & Hydro units. | 6.8.2.1 | 11/4/04 Approve | 12/14/04 Approved | 2005-01-01 | 2005 | FALSE | FALSE | N |  | concept does not work in Nodal - see PRR 526
540PRR | OOM Cost Recovery Process Clarification. Clarify the process ERCOT is to use when making payments for cost recovery request associated with OOMC & OOME instructions. Clarify payments for cost categories approved in an executive session of the Board are to occur on a Resettlement Statement rather than waiting for the True Up Statement. | 6.8.2.2; 6.8.2.3 | 2/3/05 Approve | 3/15/05 Remanded to TAC; 4/19/05 Approved | 2005-05-01 | 2005 |  |  | N |  | already included
541PRR | Regulation Deployment Ramp Rate. Eliminates “implied” ramp rate limitation on Regulation Service deployments and clarify that the limitations outlined for performance purposes are not intended to limit ERCOT’s ability to fully deploy regulation at any time. | 6.7.2; 6.10.5.3 |  |  | Upon System Implementation |  |  |  | N |  | not relevant
543PRR | Schedules and Emergency Assistance Over CFE-ERCOT DC Ties. Incorporates the use of DC ties with CFE for commercial and emergency services. | 4.4.18.1, 5.6.6.1, 5.6.7, 5.6.8, 5.8, 6.8.2.1 |  |  | Upon System Implementation |  |  |  | N |  | pending
544PRR | Twelve Month Window for Scaling NIDR to IDR ESI IDs. Modifies the window for Non-Weather Sensitive Proxy Day selection from 6 months to 12 months. | 11.3.3.3 | 12/2/04 Approved | 1/21/05 Approved | Upon system implementation | 2005 |  |  | N |  | non nodal section
545PRR | Retail Market Extracts. Include in Section 11 a new 11.3 that addresses ESI ID-level extract information provided to LSEs | 11.3 [new] | 12/2/04 Approved | 1/21/05 Approved | 2005-02-01 | 2005 |  |  | N |  | non nodal section
546PRR | PCR Treatment for Federal Hydropower Resources. Tex-La and Rayburn propose to revise Protocols Section 7.5.6 to provide that long-term power purchase agreements for federal hydropower are eligible for PCR treatment if a long-term allocation was in place prior to September 1, 1999. | 7.5.6 | 11/4/04 Reject | 11/16/04 Approve | 2004-11-17 | 2004 |  |  | N | 7 | Already in Section 7.4.1.
547PRR | Trading Hubs. This PRR creates a new section that establishes a definition of a trading hub and specifically identifies the transmission buses that make up each trading hub. | 7.9 | 1/6/05 Approve as revised | 2/16/05 Approved | 2005-03-01 | 2005 |  |  | N |  | already inlcuded
548PRR | Settlement for Mismatched Inter-QSE Energy Schedules. This PRR proposes to reduce the quantities of energy “scheduled” by ERCOT into or from the Balancing Energy market during intervals in which Inter-QSE trades do not match. This will reduce ERCOT and Market Participants’ credit exposure to entities which submit mismatched inter-QSE trades. | 4.7.2, 6.9.8 | 1/6/05 Approve | 2/16/05 Approved | Upon system implementation | 2005 |  |  | N |  | not applicable
549PRR | Regulation Control During Abnormal Frequency Events This PRR revises Sections 6.5.3, 6.8.1.15.1, and 6.10.6 to establish an ERCOT frequency deadband of +/- 0.03Hz to aid in regulation control during abnormal frequency events. When ERCOT frequency is outside the deadband, any Qualified Scheduling Entity (QSE) that has a System Control Error (SCE) that is acting to return frequency to a level that is within the deadband will continue to send Dispatch signals to their Resources until the ERCOT frequency returns to a level that is within the deadband. However, in the case when ERCOT frequency is outside the deadband and, any QSE has an SCE error that is acting to move frequency further outside the deadband, that QSE will temporarily suspend sending signals to its Resources until ERCOT frequency returns to a level that is within the deadband. | 6.5.3, 6.8.1.15, 6.10.6 |  |  | TBD |  |  |  | N |  | partly inlcuded/partly not relevant
550PRR | Pace of Short Pay Uplift to LSEs This revision sets a rate at which money due from QSEs representing load is collected. | 9.4.4 | 12/2/04 Approved | 12/14/04 Approved | 2005-01-01 | 2005 | FALSE | FALSE | N | 9.7.3 (f), (g) | already included
551PRR | Secrity Interest This PRR adds additional language to the Protocols to greater protect ERCOT Market Participants in the event of a bankruptcy. | 16.2.5.1.2 16.8.1.5.3 | 1/6/05 Approve | 2/16/05 Approved | 2005-03-01 | 2005 |  |  | N |  | already included
553PRR | Scheduling Trading Hubs. Modify ERCOT’s scheduling requirements to accommodate transactions involving ERCOT Trading Hubs. | 4.2, 4.3.1, 4.4.8, 4.7.2, 4.9.4.1 | 1/6/05 Remanded to PRS |  | Upon system implementation, contingent on approval of PRR547 |  |  |  | N |  | not applicable
556PRR | Elimination of ERCOT-wide Uplift of Costs Related to OOMC, OOME, LBES and RMR Payments. Changes the allocation of OOMC, OOME, LBES and RMR costs from ERCOT-wide LRS to Congestion Zone LRS. | 6.9.4.2, 6.9.7.1, 6.9.7.2 | 1/6/05 Rejected | 1/18/05 Appeal rejected |  | 2005 |  |  | N |  | rejected by BOD
557PRR | Late Fees and Late Fee Recovery. Clarifies how late fees are calculated and distributed. | 9.4.4, 9.4.6 | 3/3/05 Approve as revised | 4/19/05 Approved | 2005-05-01 | 2005 |  |  | N | 9.4, 9.5 and 9.7.5 | Already included in real time, does not apply in day-ahead market. Late fees now paid to those who are short-paid. Ragsdale to confirm
559PRR | Regulation E10 Update and SCPS1/SCPS2 References. Change E10 to the current value being used. Add references to call measures SCPS1 and SCPS2 as they are commonly referred to. | 6.10.5.3 | 3/3/05 Approve | 4/19/05 Approved | 2005-05-01 | 2005 |  |  | N | 8.1.2.4.1(5) | technical aspects already included; clarifications regarding the terms are inappropriate
560PRR | QSE Qualification Using LaaRs. Add Protocol Language what describes how a QSE can qualify to provide Ancillary Services by using only LaaR Resources | 6.10.3, 6.10.3.2, 6.10.3.3, 6.10.3.4 | 3/3/05 Approve | 4/19/05 Approved | 2005-05-01 | 2005 |  |  | N | 8.1.2.1 and 8.1.2.2 | generally already included
562PRR | Permanent Elimination of Market Solution for Local Congestion. Section 7.4.3 regarding the prohibition of the use of a Market Solution for Local Congestion payment is scheduled to expire Feb. 1, 2005. This revision would eliminate the date of such expiration. | 7.4.3 | 1/10/05 Approve | 1/21/05 Approved | 2005-02-01 | 2005 |  |  | N |  | not relevant
563PRR | Standard Form Black Start Agreement – Payment. With PRR487 (Black Start Resources) approval, Black Start resources, within close proximity of another power pool, which are capable of starting from such power pool via a firm standby power supply contract, are available if the resources and the transmission line(s) connecting the Black Start resource and the external power pool are both in service. | Section 22 Attachment A Section 9 B. (1) | 3/3/05 Approve | 4/19/05 Approved | 2005-05-01 | 2005 |  |  | N |  | non nodal section
564PRR | Clarification of OOME Definition. While the protocols implicitly indicate that an SPS actuation as an OOME dispatch they do not explicitly include an SPS in its definition in section 6. | 6.1.11 | 5/5/05 Approve; 7/7/05 Approve | 6/21/05 Remanded to TAC; 7/19/05 Approved | 2005-08-01 |  |  |  | N |  | not relevant
565PRR | Calculation of Losses for Settlement. Modify the way distribution losses are calculated to be based on actual rather than forecasted ERCOT load. | 13.1.1, 13.1.2, 13.3.1, 13.3.1.1, 13.3.1.2. | 4/7/05 Approve | 5/17/05 Approve | Upon System Implementation |  |  |  | N |  | non nodal section
566PRR | Implementation of IDR Optional Removal Threshold Allow the removal of an IDR meter for settlement under certain conditions when load drops below a minimum threshold. The language to allow a customer to request removal of an IDR meter under certain conditions was approved in PRR479. However, the language was boxed until the report required by Section 18.6.2 was modified to indicate whether a customer was eligible to request removal of the IDR meter. Based on discussions between Market Participants, OPUC, the PUCT and ERCOT staff, the PRR 479 language changes were not intended to require changes to the report specified in 18.6.2. This PRR modifies the language in 18.6.2 so that the report does not need to be modified and the language allowing the customer to request removal of the IDR meter can be unboxed. This PRR modifies the reporting requirement in Section 18.6.2 and unboxes the language that allows the customer to request removal of an IDR meter under such circumstances. | 18.6.2, 18.6.7 | 2/3/05 Approve | 2/16/05 Approved | 2005-03-01 | 2005 |  |  | N |  | non nodal section
567PRR | Block Bidding of Ancillary Services. Revision would allow QSEs to link ancillary service bids across consecutive hours and establish minimum block values that must be selected to clear the bid. | 4.4.11 | 2005-09-08 | TBD | Upon System Implementation |  |  |  | N |  | pending - not relevant
568PRR | Change Initial Settlement from 17 days to 10 days. Change Initial Settlement from 17 days to 10 days. | 9.2.3 | 7/7/05 Approve | 8/16/05 Approved | Upon TAC approval of transition plan |  |  |  | N |  | already addressed
569PRR | Revision to Balancing Energy Payments from a Specific Resource. Revision modifies the payment for Resource-specific deployments to use the fuel index for the current Operating Day. | 7.4.3.1, 7.4.3.2 | 4/7/05 Approve | 5/17/05 Approve | Upon System Implementation |  |  |  | N |  | not applicable
570PRR | Clarification of Settlements of Local Congestion Costs. Clarify wording to specify that resources deployed by the Balancing Market will be paid the difference between MCPE and the Up/Down Premium Bid. | 7.4.3.1, 7.4.3.2 | 4/7/05 Approve | 5/17/05 Approve | 2005-06-01 |  |  |  | N |  | not applicable
571PRR | Balancing Energy Bid Cap. Revises the definition of Balancing Energy Bid Cap by clarifying that Balancing Energy Service bids shall be between -$1,000 per MWh and $1,000 per MWh, inclusive, for all Resources. | 6.5.2 | 4/7/05 Approve | 5/17/05 Approve | 2005-06-01 |  |  |  | N |  | not applicable
572PRR | Weather Sensitivity Classification. Includes language regarding procedures to determine weather sensitivity classifications when an ESI ID is inactive or de-energized. | 11.4.3.1 | 5/5/05 Approve | 6/21/05 Approve | Upon System Implementation |  |  |  | N |  | non nodal section
575PRR | Mandatory Down Balancing Ramp Rate. Proposes new subsection (4.5.2(3)) that would clarify that the Mandatory Down Balancing Bid amount should be deployable within one interval. | 4.5.2 | 5/5/05 Approve | 6/21/05 Approve | 2005-07-01 |  |  |  | N |  | not relevant
577PRR | Availability of Aggregated Load Data by TDSP. Receive aggregated TDSP Load data from ERCOT for the purposes of accurately identifying TDSP system peaks required for FERC filings. | 11.5.1.1 | 6/2/05 Approve | 7/19/05 Approved | Upon system implementation |  |  |  | N |  | non nodal section
579PRR | Trading Hubs Language Correction. Modifies language in Section 7.9.2.1 for the calculation of the North 345 kV Trading Hub to be consistent with the calculation of the other three regional trading hubs by removing the 90% / 10% language that was originally applied to the North 345 kV Trading Hub only; Replaces the specific minimum scheduling increments by hub specified in Section 7.9.3.4 (2) with a Trading Hub to 2005 Congestion Zone conversion matrix. | 7.9.2.1, 7.9.3.4 | 4/7/05 Approve | 4/19/05 Approved | 2005-05-01 | 2005 |  |  | N |  | not applicable
583PRR | Responsive Reserve Deployment. Revise Section 6.7.3 to distinguish Responsive Reserve deployments for frequency restoration from conditions that require EECP to be declared. | 6.7.3 | 6/2/05 Approve | 7/19/05 Approved | 2005-08-01 |  |  |  | N | 6.5.7.6.2.2(6) | already addressed
584PRR | Extending Black Start Service Bid Timeline. Change Black Start Service Bids to a two year process | 6.5.8 |  |  | TBD |  |  |  | N |  | pending
585PRR | Settlement Obligation Formula for Balancing Energy Service. Adds the sum function in the Imbalance Ratio Share (IRSiq) settlement equation. | 6.9.5.1 | 6/2/05 Approve | 7/19/05 Approved | 2005-08-01 |  |  |  | N |  | not relevant
586PRR | SCE Performance and Regulation Cost Re-allocation. Replaces monitoring of QSEs’ adherence to their base power schedules, Balancing Energy Dispatch Instructions, and Ancillary Service Dispatch Instructions with a single metric that motivates QSEs to stay on schedule and perform their obligations. | 6.10.5, 9.6.1 | TBD | TBD | TBD |  |  |  | N |  | pending
587PRR | Midyear Modification of CSC or CRE definitions. Allow ERCOT staff the authority to modify CSC and CRE definitions midyear | 7.2.2 (New) | 6/2/05 Approve | 6/21/05 Approve | 2005-07-01 |  |  |  | N |  | not relevant
588PRR | Testing of Quick Start Units in the Balancing Energy Market. This PRR establishes a test by which a quick start unit can demonstrate its ability to perform in the BES market. | 6.10.3.4 | 7/7/05 Approve | 8/16/05 Approved | Upon implementation of OGRR171 |  |  |  | N |  | not applicable
589PRR | CSC and Zone Determination. This PRR is intended to strengthen ERCOT staff’s role in the CSC and zone determination process. | 7.2 | 6/2/05 Approve as amended | 6/21/05 Approve | 2005-07-01 |  |  |  | N |  | not applicable
590PRR | Update Unit Telemetry Requirement. This revision proposes to add a requirement for QSEs to submit real-time AGC status and Ramp Rate for all online units in their portfolio. | 6.5.1.1 | 7/7/05 Approve | 8/16/05 Approved | Upon system implementation |  |  |  | N |  | already included
592PRR | Modify Shift Factor Calculation to Exclude Fixed Output Generators. Modifies the calculation of the monthly zonal Shift Factors used to manage and settle zonal congestion. | 7.1, 7.2.1.2, 7.2.1.4, 7.3.4.1 | 6/2/05 Approve | 6/21/05 Approve | 2005-11-01 |  |  |  | N |  | irrelevent
593PRR | Behind the “Fence” Reporting of Load. The GATF has recommended that a PRR be drafted that would add more resolution to the total actual ERCOT and projected Load. Due to generation netting, there could be a significant amount of Load that never gets reported to ERCOT | 1.3.1.1, 10.3.2.3 | 7/7/05 Remanded to PRS |  | TBD |  |  |  | N |  | pending
594PRR | Replacement Reserve Service Payment Formulas. Corrects the Resource Replacement Reserve Service payment formula to result in negative amounts. Modifies Protocol language to match or refer to the formulas in 6.8.1.10 and 6.8.1.11. | 6.6.3.2.1, 6.8.1.1, 6.8.1.11 | 5/5/05 Approve | 5/17/05 Approve | 2005-06-01 |  |  |  | N |  | irrelevent
595PRR | ERCOT Protocol Section 10. The revision to Section 10 proposes clarity and consistency with current Market and ERCOT processes. | Entire Section 10 | 7/7/05 Approve | 8/16/05 Approved | 2005-09-01 |  |  |  | N |  | non nodal section
597PRR | Texas Test Plan Team. TTPT is revising all market place documentation (Section 23 in ERCOT Protocols, Section 6.1.2.2 in Retail Market Guide [RMGRR024], and TTPT Procedures) to keep all information uniform, consistent, and current. | 23 | 7/7/05 Approve | 8/16/05 Approved | 2005-09-01 |  |  |  | N |  | non nodal section
598PRR | Extension of Credit Against OOM Start Up. If MCPE is greater than Resource Category Generic Minimum Energy Cost, the difference will be credited against Startup Cost. This credit against Startup Cost shall continue until the earlier of: a) the end of the calendar day; or b) the credit has completely covered the startup payment | 6.8.2.2 | 8/4/05 Remanded to PRS; 9/8/05 | TBD | TBD |  |  |  | N |  | pending
599PRR | Notification for Mismatched Inter-QSE Energy Schedules. This PRR requires that notice be provided to both QSEs involved in a mismatch in the event that ERCOT remedies a mismatch as prescribed in PRR 548. The effective date for this PRR should be upon the implementation of PRR 548. | 4.7.2 | 8/4/05 Approve | 2005-09-20 | TBD |  |  |  | N | 4.4.2.2 Energy Trade Validation | Already addressed
600PRR | Align BES Bids with Resource Plan Capability and Resource Schedule. This documents the current ERCOT practice of limiting BES bids by the difference in Capacity in the Resource Plan and resource obligations and proposes language that is responsive to Potomac Economics recommendation number 8. | 6.5.2 | 8/4/05 Approve | 2005-09-20 | TBD |  |  |  | N |  | not relevant
601PRR | 15 Minute Ramping for BES and Base Power Schedule. The ramping period for BES deployment and for Base Power Schedule changes is changed from 10 minute to 15 minute | 6.5.2, 6.8.1.15.3, 6.10.4.2 | 8/4/05 Approve | 2005-09-20 | TBD |  |  |  | N | 6.6.5.1, General Generation Resource Generation Charge | Already addressed
602PRR | Ancillary Service Obligation for DC Tie Exports. This revision removes the allocation of Ancillary Service to DC Tie exports and provides for curtailment of DC Tie exports at Step 2 of EECP | 4.4.18.2, 4.4.18.4, 5.6.6.1, 5.6.7 | 2005-09-08 | TBD | TBD |  |  |  | N |  | not yet approved by BOD
603PRR | Defaulting QSEs Cost Obligation in Second AS Market. This PRR removes a duplicate sentence in Section 6.6.3.2 of the current Protocols. It also removes Section 6.9.1.5(2) because such subsection is unnecessary in light of Section 6.9.1.5(1) and modifies Section 6.9.1.5 (3) to remove other unnecessary language. | 6.6.3.2, 6.9.1.5 | 8/4/05 Approve | 2005-09-20 | TBD |  |  |  | N | 6.4.8.1.3, Replacement of AS due to Failure to Provide | Already addressed
604PRR | Replacement Reserve Service Bid Cap. This revision adds bid limit language for Generation Resources offering to provide Replacement Reserve Service (RPRS). | 4.4.11, 4.4.16 | 8/4/05 Approve | 2005-09-20 | TBD |  |  |  | N | 4.4.6.2.1(3) | already included
605PRR | SCE Performance Monitoring for Combined Cycle Resources 052705. Revise Sections 6.10.5.3 and subsections to change the SCE performance standard for combined cycle resources from 90% to 80%. | 6.10.5.3 | TBD | TBD | TBD |  |  |  | N |  | not yet approved by BOD
607PRR | One-Minute Ramp Schedules. Allows QSEs representing Resources to submit one-minute schedules for the ramping period associated with unit start up and shut down. Requires ERCOT to accept these one-minute ramp schedules for operations, compliance, and settlement purposes. | 4.4.15, 4.10.4, 4.10.7 | TBD | TBD | TBD |  |  |  | N |  | not yet approved by BOD
608PRR | Improve Ancillary Service Performance Conditions. Revise section 6.10.6 of the protocols to include the impact of different ramp rates on the calculation of a QSE’s SCE Performance Metric. | 6.10.6 | TBD | TBD | TBD |  |  |  | N |  | not yet approved by BOD
609PRR | Smooth 15-minute Resource Schedules. Introduce explicit language that encourages QSEs to make use of Relaxed Balanced Schedules so that Resource Schedules are within the capability of the generating unit and make reasonable transitions between the 15-minute intervals. | 4.3.5 | [6 empty] | N |  | not yet approved by BOD
610PRR | Reduction of OOME Down Payments. This revision would introduce further Resource Plan analysis by ERCOT between 1600 and 1800 prior to the Adjustment Period. It will require ERCOT to evaluate whether the scheduled capacity from the QSE’s Generation Resources may cause transmission security violations during the Operating Day. If the potential for a transmission security violation exists, ERCOT would notify the QSE of the potential issue and the amount of MW in question with the understanding that the QSE, if it receives an OOME DN instruction, would not be paid to back down. This is intended to reduce the Uplift cost caused by a QSE that schedules more output in the Resource Plan than may be possible for the transmission system to absorb without causing a transmission security problem. The PRR does not change the Protocols that compensate generators for OOME Down instructions issued by ERCOT in Real-Time. | 4.1.1, 4.4.16 (New), 6.8.2.3 | [6 empty] | N |  | not yet approved by BOD
611PRR | Reporting of Operation Reserve Capability Under Severe Gas Curtailments. Adds a requirement that Resources provide additional data describing their alternative fuel capability during the winter months. Adds information submitted under Section 12.4.7 to the list of items considered Protected Information in Section 1.3.1.1. | 1.3.1.1, 12.4.7 (New) | TBD | TBD | TBD |  |  |  | N |  | not yet approved by BOD
612PRR | Ancillary Service Procurement During the Adjustment Period. This revision allows for the update of Ancillary Service bids after Notice of ERCOT’s intent to procure Ancillary Services during the Adjustment Period. | 4.5.8, 4.5.9.2 | 2005-09-08 | TBD | TBD |  |  |  | N |  | not yet approved by BOD
613PRR | Replacement Reserve Under Scheduled Capacity Delineation. Updates To he Replacement Reserve Under Schedule Capacity section to reflect current Bill Determinants and their corresponding processes. | 6.9.2.1.1 | 2005-09-08 | TBD | TBD |  |  |  | N |  | not yet approved by BOD
614PRR | Balancing Bids for Replacement Capacity. Requests information on Load Management Standard Offer and Direct Load Control program Load reduction capability to allow ERCOT to determine if the programs meet the DLC criteria | 6.6.3.2.1 | 8/4/05 Approve as modified | 8/16/05 Approved | Upon system implementation |  |  |  | N |  | not yet approved by BOD
616PRR | Interim Solution for the Direct Assignment of Replacement Costs for System-wide Capacity Insufficiency. Provides for an interim solution for the procurement and cost assignment for RPRS for the purpose of system insufficiency as already required by the Protocols until such time as EMMS 4.0 is implemented. | 6.1.6, 6.1.10, 6.6.3.2.1, 6.9.2.1.1 | TBD | TBD | TBD |  |  |  | N |  | not yet approved by BOD
617PRR | IDR Optional Removal Threshold. This PRR will alleviate conflicting language and provide clarity on the original intent of Sections 18.6.1(2) and 18.6.7 as these sections relate to the process for an optional IDR removal and re-installation. This PRR also makes non-substantive changes to Sections 18.6.1 and 18.6.7. | 18.6.1, 18.6.7 | TBD | TBD | TBD |  |  |  | N |  | not yet approved by BOD
618PRR | Balancing Energy Up from a Specific LAAR Resource. These proposed revisions provide an equation that describes how a QSE representing a LaaR receives compensation when a LaaR it represents provides Balancing Energy Up, and clarifies that only Generation Resources will provide Balancing Energy Down to resolve Local Congestion. | 7.4.3.1, 7.4.3.2 | TBD | TBD | TBD |  |  |  | N |  | not yet approved by BOD
619PRR | Day Ahead Procurement of LaaR for RRS. All bids to provide Responsive Reserve Service (RRS) from Loads Acting as Resources (LaaR) submitted in the Day Ahead Market, with bid prices equal to or less than the applicable Market Clearing Price for Capacity (MCPC), will be awarded proportionally, using existing ERCOT procedures for handling multiple bids which have the same price. | 6.6.3.1 | TBD | TBD | TBD |  |  |  | N |  | not yet approved by BOD
620PRR | Notifying QSEs of their DBES Percentages. This proposed revision would change the requirement for ERCOT to notify QSEs (via the web listener) concerning their mandatory Down Balancing Energy Service (DBES) percentages. ERCOT would only send notifications to QSEs if there is any change in the percentages of the mandatory Down Balancing Energy Service. This proposed revision would require ERCOT to always post the QSEs mandatory Down Balancing Energy Service percentages. | 4.4.5 | TBD | TBD | TBD |  |  |  | N |  | not yet approved by BOD
621PRR | QSE Qualification Using Renewable Resources. Specifies QSEs representing only Uncontrollable Renewable Resources may qualify to provide Balancing Down Energy Service. The proposed language also clarifies that ERCOT may only request DBES in an amount actually deliverable from the Uncontrollable Renewable Resource based upon energy production at the time of the qualification. | 6.10.3.4 | TBD | TBD | TBD |  |  |  | N |  | not yet approved by BOD
622PRR | Calculation of Marginal Heat Rate for Resources Receiving OOME Up Instructions. During the process of drafting language for PRR 540 (OOM Cost Recovery Process Clarification) a sentence was inadvertently left in the Protocols which is not consistent with the intent or scope of other Sections describing how to calculate a Generation Resource Marginal Heat Rate. In particular, under Section 6.8.2.3 (4)(b)(ii), the Protocols state; “ERCOT will use the heat rate of the Resource at the deployed level.” This is not consistent with the rest of the subparagraph describing Marginal Heat Rates and should be removed. | 6.8.2.3 | TBD | TBD | TBD |  |  |  | N |  | not yet approved by BOD
623PRR | Resource Plan Use for OOME Instructed Deviation. This PRR would align the Protocols with current EMMS system functionality by specifying that the most current Resource Plan available at the time of Real Time Balancing (RTB) Market Clearing be used for RTB calculations. | 6.7.7.2 | TBD | TBD | TBD |  |  |  | N |  | not yet approved by BOD
624PRR | Clarification of Market Participant Default Language. This PRR is the result of meetings of the WMS group within the TAC Joint Task Force formed to address market concerns resulting from recent market defaults. This PRR proposes changes that strengthen or clarify Protocol language that address default situations. Much of this language is based on language drafted for the TNT Protocols. | 16.2.8, 16.2.9, 16.2.10, 16.2.12, 16.2.14, 16.3.1.2, 16.8.1.7, 16.8.1.8, 16.8.1.9, 16.8.1.10 | TBD | TBD | TBD |  |  |  | N |  | not yet approved by BOD
625PRR | Clarification of Emergency QSE Language. This PRR is the result of meetings of the WMS side of the TAC Joint Task Force formed to address market concerns after recent market defaults. This PRR proposes changes that strengthen or clarify Protocol language that address when and how Emergency QSEs may be used. | 2.1, 16.2.4.3, 16.2.13 | TBD | TBD | TBD |  |  |  | N |  | not yet approved by BOD
626PRR | Monthly RMR Status Report. Adds a requirement for ERCOT to post on the Market Information System (MIS) a monthly report on the status of Reliability Must-Run (RMR) contracts and exit strategies (e.g., Must-Run Alternative (MRA) contracts) including an explanation of any changes in RMR or MRA information from the previous month’s posting. | 6.5.9.2 | TBD | TBD | TBD |  |  |  | N |  | not yet approved by BOD
627PRR | RMR Transmission Issues and RMR Contract Extension. Establishes reporting requirements for TDSPs responsible for construction of transmission system upgrades associated with an RMR and/or MRA exit strategy. Also provides ERCOT with additional flexibility to deal with potential delays in the completion of transmission system upgrades associated with an RMR and/or MRA exit strategy. ERCOT will be able to extend an RMR and/or MRA contract for limited time periods as necessary to allow for planned transmission system upgrades to be completed. ERCOT will also be able to require reporting of project status from the responsible TDSP. | 6.5.9.4 (new), 6.5.9.5 (new), 6.5.9.6 (new), 22F | TBD | TBD | TBD |  |  |  | N |  | not yet approved by BOD
628PRR | ERCOT Operation Performance – Non-Spinning Reserve Service Deployments. Adds a requirement for ERCOT to publish on the MIS the percentage of Balancing Energy Service (BES) bids awarded in every interval that includes deployment of Non-Spinning Reserve Service (NSRS). Also adds a requirement for ERCOT to publish a monthly report showing the average percentage of BES bids awarded when NSRS was deployed in the month. Adds a performance metric for ERCOT that reports when deployment of NSRS (in accordance with Section 6.7.4 (1)) leads to excessive replenishment of the BES Up Bid Stack, which is defined to be 90% or less depleted. | 6.10.11 | TBD | TBD | TBD |  |  |  | N |  | not yet approved by BOD
629PRR | Proper Pricing of Non-Spinning Reserve Service Energy. Adjusts the Market Clearing Price of Energy (MCPE) for the deployment of Non-Spinning Reserve Service (NSRS) to provide correct price signals to the market by using the MCPE of the appropriate zone for the interval before deployment or the interval of deployment (whichever is higher) for pricing of Balancing Energy associated when Non-Spinning Reserve Service is used by ERCOT. | 6.8.1.12, 6.9.5.1 | TBD | TBD | TBD |  |  |  | N |  | not yet approved by BOD
630PRR | Private Use Networks. Adds a requirement for private use networks (i.e., those networks that are connected to the ERCOT System that may include both generation and Load “behind the meter”) to maintain and report appropriate watt/VAR metering at each substation identical to the requirements of Distribution Service Providers (DSPs) and reporting of the addition or deletion of Load points. | 2.1, 5.2.1, 5.2.2 | TBD | TBD | TBD |  |  |  | N |  | not yet approved by BOD
631PRR | Black Start Bid Procedures and Compensation for Testing. This PRR establishes a process that requires ERCOT to perform the simulation studies (the cost of which will be uplifted to the entire market through the ERCOT Administrative Fee) of Black Start Resources called for in Protocol Section 6.10.3.6(1)(f), rather than require the simulation to be done by the prospective Black Start Resource owner before the final Black Start Service awards are made by ERCOT. In addition, this PRR establishes a payment mechanism to reimburse Resource Owners for costs incurred in the qualification and/or testing of Black Start Resources. | 6.10.3.6 | TBD | TBD | TBD |  |  |  | N |  | not yet approved by BOD
307PRR | Controllable Resources. This revision defines Load which can provide Regulation Service. | 2.1, 5.6.7, 6.1.2, 6.1.3, 6.1.4, 6.5.1.1, 6.5.2, 6.5.3 6.5.4, 6.5.6, 6.7.3, 6.8.1.12, 6.10.4.4 | 3/7/02 Approved | 3/19/02 Approved | Effective date TBD [text in gray box] |  |  |  | Y | 3.17.2(2) | generally already included, but correct to inlcude missing part of grey box langauge in current Protocol secion 6.1.4
468PRR | Frequency Response Requirements and Monitoring. Adds Section 5.8, establishing requirements for QSE portfolio generator governor response, and establishing performance monitoring criteria. | 5.8, 5.8.1, 5.8.1.1, 5.8.1.2, 5.8.2, 5.8.2.1, 5.8.2.2, 5.8.2.3, 5.8.3, 5.8.3.1, 5.8.3.2 [all sections new] | Remanded to PRS 4/8/04; 5/6/04 Approve | 5/18/04 Approved | 2004-06-01 | 2004 | FALSE | FALSE | Y | paste entire PRR468 into Section 6 as new 6.5.10 | paste entire PRR468 into Section 6 as 6.5.10 after Black Start and before Settlement calcuations; excluding most of section 5.8.3.1 because it is not applicable
487PRR | Black Start Resources. Changes Black Start Ancillary Services language to allow an ERCOT Resource with a firm standby supply contract with an adjacent power pool supplier to bid as an ERCOT Black Start Resource. | 6.1.8, 6.10.3.6 | 4/8/04 Approved | 4/20/04 Approved | Upon filling staffing requirements | 2004 | FALSE | FALSE | Y | 6.5.9.6(1) Black Start and 8.1.2.2.6 System Black Start Capability | weave 6.1.8 into nodal 6.5.9.6(1); weave 6.10.3.6 into nodal 8.1.2.2.6
490PRR | LaaR Annual Testing Description. This revision changes LaaR seasonal testing to an annual test consisting of a telemetry check and includes a biennial test of the under frequency relay for LaaRs providing Responsive Reserve Service. | 6.10.2 | 4/8/04 Approved | 4/20/04 Approved | 2004-05-01 | 2004 | FALSE | FALSE | Y | 8.1.2.2 | add "during that season" and change "size" to "capacity" to 8.1.2.2(1) and add "correct" in 8.1.2.2(5)
492PRR | Plan to Alleviate Chronic Local Congestion. The PRR requires ERCOT and the associated TDSP to identify and implement feasible alternatives to local transmission once certain dollar thresholds are met. | 7.4.5 [new] | 4/8/04 Approved | 4/20/04 Approved | Upon system implementation and filling ERCOT staffing requirements | 2004 | FALSE | FALSE | Y |  | Mechanics not applicable to nodal market; however concept of a requirement for ERCOT to identify/monitor chronic congestion and implement feasible alternatives is viable. Bojorquez to investigate further by 9/23/05.
496PRR | Block Bidding and Deployment of LaaRs providing Responsive Reserve Service and Non-Spinning Reserve Service. Include provisions for LaaRs to have the option to bid Responsive Reserve Service and Non-Spinning Reserve Service as a block. | 4.4.11, 6.6.3.1, 6.7.3, 6.7.4 | 5/6/2004 Approve | 5/18/04 Approved | Upon system implementation | 2004 | FALSE | FALSE | Y | 4.4.6.2.1 AS Offer Criteria and 6.5.7.6.2.2(12) and 6.5.7.6.2.3(12) new | add "not to exceed 150 MW" after "fixed quantity block" in (e) of 4.4.6.2.1; insert 6.7.3(9) and 6.7.4(11) into 6.5.7.6.2.2(12)[change] and 6.5.7.6.2.3(12) [new]
499PRR | Eliminate Fuel Shortage Notice. Eliminates the requirement for ERCOT to issue an Emergency Notice for fuel shortage. | 5.6.3, 5.6.4, 5.6.6 | 6/3/2004 Approved | 6/15/04 Approved | 2004-07-01 | 2004 | FALSE | FALSE | Y | 6.5.9.3.1(3), 6.5.9.3.2(2)(c), 6.5.9.3.4(2)(a) | insert all changes from 5.6.3, 5.6.4, and 5.6.6 to the appropriate sections
502PRR | Aggregation of Combined Cycle Units Providing RRS. Allows RRS obligations awarded to combined cycle plants to be aggregated for all units in a block for consideration of compliance. | 6.10.5.4 | 6/3/04 Approved | 6/15/04 Approved | Upon System Implementation and Operator Training | 2004 | FALSE | FALSE | Y |  | review required by Greer and R. Jones by 9/23/05.
513PRR | Verification of Operational Model after Recurring Local Congestion Event. This PRR makes it mandatory for ERCOT to verify the transmission model after Local Congestion occurs repeatedly. | 7.4.1 | 6/3/2004 Approved | 6/15/04 Approved | Upon System Implementation | 2004 | FALSE | FALSE | Y | 6.5.7.1.10 Network Security Analysis . . . | insert all revised language but do not carry over "local congestion" - other conforming changes necessary
518PRR | Clarification of Requirements Relating to Retail Transactions. Improve retail market transaction processing by clarifying requirements and timelines. | 2, 15 | 9/9/04 Approve | 9/21/04 Approved | 2004-10-01 | 2004 | FALSE | FALSE | Y |  | include definitions in Section 2
531PRR | Load Clarification. Make modifications necessary to clarify the registration and treatment of loads associated with Block Load Transfers. Clarifies BLT load points of delivery are wholesale loads that are not subject to Texas retail choice and that should be treated similar to NOIE loads. | 2.1, 5.7, 5.7.2, 16.3 | 10/7/04 Approve | 10/19/04 Approved | 2004-11-01 | 2004 | FALSE | FALSE | Y | 6.5.9.5 | changes in PRR Section 5.7 need to be included in 6.5.9.5; changes in PRR Section 16.3 are already included
535PRR | Reactive Testing. This PRR is to clarify this section and to minimize the possibility of misinterpretation of the time period between testing of a generator’s reactive capability. | 6.10.3.5 | 10/7/04 Approve | 10/19/04 Approved | 2004-11-01 | 2004 | FALSE | FALSE | Y | 8.1.2.2.5 | make changes as presented in PRR
555PRR | Modify Number of Sub-QSEs a Single Entity Can Partition. Revise the Protocols to increase the maximum number of Sub-QSEs an Entity can implement from three to twenty. | 16.2.1 | 5/5/05 Approve as ammended | 6/21/05 Approve | 2005-07-01 |  |  |  | Y | 16.2.1(4) | include all changes from PRR 555
558PRR | Market Notice of LaaR Proration. Allow market participants to be notified when LaaRs awards for Responsive Reserve are prorated by ERCOT. | 4.4.13, 6.6.3.1 | 3/3/05 Approve | 4/19/05 Approved | 2005-05-01 | 2005 |  |  | Y | 4.5.3(2) | insert into list in (2) between (a) and (b)
561PRR | Remove Nuclear and Hydroelectric Generators from Automatic Deployment Software. This revision directs ERCOT to remove Nuclear and Hydro Electric generation from any software driven automatic solution to resolve congestion. ERCOT retains the right to provide verbal dispatch instructions during an ERCOT emergency when it is deemed that the Hydro or Nuclear unit in question is uniquely qualified to resolve the problem. | 4.4.20, 6.7.1.2 | 3/3/05 Approve | 4/19/05 Approved | 2005-05-01 | 2005 |  |  | Y | 6.5.7.4(2) (new) | insert 6.7.1.2(14) after (1)(e) as (2) with conforming changes
573PRR | Mothballed Generation Resource Definition and Time to Service Updates. This defines mothballed units and requires the responsible Generation Entity to report to ERCOT, twice annually, the lead time required to reliably return the unit to service. The Generation Entity would be required to document its claim to ERCOT’s satisfaction. Time to service updates and supporting documentation would be considered Protected Information. | 1.3.1.1, 2.1, 6.5.9.3 | 3/3/05 Approve as revised | 3/15/05 Approved | 2005-04-01 | 2005 |  |  | Y | 3.14.1.1 Notif of Suspension of Operations; 1 Confidentialtiy; 2.1 Definitions | Add Sec 1 and Sec 2 changes and all of PRR596 (updates PRR573)
576PRR | Disclosure of OOME, OOMC, and RMR Service. This changes Protocol Sections which require that ERCOT post on the MIS Resource-specific information for OOMC, OOME and RMR Services. Also, a definition for “Off-line” has been added for consistency. | 6.5.10, 6.7.8, 2.1 | 5/5/05 Approve | 6/21/05 Approve | 2005-07-01 |  |  |  | Y | 3.14.1.1(c ) | Add (6)
581PRR | Update RMR Language Due to PUC Rule 25.502. Changes the RMR language to be consistent with PUC Substantive Rule 25.502, Pricing Safeguards in Markets Operated by the Electric Reliability Council of Texas, which became effective Jan. 9, 2005. | 6.5.9.1(7) & (8) | 6/2/05 Approve | 7/19/05 Approved | 2005-08-01 |  |  |  | Y | 3.14.1.2(6)(7) ERCOT Evaluation | take (7) and (8) from PRR and incorporate into TNM
591PRR | Switchable Unit Declaration. This PRR defines switchable units and requires the responsible Generation Resource to report to ERCOT whether the unit is committed to another grid outside of ERCOT that would make it unavailable for capacity in the ERCOT market during the summer months. Unit availability reporting is considered Protected Information | 1.3.1.1., 2.1, 6.3.2 | 5/5/05 Approve | 5/17/05 Approve | 2005-06-01 |  |  |  | Y | 16.5.4(2) new; 1; 2 | add 16.5.3(5) and Sec 1 and Sec 2
596PRR | Mothballed Generation Resource Estimated Return to Service Dates. This revision requires owners of Mothballed Generation Resources to provide annually to ERCOT projections of the MW of generation capacity of currently Mothballed Generation Resources that will return to service over the next five years. | 6.5.9.3 | 5/5/05 Approve | 5/17/05 Approve | 2005-06-01 |  |  |  | N | 3.14.1.6 | Already included.
606PRR | User Security Administrators and Digital Certificates. Creation of new Section 16.11 defining User Security Administrators (USAs) and Digital Certificates; outlining responsibilities of the USAs; and requiring Market Participants to report results of their annual audits of their Digital Certificates to ERCOT. | 16.11 (New) | 9/?/05 | 2005-09-20 | 2005-10-01 |  |  |  | Y | 16.12 (new) | Insert as written - Change references to "MIS" to read "Public Area of MIS". Conforming changes also necessary.