| PRR Number | 659 | PRR Title | Reporting of ERCOT Replacement Reserve Service Procurements |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 1.3.1.1 Items Considered Protected Information 6.10.11 ERCOT Operations Performance |  |
| Requested Resolution (Normal or Urgent) |  | Urgent |  |
| Revision Description |  | This PRR requires reporting on the classification and amounts of ERCOT’s procured Replacement Reserve Service (RPRS), as well as a comparison of actual procurements of RPRS for system capacity to a theoretical amount of RPRS procurement for system capacity. |  |
| Reason for Revision |  | ERCOT implemented the RPRS market engine on 3/21/06 to manage Local and Zonal Congestion, as well as for system insufficiencies. As a result, Market Participants will need to be able to review the types and amounts of ERCOT RPRS procurements in order to improve market transparency and for a better understanding on the timing and need for RPRS. This PRR provides for disclosure of information on each unit receiving an RPRS deployment for Local Congestion, the amount of RPRS deployed (in MW) and intervals in which the deployment was received, and the associated transmission studies performed by ERCOT showing the binding constraint. The disclosure concerning RPRS for Local Congestion requested in this PRR is similar to the Board approved PRR 515 (Disclosure of Local Congestion). In addition, this PRR requires ERCOT to compare its RPRS procurements for system capacity to a theoretical amount of RPRS procurements for system capacity. This comparison will allow Market Participants and ERCOT to assess the accuracy of ERCOT’s day-ahead load forecast and its impact on RPRS deployments and costs. |  |
| Credit Implications (Yes or No, and summary of impact) |  | No |  |
| Relevance to Nodal Market (Yes or No, and summary of impact) |  | No |  |
| Nodal Protocol Section(s) Requiring Revision (include Section No. and Title) |  | Not applicable |  |
| Timeline |  |  |  |
| Date Posted |  | 4/3/06 |  |
| Please access the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | Henry Durrwachter/Randa Stephenson |
| E-mail Address | hdurrwachter@txu.com; randa.stephenson@txu.com |
| Company | TXU Wholesale |
| Company Address | 1717 Main, Street Dallas TX 75201 |
| Phone Number | (214) 875-9285 |
| Fax Number | (214) 875-9480 |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

| Assumptions | 1 | This PRR will improve accuracy of ERCOT day-ahead load forecast by 5% |  |
| --- | --- | --- | --- |
|  | 2 | 5% improvement in accuracy of ERCOT day-ahead load forecast = 0.1% reduction in total AS and Congestion management costs |  |
|  | 3 | AS and Congestion management costs for 2005 were $656.6 million (actual 11 months ending 11-30-2005 per ERCOT) |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | ERCOT operations | Minimal |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Ancillary Services | $656.6 million x 0.1% = $656,000 |
|  | 2 | Provides transparency to Market Participants on ERCOT procurement and deployment of RPRS for Local Congestion, Zonal Congestion and system capacity requirements. | Difficult to quantify |
|  | 3 | ERCOT Day Ahead Load forecast | A more accurate load forecast results in lower total costs to the market for Ancillary Services and Congestion costs and better frequency control. |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
| Other | 1 | This should have minimal impact on ERCOT staffing since similar reporting of OOMC procurements and deployments is already being produced and OOMC deployments should decrease with the implementation of a RPRS market. |  |
| Comments | 2 |  |  |

Proposed Protocol Language Revision

1.3.1.1	Items Considered Protected Information

“Protected Information” is information containing or revealing:

(1)	Schedule Control Error, as calculated by ERCOT, identified to a specific QSE, with the exception of Real Time SCE data that may be viewable on-site at ERCOT Facilities;

(2)	Bids or pricing information identifiable to a specific QSE, except as provided in 1.3.3(2)(b);

(3)	Status of Resources including but not limited to outages or limitations or scheduled or metered Resource data;

(4)	Resource Plans;

(5)	Energy and Ancillary Service Schedules identifiable to a specific QSE;

(6)	ERCOT Dispatch Instructions identifiable to a specific QSE, except for OOMC and OOME deployments as provided in Section 6.5.10, Out of Merit Capacity and Out of Merit Energy Services, items (10), (11) and (12) and RPRS deployments for Local Congestion;

(7)	Raw and Adjusted Metered Load data (Demand and energy) identifiable to a specific QSE;

(8)	Settlement Statements identifiable to a specific QSE;

(9)	Aggregated raw and Adjusted Metered Load data (Demand and energy), and number of ESI-IDs identifiable to a specific LSE;

(10)	Information related to generation interconnection requests, to the extent such information is not otherwise publicly available;

(11)	Resource specific costs, design and engineering data, with the exception of data provided pursuant to Section 1.3.1.2, Items Not Considered Protected Information;

(12)	TCR ownership, credit limits or bidding information identifiable to a specific TCR Account Holder;

(13)	Renewable Energy Credit account balances;

(14)	Credit Limits identifiable to a specific QSE;

(15)	Any information not submitted to or collected by ERCOT pursuant to requirements of the Protocols or Operating Guides that is designated as Protected Information in writing by Disclosing Party at the time the information is provided to Receiving Party except for information provided to ERCOT in support of an RMR application according to Protocols Section 6.5.9, Reliability Must-Run Service;

(16)	Any Proprietary Customer Information unless the Customer has authorized the release for public disclosure of such information in a manner approved by the PUCT;

(17)	Any software, products of software or other vendor information that ERCOT is required to keep confidential under its agreements;

(18)	QSE and TDSP backup plans collected by ERCOT in compliance with the Protocols or Operating Guides;

(19)	DC Tie information provided to TDSPs pursuant to Section 9.8.2, DC Tie Schedule Information; and

(20)	Any Texas SET transaction submitted by an LSE to ERCOT or received by an LSE from ERCOT.  This item (20) shall not apply to ERCOT in regard to its compliance with PUCT Rules relating to performance measure reporting, these Protocols, or any TAC approved reporting requirements.

(21)	Mothballed Generation Resource updates and supporting documentation submitted pursuant to Section 6.5.9.3, Mothballed Generation Resource Time to Service Updates.

(22)	The unavailability of Switchable Resources to the ERCOT System and supporting documentation submitted pursuant to Section 16.5.3(5), Requirements for Reporting and for Changing the Terms of a Resource Registration, except for reporting the aggregate capacity of Switchable Resources for Reserve Margin calculations.

(23)	Information provided by Entities under Section 10.3.2.4, Reporting of Net Generation Capacity.

(24)	Alternative fuel reserve capability and firm gas availability information submitted pursuant to Sections 5.6.3, Operating Condition Notice, 5.6.4, Advisory, and 5.6.5, Alert; and as defined by the Operating Guides.

6.10.11	ERCOT Operations Performance

(1)	ERCOT shall continuously self-assess its operations and report to all Market Participants its performance in controlling the ERCOT Control Area according to requirements and criteria established by the Operating Guides and NERC Policy and Standards for operation of Control Areas.  ERCOT shall report all substandard operations to the ERCOT Technical Advisory Committee and to the NERC Compliance and Enforcement Committees.

(2)	ERCOT shall publish for all Market Participants the total amount of Regulation Up energy deployed and the total amount of Regulation Down energy deployed in each Settlement Interval.

(3)	ERCOT shall provide monthly a report analyzing the accuracy of each Operating Day’s Load forecast that was issued at 0600 the Day Ahead of the Operating Day.  ERCOT shall make similar comparisons for the 1100 forecast and the forecast in effect at midnight of the start of the Operating Day.  In its reports, ERCOT shall statistically analyze the expected error in energy and peak forecasting.

(4)	ERCOT shall publish for all Market Participants the percentage of the Bid Stack awarded for Balancing Energy Service for each Settlement Interval that ERCOT deploys any Non-Spinning Reserve Service.

(5)	ERCOT shall provide a monthly report showing the average percentage of the Bid Stack award for Balancing Energy Service for the Settlement Intervals that ERCOT deploys Non-Spinning Reserve Service for the month.

(6)	ERCOT shall provide a daily report posted on the second Business Day after each Operating Day showing the quantity of RPRS procured by hour for Local Congestion, Zonal Congestion, and system capacity.  In the case of Local Congestion procurements, ERCOT shall report each Resource receiving the RPRS Dispatch Instruction, intervals for which a Resource received an RPRS Dispatch Instruction, the Low Sustainable Limit for each interval for each Resource receiving an RPRS Dispatch Instruction, and the binding transmission constraint (contingency and/or overloaded element(s)) causing the RPRS deployment.  In the case of Zonal Congestion procurement, ERCOT shall report the amount of RPRS capacity procured by zone.

(7)	ERCOT shall provide a monthly report showing the quantity of RPRS procured by hour for system capacity based on the Day Ahead estimate of total ERCOT Load versus the quantity of RPRS that, in hindsight, would have been the proper amount to procure based on actual average metered total Load.  This theoretical amount of RPRS procurement shall be calculated as the difference between the actual average metered ERCOT Load (for an hour) minus the Day Ahead Resource Plan generation On-line used before the RPRS market is run for the hours when RPRS is procured by ERCOT.