## Slide 1: PDCWG Report
PDCWG Meeting Jan 23 & 24
  Reviewed 5 frequency events (summaries included).
  Reviewed Responsive Reserve and Non-Spin Performance metric, PRR being drafted.
  Reviewed QSE Regulation performance and PRR 525 performance.
  Stephen Knapp is presented as PDCWG vice chair.

## Slide 2: QSE Governor Performance

## Slide 5: ERCOT CPS1 by Day- January 2006
Monthly Average 130.39