## Slide 1
Network Model Management System (NMMS)

## Slide 2: Basic Outline
High Level Overview
Why?
How?
Expectations?
Conceptual Flow
Examples
So, the impact is?

## Slide 3: Network Model Management System High Level Overview
In a nutshell, the software that is currently projected to be the omnipresent relationship-based modeling warehouse for ERCOT. In other words, all models to be developed from a single Model Database.

## Slide 4: NMMS Salient Points Why? (Drawbacks of current system)
The model update software and associated process does not provide a reasonable and practical method for providing a variant of the on-line Operations Model to study known or anticipated future power system configurations.
The current data link software does not provide the flexibility that is needed to properly track and report status of submitted change packages.
With the current model editor, company names, substation facilities, weather zones and other database elements cannot be changed within the Operations Model without impacting all associated database links, pointers, and indices.

## Slide 5: NMMS Salient Points Why? (Drawbacks of current system)
The current model editor does not provide an integrated automatic link with SCADA (ICCP and RTU) data.
The Operations Model and outage scheduler package should be directly linked to allow accurate and automatic flow of data between the two packages.
The current model editor allows extremely limited data export capability.

## Slide 6: Network Model Management System How?
Began in 2003 with proposal to:
Improve data exchange interface between ERCOT and data submitters.
Reduce man hours required to load a changed model into the Production system.
Improve accuracy checks for incoming data and data inserted into the Production model.
Improve consistency between the Annual Planning Model and the Network Operations Model.
Improve tracking of planned projects as they move from planning to construction.

## Slide 7
Network Model Management System How?
Project re-directed in late 2005 to support compliance with Nodal Protocol requirements.
Additional challenges in Nodal Protocol:
Model timelines).
Information posting requirements.
Data and Name consistency between models.

## Slide 8: NMMS Salient Points Expectation? (Benefits of NMMS)
Timely and accurate representation of the Transmission Grid using Market Participant provided change packets (Projects) containing future Transmission Grid information.
Significantly more accurate field data correspondence to be utilized (Outage Scheduling< State Estimator, Study Contingency Analysis, etc).
Single source of data for Planning, CRR, and Operations models to drive consistency.

## Slide 9: NMMS Salient Points Expectations? (Benefits of NMMS)
Proper tracking and notification regarding Market Participant provided Project information.
More efficient utilization of current staff.
Significant reduction of confusion related to naming and ownership changes.
Significant reduction of time to produce more accurate one-lines.
Increased data retrieval and transfer flexibility.

## Slide 10: NMMS Conceptual flow diagram

## Slide 11: Data Submittals Example of notification improvements
1. Reports will be available to list all pending submittals.
2. Updates and confirmation for in-service dates, will be requested weekly.
3. Status of submittals will be available to ERCOT and submitters.
4. Submitters may query and sort their projects to facilitate close coordination with ERCOT on pending projects.
5. Submitters and Planning will be reminded of upcoming Planning projects that may need to be converted to Operations projects.
6. Data submittal forms and conventions controlled by Portal.
7. Approved Project “in-service” date schedules published weekly.

## Slide 12: Data Submittal “Highlights” Example
Check Project for completeness. Request additional data when needed.
Perform accuracy checks on submittal.
Post the accepted Project.
Add changed contingency files and one-line display changes.
Model changes moved to a Test System to perform load flows, base LMP calculations, contingency analysis, and validation (30 days of testing).
Move Project to Model database as complete “pending” Project.
Project is approved for energization on date as submitted.

## Slide 13: Model Database
Database consist of “Today's Model” plus accepted Projects.

## Slide 14: So, The impact is? (HIGH LEVEL)
Data submittal work flows will change.
Model data submittals will be completed through NMMS (including Planning, CRR, and Network Operations as well as others).
Many Operation data submittals will be based on previous Planning submittals.
Timelines (Nodal Requirements- timing, consistency).
Modeling issues will need further review.
Ownership designation (ZBR issue).
Tap versus No Tap.
Software Application issues (Synchronous condenser versus StatCom).
Contingency lists.

## Slide 15
Questions ?