## Slide 1
ERCOT COMPLIANCE
ROS meeting presentation
Feb. 16, 2006

## Slide 2
Total MW of all units = 23770 MW
6140 MW
3340 MW
Notes: This data is draft in nature and based on phone surveys. We observed generator personnel changing their view on whether or not they have a PSS or whether it is enabled on more than one occasion.

## Slide 3
8 units
11 units
30 units
Notes: Again, this is based on rough data and may change somewhat with further scrutiny by generator personnel. This is specifically meant to show which of the units in the Powertech study – pre- and post-1999 vintage.

## Slide 4
ERCOT Compliance requests that ROS assign a working group to review power system stabilizers (PSS) requirements and develop clarifications to establish settings and tuning expectations, as well as exemption guidelines.

## Slide 5: NEW NERC FIELD TESTS
PRC - 019 Coordination of Generator Voltage Regulator Controls with Unit Capabilities and Protection
PRC - 024 Generators Performance during Frequency and Voltage Excursions
MOD-026-1 Verification of Generator Excitation Systems and Voltage Control Model Data
MOD-027-1 Verification and Status of Generating Unit Frequency Response

## Slide 6: NEW NERC STANDARDS
MOD – 024 Verification of Generator Gross and Net Real Power Capability
MOD – 025 Verification of Generator Gross and Net Reactive Power Capability
PRC – 003 Regional Procedure for Analysis of Misoperations of Transmission and Generation Protection Systems
PRC – 004 Analysis and Mitigation of Transmission and Generation Protection System Misoperations
PRC – 005 Transmission and Generation Protection System Maintenance and Testing
PRC - 020 Under Voltage Load Shedding Program Database
PRC - 021 Under Voltage Load Shedding Program Data
PRC - 022 Under Voltage Load Shedding Program Performance

## Slide 7: DRAFT MODEL RESOLUTION
Whereas, the DWG analysis indicates that current Combined Cycle (CC) plant governing models do not adequately model actual response of these plants to frequency deviations, and the current practice for modeling combined cycle plants in ERCOT tends to overstate the response to system frequency changes and can contribute to a false sense of security. Therefore, ERCOT’s ROS resolves that:
1. It is critical that ERCOT staff completes the CC Plant modeling effort currently budgeted for 2006.
2. The DWG is directed to work with ERCOT and the vendor selected for the development of the CC models to ensure the relevant data is obtained.
3. The DWG is directed to include the new CC models and other updated models and repeat the relevant portion of the Forney plant trip simulation and report its findings to ROS.
Notes: Bill Bojorquez drafted this language as a proposal to encourage discussion. ROS approved a resolution basically with the last sentence of the opening paragraph along with items 1 & 2.