MINUTES

NETWORK DATA SUPPORT WORKING GROUP

March 21, 2006

Attendees:

Curtis Crews      		ERCOT

Trisha Miller			ERCOT

Ken Dye			ERCOT

Charles Bui			LCRA

Frank Bhuiyan			LCRA

Dwight Beckman		Brazos

Eddie Clark			TXU ED

David Bogen			TXU ED

Jackie Rainey Lewis		AEP

David Grubbs			Garland

Trieu Vo			CPS Energy

James Boston			CPS Energy

Ken Chui			Austin Energy

Ebby John			Centerpoint

Meeting was called to order at 9:30 a.m. at the ERCOT offices in Taylor.

Antitrust Admonition

Attendees were reminded of the Antitrust Admonition.

Minutes

Reviewed the January minutes.  No additional corrections were made to the draft that was sent out to the working group.

Network Model Management System

The working group agreed to postpone most of the discussion on the merits of the NMMS until Thursday, when a separate meeting would be held on that issue.  Several members discussed their belief that a common database was neither needed nor beneficial.

A concern expressed was that the Nodal Protocols were not clear on how many CRR cases would be created each month.  Concern was also expressed on the ability to validate the cases.  Curtis Crews felt that Dan Woodfin’s group at ERCOT would validate the cases which are a continuance of today’s practices.  No market participants would validate the cases.  There was concern that market participants were not validating the cases thus resulting in cases that would not be correct.

Discussion of Joint Meeting with SSWG

A joint meeting will be held with the SSWG on March 29 to discuss the naming convention and the format of data submitted for the NMMS database.  There was significant discussion on the format of such data.

Discussion of Network Model Advance Nodal Advance Notice under Nodal – ROS Assignment

David Grubbs noted the assignment and gave a brief statement of what he intended to present to ROS.

Model Comparison between Operations and Planning Cases

Curtis Crews noted that at least one company made a significant effort to clean up or explain the differences between the operating and planning cases.

Update on the Siebel System

Everyone seemed to like the latest update.  ERCOT does not have an expected date for the next upgrade at this time.

Next Meeting

The next meeting will the joint meeting with SSWG on March 29 at the Hilton Austin Airport.  The following meeting will be April 18 in Austin.