| PRR Number | 662 | PRR Title | Modify Ancillary Service Deployment Performance Conditions |
| --- | --- | --- | --- |
| Date |  | April 11, 2006 |  |
| Submitter’s Information |  |  |  |
| Name |  | Jeff Brown |  |
| E-mail Address |  | jbrown@coral-energy.com |  |
| Company |  | Coral Power, L.L.C. |  |
| Company Address |  | 909 Fannin Street, Houston, Texas 77010 |  |
| Phone Number |  | 713-767-5317 |  |
| Fax Number |  | 713-265-5317 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

| Assumptions | 1 | Amendments to Section 6.10.6 do not require ERCOT system changes. Qualifying intervals can be manually excluded from the affected QSEs’ SCE performance calculation. |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | None | None. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Avoids improper disqualification of QSEs from providing Ancillary Services. | Avoids unnecessary depletion of Ancillary Service bid stacks and the resulting higher prices expected from tighter supply. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other | 1 |  |  |
| Comments | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

Comments

Coral Power is generally supportive of PRR 662, with one exception.  Item 6.10.6 Ancillary Service Deployment Performance Conditions paragraph (7) needs to be expanded to account for annual emissions testing and tuning activities.  Emissions testing occurs on each generation unit annually to comply with EPA regulations and is administered by the Texas Commission on Environmental Quality.  Tuning, on the other hand, is primarily performed on a seasonal basis or following major maintenance.  Tuning is required to ensure that generation units are compliant with their air quality permits while providing maximum operating capability.  Generally tuning is done 3 to 4 times per year.

When a generator performs emission and tuning tests, they cannot comply with the SCE performance metric.  Therefore, paragraph (7), which includes an exemption when a QSE is performing ERCOT required testing, should be expanded to include emissions and tuning tests.

Revised Proposed Protocol Language

6.10.6	Ancillary Service Deployment Performance Conditions

ERCOT shall determine the performance of providers of QSE SCE Performance under normal operating conditions.  ERCOT shall remove from consideration of average performance of a QSE any period during which any of the following events has occurred and which does not have a passing score.

(1)	The two (2) hour period after the QSE has experienced a Forced Outage and the QSE is under-generating;

(2)	The entire Settlement Intervals for all QSEs in which ERCOT has deployed or recalled Balancing Energy in response to an Unusual Event;

(3)	The entire Settlement Intervals in which ERCOT has issued a verbal Dispatch Instruction;

(4)	The period where ERCOT issues instructions to any QSE to be deployed at ramp rates in excess of the unit’s capabilities or QSE’s capabilities;

(5)	The ten (10) minute period in which a QSE is ramping up due a RRS deployment;

(6)	The entire Settlement Interval(s) in which a QSE is ramping into (from time of notification to time of deployment) or out of (from end of deployment to thirty (30) minutes later) a NSRS deployment;

(7)	If requested by a QSE, the entire Settlement Interval(s) in which a QSE is performing ERCOT-required testing, annual emissions testing as required by the Environmental Protection Agency (EPA), and tuning tests that are required to ensure that a unit is compliant with their air quality permit, limited to X hours per month; {'X' to be determined}

(8)	The entire Settlement Interval(s) in which a QSE’s Resource Plan shows only Uncontrollable Renewable Resources On-line; and

PIP112: Add item #9 below to the list and renumber the existing (9) to (10) when BUL is implemented: (9) If requested by a QSE, up to three (3) scheduling hours following an instruction issued by ERCOT to recall previously deployed Responsive Reserve, Non-Spin or Balancing Energy Up Services provided from Replacement Capacity that is using qualified Load as the QSE’s Resource; and

(9)	Certain other periods of abnormal operations as determined by ERCOT.