## Slide 1
ERCOT CPS1 by Interval February 141.06

## Slide 2: ERCOT CPS1 by Interval March 143.16

## Slide 4
Lowest daily score March 9th (115.59) Events of the day: High frequency from 01:00 to 02:00. Two unit trips at 00:42 and 00:54.
Frequency Control appeared to improve in steps of about 10 days each.

## Slide 5
May is the poorest frequency control month historically.
?

## Slide 8: PDCWG Meeting April 19, 2006
Submit PRR for new Responsive Reserve metric and Non-Spin metric.
Review 1st quarter disturbances.
Review responses from QSE’s on governor response performance.
Review QSE and ERCOT control performance.