## Slide 1: Network Data Support Working Group Report to ROS
April 13, 2006

## Slide 2: Meetings of NDSWG
The NDSWG has met twice independently and once as a joint meeting with SSWG since the last ROS Meeting
The primary focus of these three meetings was the NMMS
The WG also considered the request from ROS to comment on the proposed timeline in the Nodal Protocols for the service requests to energize a project.

## Slide 3: Network Model Management System (NMMS)
The NMMS project caught many TSPs unaware of the project and the effect on their workloads and budgets.
Many TSPs resist the implementation
The WG developed a statement to ROS on the implementation of NMMS

## Slide 4: Network Model Management System (NMMS)
NMMS begins with the current real time line/bus information
All future changes to the data are stored in a database with date information
Dynamic line ratings will be used for line ratings
All known outages are stored in a database with date information
NMMS creates a case/model each time requested by starting from the current real time case adding and subtracting lines busses, etc to get to the current configuration. Then uses the outage scheduler to determine any facilities that will be out of service at the requested time. The projected temperature for the requested date are used to calculate the line rating using the dynamic line ratings
ERCOT expects to produce the CRR models and validate with ERCOT staff

## Slide 5
NMMS: DRAFT Simplified ERCOT vision of how Transmission Planning interaction would take place -

## Slide 6: Network Model Management System (NMMS)
Concerns
Planners are concerned that because of the configuration used in operational models, single and double contingencies will not be properly studied
TSPs are concerned that the amount of TSP labor required to implement this system will be significantly increased
TSPs are concerned these models/cases will be used without being validated by TSPs as valid models/cases

## Slide 7: Network Model Management System (NMMS)
A series of NMMS workshops have been held in the past several weeks to reach a compromise on NMMS
Planners have requested a number of changes to NMMS that will allow them to produce cases that will yield similar results to those used currently in planning
TSPs have requested access to allow them to see the data residing within NMMS

## Slide 8: NMMS Statement by NDSWG
“In regards to the Network Model Management System, the NDSWG feels there has not been enough consideration given to the subject matter experts and that additional time is required to review and determine what processes are needed and can be developed and supported by the industry”

## Slide 9: Network Model Management System (NMMS)
Questions on NMMS?

## Slide 10: Service Request Timeline
The Nodal Protocols set a timeline in Section 3.10.1 to submit a Service Request to ERCOT to energize a project
The minimum time to submit the Service Request can vary from 30 days to 180 days before the energize date depending on the date the project is to be energized

## Slide 11: Service Request Timeline under Nodal Protocol Section 3.10.1
Deadline to Submit Information to ERCOT 1 | Model Complete and Available for Test 2 | Updated Network Operations Model Testing Complete3 | Update Network Operations Model Production Environment | Target Physical Equipment In-Service Date 4
Jan 1 | Feb 15 | March 15 | April 1 | Month of April
Feb 1 | March 15 | April 15 | May 1 | Month of May
March 1 | April 15 | May 15 | June 1 | Months of June–August SUMMER MODEL
June 1 | July 15 | August 15 | September 1 | Month of September
July 1 | August 15 | September 15 | October 1 | Month of October
August 1 | September 15 | October 15 | November 1 | Month of November
September 1 | October 15 | November 15 | December 1 | Month of December
October 1 | November 15 | December 15 | January 1 | Month of January (the next year)
November 1 | December 15 | January 15 | February 1 | Month of February (the next year)
December 1 | January 15 | February 15 | March 1 | Month of March (the next year)

## Slide 12: Service Request Timeline under Nodal
Best case scenario is if the project is to be energized on the first day of the month in a non-summer month. This results in a 90 day notice requirement.
Worst case scenario is an energize date of August 31 requires submission by March 1, resulting in the 180 day submission deadline.
Since energizing on first day of the month and submission of data on the first day of the month requires the least notification. This may result in many projects being submitted or energized on these dates causing difficulties scheduling.

## Slide 13: Service Request Timeline under Nodal
The Nodal Protocols currently require the Service request to be fully accepted by ERCOT prior to starting the timeline thus increasing the submission deadline by an additional 15 to 30 days or more
The NDSWG recommends the Nodal Protocols be amended to start the deadline upon receipt of the SR to ERCOT but require the SR to be complete within the first 15 days of submission

## Slide 14: Service Request Timeline under Nodal
Based on the time when the data will be used, as described in the proposed Nodal Protocols, the NDSWG believes the data submission dates outlined in the protocols are reasonable, except that the 15 day review period by ERCOT should be included within the specified periods. The working group further believes, however, the long advance notice required is impractical in the “real world” and will result in incorrect energizing dates and possibly incorrect engineering data that will require multiple additional filings to correct the initial data and may result in calculations that will not reflect the conditions of the “real world”.

## Slide 15: Service Request Timeline under Nodal
Questions ?

## Slide 16: Network Data Support Working Group NDSWG
Next Meeting will be April 18 in Austin