| OGRR Number | 178 | OGRR Title | Revision to Reactive Limits Verification Form |
| --- | --- | --- | --- |
| Impact Analysis Date |  | March 14, 2006 |  |
| Credit Impacts |  | YES _______ NO __X____ If No, skip the next two boxes. |  |
| Has the Credit Workgroup reviewed the PRR? |  | YES _______ NO ______ |  |
| Outcome of Credit Workgroup review |  |  |  |
| Cost/Budgetary Impact |  | None. |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | None. |  |
| ERCOT Staffing Impacts (across all areas) |  | None. This process can be performed by current staffing levels. |  |
| ERCOT Computer System Impacts |  | No computer system impact. |  |
| ERCOT Business Function Impacts |  | None. |  |
| Grid Operations & Practices Impacts |  | None. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

None

Evaluation of Interim Solutions (e.g., manual workarounds)

There is no alternative interim solution.

Feasibility of Implementation

Resource availability: ERCOT resources will not be required to implement OGRR 178. Impact to other projects: No incremental impacts to other projects are expected from this OGRR.

Comments

The additional requirement for data points at the Low Sustainable Limit from the Corrected Unit Reactive Limit (CURL) Curve on the Reactive Limits Verification form will provide ERCOT Systems Operations Support and Compliance staff with more accurate lagging and leading reactive data.