| Rev Req No. | Description | BOD Action | Zonal Protocol | Nodal Protocol Section | Action Required Y or N | ERCOT Staff Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 543PRR | Schedules and Emergency Assistance Over CFE-ERCOT DC Ties. Incorporates the use of DC ties with CFE for emergency services. | Approved with contingency 02/21/06 BOD | 4.4.18.1, 5.6.6.1, 5.6.7, 5.6.8, 5.8 (new), 6.8.2.1 | 2.1, 6.5.4, 6.5.9.4, 6.5.9.5.2, 6.5.9.5.3, 6.6.9, 6.6.10 | Y | Insert all. |
| 593PRR | Reporting of Net Generation and Load (FKA Behind the “Fence” Reporting of Load). The GATF has recommended that a PRR be drafted that would add more resolution to the total actual ERCOT and projected Load. Due to generation netting, there could be a significant amount of Load that never gets reported to ERCOT. | approved 10/18/05 | 1.3.1.1, 10.3.2.3 | 1.3.1.1 | Y | Insert language for protected information. Section 10 language does not affect Nodal Protocols. |
| 598PRR | Extension of Credit Against OOM Start Up. If MCPE is greater than Resource Category Generic Minimum Energy Cost, the difference will be credited against Startup Cost. This credit against Startup Cost shall continue until the earlier of: a) the end of the calendar day; or b) the credit has completely covered the startup payment. | approved 11/15/05 | 6.8.2.2 | 5.7 | N | Concept already included. |
| 599PRR | Notification for Mismatched Inter-QSE Energy Schedules. This PRR requires that notice be provided to both QSEs involved in a mismatch in the event that ERCOT remedies a mismatch as prescribed in PRR 548. The effective date for this PRR should be upon the implementation of PRR 548. | approved 10/18/05 | 4.7.2 | N/A | N | Not applicable to Nodal. |
| 600PRR | Align BES Bids with Resource Plan Capability and Resource Schedule. This documents the current ERCOT practice of limiting BES bids by the difference in Capacity in the Resource Plan and resource obligations and proposes language that is responsive to Potomac Economics recommendation number 8. | approved 9/20/05 | 6.5.2 | N/A | N | Not applicable to Nodal. |
| 601PRR | 15 Minute Ramping for BES and Base Power Schedule. The ramping period for BES deployment and for Base Power Schedule changes is changed from 10 minute to 15 minute. | approved 11/15/05 | 6.5.2, 6.8.1.15.3, 6.10.4.2 | N/A | N | Not applicable to Nodal. |
| 603PRR | Defaulted QSE Settlement for Ancillary Services Procured During an Adjustment Period Ancillary Service Market. This PRR removes a duplicate sentence in Section 6.6.3.2 of the current Protocols. This PRR removes Section 6.9.1.5(2) because such subsection is unnecessary in light of Section 6.9.1.5(1) and modifies Section 6.9.1.5 (3) to remove other unnecessary language. | approved 9/20/05 | 6.5.2, 6.8.1.15.3, 6.10.4.2 | N/A | N | No impact to Nodal Protocols. |
| 604PRR | Replacement Reserve Service Bid Cap. This revision adds bid limit language for Generation Resources offering to provide Replacement Reserve Service (RPRS). | approved 9/20/05 | 4.4.11, 4.4.16 | N/A | N | Not applicable. |
| 606PRR | User Security Administrators and Digital Certificates. Creation of new Section 16.11 defining User Security Administrators (USAs) and Digital Certificates; outlining responsibilities of the USAs; and requiring Market Participants to report results of their annual audits of their Digital Certificates to ERCOT. | approved 9/20/05 | 16.11 (New) | 16.12 | Y | Insert entire PRR. |
| 611PRR | Reporting of Operation Reserve Capability Under Severe Gas Curtailments. Adds a requirement that Resources provide additional data describing their alternative fuel capability during the winter months. Adds information submitted under Section 12.4.7 to the list of items considered Protected Information in Section 1.3.1.1. | approved 11/15/05 | 1.3.1.1, 5.6.3, 5.6.4, 5.6.5 | 1.3.1.1, 6.5.9.3.1, 6.5.9.3.2, 6.5.9.3.3 | Y | Insert all. |
| 612PRR | Ancillary Service Procurement During the Adjustment Period. This revision allows for the update of Ancillary Service bids after Notice of ERCOT’s intent to procure Ancillary Services during the Adjustment Period. | approved 10/18/05 | 4.5.8, 4.5.9.2 | 6.4.8.2 | Y | Although the terms in the table are updated, the timing needs to be corrected. |
| 613PRR | Replacement Reserve Under Scheduled Capacity Delineation. Updates the Replacement Reserve Section of the Protocols to reflect the calculation for Replacement Reserve Service (RPRS) Obligation for under scheduled capacity, including how mismatched schedules are processed. | approved 10/18/05 | 6.9.2.1.1 | 6.4.8 | N | Concept already included. |
| 614PRR | Balancing Bids for Replacement Capacity. Requests information on Load Management Standard Offer and Direct Load Control program Load reduction capability to allow ERCOT to determine if the programs meet the DLC criteria. | Approved 8/16/05 | 6.4.2, 6.10.8 | N/A | N | Not applicable to Nodal. |
| 617PRR | IDR Optional Removal Threshold – Modification. This PRR will alleviate conflicting language and provide clarity on the original intent of Sections 18.6.1(2) and 18.6.7 as these sections relate to the process for an optional IDR removal and re-installation. This PRR also makes non-substantive changes to Sections 18.6.1 and 18.6.7. | approved 11/15/05 | 18.6.1, 18.6.7 | N/A | N | No impact to Nodal Protocols. |
| 618PRR | Balancing Energy Up from a Specific LAAR Resource. These proposed revisions provide an equation that describes how a QSE representing a LaaR receives compensation when a LaaR it represents provides Balancing Energy Up, and clarifies that only Generation Resources will provide Balancing Energy Down to resolve Local Congestion. | approved 11/15/05 | 7.4.3.1, 7.4.3.2 | N/A | N | Not applicable to Nodal. |
| 620PRR | Notifying QSEs of their DBES Percentages. Change the requirement for ERCOT to only notify QSEs if there is any change in the percentages of the mandatory Down Balancing Energy Service. This proposed revision would require ERCOT to always post the QSEs mandatory Down Balancing Energy Service percentages. | approved 12/13/05 | 4.4.5 | N/A | N | Not applicable to Nodal. |
| 621PRR | QSE Qualification Using Renewable Resources. Specifies QSEs representing only Uncontrollable Renewable Resources may qualify to provide Balancing Down Energy Service. The proposed language also clarifies that ERCOT may only request DBES in an amount actually deliverable from the Uncontrollable Renewable Resource based upon energy production at the time of the qualification. | approved 12/13/05 | 6.10.3.4 | N/A | N | Not applicable to Nodal. |
| 622PRR | Calculation of Marginal Heat Rate for Resources Receiving OOME Up Instructions. During the process of drafting language for PRR 540 (OOM Cost Recovery Process Clarification) a sentence was inadvertently left in the Protocols which is not consistent with the intent or scope of other Sections describing how to calculate a Generation Resource Marginal Heat Rate. In particular, under Section 6.8.2.3 (4)(b)(ii), the Protocols state; “ERCOT will use the heat rate of the Resource at the deployed level.” This is not consistent with the rest of the subparagraph describing Marginal Heat Rates and should be removed. | approved 12/13/05 | 6.8.2.3 | N/A | N | Concept already included via PRR540 (OOM Cost Recovery Process Clarification). |
| 623PRR | Resource Plan Use for OOME Instructed Deviation. This PRR would align the Protocols with current EMMS system functionality by specifying that the most current Resource Plan available at the time of Real Time Balancing (RTB) Market Clearing be used for RTB calculations. | approved 12/13/05 | 6.7.7.2 | N/A | N | Not applicable to Nodal. |
| 624PRR | Clarification of Market Participant Default Language. This PRR is the result of meetings of the WMS group within the TAC Joint Task Force formed to address market concerns resulting from recent market defaults. This PRR proposes changes that strengthen or clarify Protocol language that address default situations. Much of this language is based on language drafted for the TNT Protocols. | approved 12/13/05 | 16.2.8, 16.2.9, 16.2.10, 16.2.12, 16.2.14, 16.3.1.2, 16.8.1.7, 16.8.1.8, 16.8.1.9, 16.8.1.10 | 16.11 | Y | Concepts already included – except not clear whether language added by PRS in 16.2.8(5) is also included. |
| 625PRR | Clarification of Emergency QSE Language. This PRR is the result of meetings of the WMS side of the TAC Joint Task Force formed to address market concerns after recent market defaults. This PRR proposes changes that strengthen or clarify Protocol language that address when and how Emergency QSEs may be used. | approved 1/17/06 | 2.1, 16.2.4.3, 16.2.13 | 2.1, , 16.2.3.4, 16.2.6.1, 16.2.6.2, 16.2.6.3 | Y | Insert all. |
| 627PRR | RMR Transmission Issues and RMR Contract Extension. Establishes reporting requirements for TDSPs responsible for construction of transmission system upgrades associated with an RMR and/or MRA exit strategy. Also provides ERCOT with additional flexibility to deal with potential delays in the completion of transmission system upgrades associated with an RMR and/or MRA exit strategy. ERCOT will be able to extend an RMR and/or MRA contract for limited time periods as necessary to allow for planned transmission system upgrades to be completed. ERCOT will also be able to require reporting of project status from the responsible TDSP. | Approved 02/21/06 BOD | 6.5.9.4, 6.5.9.5, 6.5.9.6, 12.4.4.2.2,Section 22 F - Section 3 | 3.1.3.1, 3.14.1.14, 3.14.1.15, 3.14.1.16, Section 22F | Y | Incorporate verbatim. |
| 628PRR | ERCOT Operation Performance – Non-Spinning Reserve Service Deployments. Adds a requirement for ERCOT to publish on the MIS the percentage of Balancing Energy Service (BES) bids awarded in every interval that includes deployment of Non-Spinning Reserve Service (NSRS). Also adds a requirement for ERCOT to publish a monthly report showing the average percentage of BES bids awarded when NSRS was deployed in the month. Adds a performance metric for ERCOT that reports when deployment of NSRS (in accordance with Section 6.7.4 (1)) leads to excessive replenishment of the BES Up Bid Stack, which is defined to be 90% or less depleted. | approved 12/13/05 | 6.10.11 | 8.2 | N | Not applicable to Nodal- no Balancing Energy Service in Nodal |
| 633PRR | TSP Data Information Requirements. Update and clarify high level data requirements required by ERCOT from TSPs for modeling transmission grid modifications. Specifically require an energize date, ratings, the Entities responsible for proposed element ratings, and ERCOT specified data requirements. Also removed requirements for reporting “work accomplished” procedures, description of method to energize and test facilities, and in service testing. | approved 1/17/06 | 8.8.2.1, 8.8.2.2 | 3.3.2.1 | Y | Needs to be incorporated. |
| 634PRR | ESI IDs Inadvertently Placed Into Inactive Status. Provide the ability for ERCOT to re-instate ESI IDs inadvertently placed into an inactive status. | approved 1/17/06 | 15.4, 15.4.1.3 | N/A | N | Does not affect Nodal Sections |
| 636PRR | Texas SET Version 2.1-Customer Registration. Updated and Added Sections to comply with Texas SET Version 2.1 changes to transaction and business processing. | approved 11/15/05 | 15.1.2.1, 15.1.4.4, 15.1.6, 15.1.9, 15.1.9.4 (new) | N/A | N | Does not affect Nodal Sections |
| 637PRR | Texas SET Version 2.1- Retail Point to Point Communications. Modifications and Additions to support the Texas SET Version 2.1 Implementation. | approved 11/15/05 | 24.1.1, 24.1.3.1, 24.2.1, 24.3, 24.3.3, 24.5, 24.5.1 | N/A | N | Does not affect Nodal Sections |
| 638PRR | Change Settlement Invoice Due Date from 16 Calendar Days to Five Business Days. Changes the Settlement Invoice Due Date from sixteen (16) calendar days to five (5) Business Days. NOTE: There is no change to Protocol Sections 9.4.1 (2) and 9.4.3; that is, ERCOT payments occur on the next Business Day following the QSE payment date. | Approved 02/21/06 BOD | 9.3 | 9.7.1 | Y | Insert all. |
| 639PRR | Notification of Repairs to EPS Meter Facilities Under Emergency Conditions. This revision would allow, in emergency situations, the TDSP to repair its EPS metering without first having to notify ERCOT. | Approved 02/21/06 BOD | 10.8.1.2 | N/A | N | No impact to Nodal Protocols. |
| 641PRR | Clarifying RPRS Scheduling Language. Section 6.4.2 (5) states that after a RPRS deployment, a QSE needs to adjust their BES bids based on the LSL and HSL of the deployed unit. Section 6.7.5 (2) states that after a RPRS deployment, a QSE needs to adjust their BES bids based on “… the full megawatt quantity of capacity accepted by, and purchased by, ERCOT in the Replacement Reserve market.” This PRR would change the language of Section 6.7.5 (2) to match the language of Section 6.4.2 (5). | approved 12/13/05 | 6.7.5 | N/A | N | Not applicable to Nodal. |
| 643PRR | Shorten Payment Default Timelines. This PRR proposes to: (1) Reduce the number of days allowed to cure a breach before it becomes a Default under the LSE, QSE and TCR Agreements from 3 days to 2 days; and (2) Makes collateral payments due by 1500 on the second Bank Business Day after notification if ERCOT delivered its Notice by 1500 on a Business Day rather than by 1700 on that day; or by 1700 on the second Bank Business Day after notification if ERCOT delivered its Notice after 1500 but prior to 1700 on a Business Day. | approved 12/13/05 | 16.2.8, 16.2.9, Sec 8 and 11 of 22B, 22C, and 22H | 16.11.5, 16.11.6, Sec 8 and 11 of Standard Form MP Agreement | Y | Some already included; some QSE specific language does not apply |
| 644PRR | Ancillary Service Re-qualification. Allows QSEs to re-qualify as provider(s) of Responsive Reserve Service, Balancing Energy Service, Regulation Service, and Non-Spinning Reserve Service based upon demonstrated historical performance in lieu of repeating the qualification test(s). | approved 12/13/05 | 6.10.3 6.10.5.5 | 8.1.2.2.1 | Y | 8.1.2.2.1 If concept is to be transferred to Nodal, changes are needed before going to TPTF. PRR Change in Zonal 6.10.5.5 is already correct in Nodal. |
| 646PRR | Establish a Floor for Responsive Reserve Service Bids. Revise 4.4.11 so that all bids to provide Responsive Reserve Service (RRS), have bid prices equal to or greater than $0. | approved 1/17/06 | 4.4.11 | N/A | N | Credit WG and DSWG developing long-term solution. |