## Slide 1: CSC Utilization Report Q4 – 2005 2005 vs. 2004
Version 1.0
WMS
February 22, 2006

## Slide 2: Outline
Zonal congestion – costs and quantity
Active and binding intervals
Actual CSC flows vs. limits
Over limits vs. over constraining

## Slide 3: CSC Congestion Charges collected from QSEs
$Million | N_H | S_H | S_N | N_W | W_N | TOTAL
2005 total | 25.7 | 39.2 | 7.5 | 5.3 | ~ 0 | 77.7
2004 total | 4.9 | 10.1 | 4.7 | -- | ~ 0 | 19.7

## Slide 4: Number of Intervals Constraints were Binding
 | N_H | S_H | S_N | N_W | W_N
2005 total | 884 | 1516 | 1135 | 328 | 11
2004 total | 324 | 1019 | 741 | -- | 6

## Slide 5: Summary of Zonal Congestion Occurrences – Intervals
 | N_H |  | S_H |  | S_N |  | N_W |  | W_N | 
 | Active | Binding | Active | Binding | Active | Binding | Active | Binding | Active | Binding
Jan | - | - | 42 | 37 | 109 | 62 | 96 | 58 | - | -
Feb | 91 | 53 | 28 | 13 | 18 | 10 | 112 | 82 | - | -
Mar | 53 | 43 | 42 | 26 | 36 | 24 | 3 | 2 | - | -
Apr | 23 | 17 | 3 | 3 | 126 | 88 | 23 | 7 | - | -
May | 62 | 51 | 179 | 104 | 59 | 48 | 1 | 1 | - | -
Jun | 107 | 63 | 785 | 599 | 93 | 52 | 52 | 22 | - | -
Jul | 96 | 60 | 137 | 89 | 246 | 181 | 59 | 39 | - | -
Aug | 48 | 31 | 470 | 337 | 369 | 288 | 10 | 5 | 11 | 5
Sep | 69 | 56 | 302 | 212 | 217 | 163 | 11 | 8 | 6 | 3
Oct | 650 | 476 | 70 | 58 | 78 | 51 | 37 | 24 | 0 | 0
Nov | 40 | 34 | 68 | 38 | 0 | 0 | 66 | 29 | 5 | 3
Dec | 0 | 0 | 1 | 0 | 227 | 168 | 99 | 51 | 0 | 0
2005 total | 1239 | 884 | 2127 | 1516 | 1578 | 1135 | 569 | 328 | 22 | 11
2004 total | 670 | 324 | 1904 | 1019 | 1570 | 741 | -- | -- | 8 | 6

## Slide 6: Summary of Zonal Congestion Occurrences - Days
 | N_H |  | S_H |  | S_N |  | N_W |  | W_N | 
 | Active | Binding | Active | Binding | Active | Binding | Active | Binding | Active | Binding
Jan | - | - | 2 | 2 | 6 | 6 | 5 | 5 | - | -
Feb | 3 | 2 | 1 | 1 | 3 | 2 | 6 | 6 | - | -
Mar | 1 | 1 | 2 | 2 | 4 | 3 | 1 | 1 | - | -
Apr | 3 | 3 | 2 | 2 | 6 | 6 | - | - | - | -
May | 2 | 2 | 12 | 11 | 7 | 5 | 1 | 1 | - | -
Jun | 8 | 8 | 26 | 26 | 9 | 8 | 7 | 5 | - | -
Jul | 5 | 5 | 14 | 14 | 16 | 16 | 9 | 9 | - | -
Aug | 4 | 4 | 23 | 23 | 16 | 16 | 4 | 4 | 1 | 1
Sep | 5 | 4 | 19 | 19 | 15 | 15 | 2 | 2 | 1 | 1
Oct | 16 | 16 | 3 | 3 | 9 | 7 | 5 | 5 | 0 | 0
Nov | 4 | 4 | 6 | 5 | 0 | 0 | 1 | 1 | 1 | 1
Dec | 0 | 0 | 1 | 0 | 10 | 9 | 9 | 7 | 0 | 0
2005 total | 51 | 49 | 111 | 108 | 101 | 93 | 50 | 46 | 3 | 3
2004 total | 44 | 39 | 95 | 86 | 74 | 61 | -- | -- | 3 | 2

## Slide 7: CSC Limits vs Actual Flows: North to Houston Jan – Dec 2005

## Slide 8: CSC Limits vs Actual Flows: North to Houston Jan – Dec 2004

## Slide 9: CSC Limits vs Actual Flows: South to North Jan – Dec 2005

## Slide 10: CSC Limits vs Actual Flows: South to North Jan – Dec 2004

## Slide 11: CSC Limits vs Actual Flows: South to Houston Jan – Dec 2005

## Slide 12: CSC Limits vs Actual Flows: South to Houston Jan – Dec 2004

## Slide 13: CSC Limits vs Actual Flows: North to West Jan – Dec 2005

## Slide 14: Duration Curves: S_N

## Slide 15: Duration Curves: S_H

## Slide 16: Duration Curves: N_H

## Slide 17: Unused CSC capacity : N_W

## Slide 18: Unused CSC capacity : S_N

## Slide 19: Unused CSC capacity : S_H

## Slide 20: Unused CSC capacity : N_H

## Slide 21: Minutes Above Limit

## Slide 22: Costs of Over-constraining vs. Under-constraining
Taking all binding intervals where the actual CSC flow is less than 100% of CSC limit.
Multiply the difference between the actual flow and 100% of the limit, times the Shadow Price.
Taking intervals where the actual flow is greater than the CSC limit.
Multiply the difference between the flow and the limit, times the average Shadow Price.