## Slide 1: CSC Utilization Report Q1 - 2006
WMS
April 19, 2006

## Slide 2: Outline
Zonal congestion – costs and quantity
Active and binding intervals
Actual CSC flows vs limits
Costs of over constraining

## Slide 3: CSC Congestion Charges collected from QSEs
$Million | E_N | N_H | S_H | S_N | N_W | W_N | TOTAL
2006 total | 0.4 | ~0 | 0.6 | 0.2 | ~0 | 0 | 1.2
2005 – Q1 | 0 | 3.2 | 0.5 | 1.1 | 2.3 | ~0 | 7.2
2005 total | 0 | 25.7 | 39.2 | 8.9 | 5.3 | ~0 | 79.1

## Slide 4: Number of Intervals Constraints were Binding
 | E_N | N_H | S_H | S_N | N_W | W_N
2006 total | 16 | 6 | 28 | 100 | 8 | 2
2005 – Q1 | 0 | 96 | 76 | 96 | 142 | 0
2005 total | 0 | 884 | 1516 | 1135 | 328 | 11

## Slide 5: Summary of Zonal Congestion Occurrences - Intervals
 | E_N |  | N_H |  | S_H |  | S_N |  | N_W |  | W_N | 
 | Active | Binding | Active | Binding | Active | Binding | Active | Binding | Active | Binding | Active | Binding
Jan | 0 | 0 | 0 | 0 | 10 | 10 | 16 | 11 | 0 | 0 | 0 | 0
Feb | 0 | 0 | 0 | 0 | 18 | 13 | 131 | 89 | 13 | 8 | 0 | 0
Mar | 18 | 16 | 7 | 6 | 8 | 5 | 0 | 0 | 0 | 0 | 2 | 2
Apr |  |  |  |  |  |  |  |  |  |  |  | 
May |  |  |  |  |  |  |  |  |  |  |  | 
Jun |  |  |  |  |  |  |  |  |  |  |  | 
Jul |  |  |  |  |  |  |  |  |  |  |  | 
Aug |  |  |  |  |  |  |  |  |  |  |  | 
Sep |  |  |  |  |  |  |  |  |  |  |  | 
Oct |  |  |  |  |  |  |  |  |  |  |  | 
Nov |  |  |  |  |  |  |  |  |  |  |  | 
Dec |  |  |  |  |  |  |  |  |  |  |  | 
2006 total | 18 | 16 | 7 | 6 | 36 | 28 | 147 | 100 | 13 | 8 | 2 | 2
2005 – Q1 | 0 | 0 | 144 | 96 | 112 | 76 | 163 | 96 | 211 | 142 | 0 | 0
2005 total | 0 | 0 | 1239 | 884 | 2127 | 1516 | 1578 | 1135 | 569 | 328 | 22 | 11

## Slide 6: Summary of Zonal Congestion Occurrences - Days
 | E_N |  | N_H |  | S_H |  | S_N |  | N_W |  | W_N | 
 | Active | Binding | Active | Binding | Active | Binding | Active | Binding | Active | Binding | Active | Binding
Jan | 0 | 0 | 0 | 0 | 1 | 1 | 4 | 2 | 0 | 0 | 0 | 0
Feb | 0 | 0 | 0 | 0 | 2 | 2 | 6 | 5 | 1 | 1 | 0 | 0
Mar | 2 | 2 | 1 | 1 | 3 | 1 | 0 | 0 | 0 | 0 | 1 | 1
Apr |  |  |  |  |  |  |  |  |  |  |  | 
May |  |  |  |  |  |  |  |  |  |  |  | 
Jun |  |  |  |  |  |  |  |  |  |  |  | 
Jul |  |  |  |  |  |  |  |  |  |  |  | 
Aug |  |  |  |  |  |  |  |  |  |  |  | 
Sep |  |  |  |  |  |  |  |  |  |  |  | 
Oct |  |  |  |  |  |  |  |  |  |  |  | 
Nov |  |  |  |  |  |  |  |  |  |  |  | 
Dec |  |  |  |  |  |  |  |  |  |  |  | 
2006 total | 2 | 2 | 1 | 1 | 6 | 4 | 10 | 7 | 1 | 1 | 1 | 1
2005 - Q1 | 0 | 0 | 4 | 3 | 5 | 5 | 13 | 11 | 12 | 12 | 0 | 0
2005 total | 0 | 0 | 51 | 49 | 111 | 108 | 101 | 93 | 50 | 46 | 3 | 3

## Slide 7: CSC Limits vs Actual Flows: S_H Jan – Mar 2006

## Slide 8: CSC Limits vs Actual Flows: S_N Jan – Mar 2006

## Slide 9: Duration Curves: E_N

## Slide 10: Duration Curves: N_H

## Slide 11: Duration Curves: S_H

## Slide 12: Duration Curves: S_N

## Slide 13: Duration Curves: N_W

## Slide 14: Unused CSC capacity: Jan – Mar 2006

## Slide 15: Costs of Over-constraining vs. Under-constraining
Taking all binding intervals where the actual CSC flow is less than 100% of CSC limit.
Multiply the difference between the actual flow and 100% of the limit, times the Shadow Price.
Taking intervals where the actual flow is greater than the CSC limit.
Multiply the difference between the flow and the limit, times the average Shadow Price.

## Slide 16: Minutes Above Limit
2005
2006