## Slide 1: Frequency Control Task Force presentation to WMS April 19, 2006

## Slide 2: Overview
Background
Issues Examined
Recommendations
Action Items for WMS

## Slide 3: Frequency Issue Background
Observed frequency problems
SCE-based solutions
  PRRs 356, 358
  PRR 525
PRR 586
  Provide market incentives for good SCE performance

## Slide 4: FCTF Assignment
Build on work of ROS and PDCWG
Develop market solution to frequency issues identified

## Slide 5: Issues Examined by FCTF
Contribution of SCE to poor frequency control
Contribution of SCE to regulation procurement and deployment
Contribution of load swings and load forecast error to regulation deployment
Market obligations / incentives to provide primary frequency response

## Slide 6: Issues Examined by FCTF (cont.)
Market incentives / penalties for SCE performance
Uncontrollable Renewable Resource forecast error
Accuracy of ERCOT regulation signals and their impact on the QSE SCE calculation
Evaluation of PRR 525 implementation

## Slide 7: Recommendations
Clearly define each of the problems associated with primary frequency control, secondary frequency control, and Regulation Service procurement and deployment.
Clearly define the goals of market solutions to the frequency and regulation problems identified in # 1.
Modify Protocols Sec. 6.10.6 to more appropriately reflect the intervals which should be measured in each QSE’s SCE calculation.

## Slide 8: Recommendations (cont.)
Modify the existing SCE compliance regime to better align commercial incentives with performance goals and market realities.
Return a recommendation on PRR 586 to PRS
Charge the QMWG to review PRRs 607 and 608
Continue work of the FCTF to develop market solutions to ensure adequate governor response to directly address primary frequency control problems.

## Slide 9: Action items for WMS
PRR 586 – recommendation to PRS
PRR 607 – refer to QMWG
PRR 608 – refer to QMWG
PRR 649 – recommendation to PRS
PRR 656 – recommendation to PRS
PRR 661 – recommendation to PRS
PRR 662 – recommendation to PRS
New charge to FCTF to develop commercial solution to primary frequency control

## Slide 10: Decision Path
Motion #1: The WMS refers PRRs 607 One-Minute Ramp Schedules and 608 Improve Ancillary Services Performance Conditions to the QSE Managers Work Group with the charge to develop a recommendation to WMS in concert with QMWG’s ongoing work on multiple ramp rate feasibility.

## Slide 11: Decision Path
Motion #2: The WMS charges the Frequency Control Task Force to continue its work developing an ancillary service for governor response to improve primary frequency control in ERCOT. The FCTF should present a draft PRR creating a GRS at the September WMS meeting.

## Slide 12: Decision Path
Address the SCE component of the frequency issue.
Option 1: Keep the Status Quo (PRR 525)
Option 2: Modify the Status Quo (PRR 629 or 661)
Option 3: Create new SCE performance measure and incentive / penalty mechanism (PRR 586 or 656)

## Slide 13: Decision Path
Motion to implement Option 1:

## Slide 14: Decision Path
Motion to implement Option 2:

## Slide 15: Decision Path
Motion to implement Option 3:

## Slide 16: Decision Path
Address PRR 662 in light of earlier decisions made on the appropriate SCE performance measure and compliance regime.