| PRR Number | 662 | PRR Title | Modify Ancillary Service Deployment Performance Conditions |  |
| --- | --- | --- | --- | --- |
| Timeline (Normal or Urgent) | Urgent | Action |  | Tabled |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 6.10.6 Ancillary Service Deployment Performance Conditions |  |  |
| Proposed Effective Date |  | TBD |  |  |
| Priority and Rank Assigned |  | TBD |  |  |
| Revision Description |  | Clarifies current language exempting the intervals following a Forced Outage from the Schedule Control Error (SCE) compliance measure and adds additional exemptions to address infeasible portfolio instructions, Responsive Reserve Service ramping, unit testing, and the scheduling of Uncontrollable Renewable Resources. |  |  |
| Overall Market Benefit |  | Avoids improper disqualification of Qualified Scheduling Entities (QSEs) and unnecessary depletion of Ancillary Service bid stacks and the resulting higher prices expected from tighter supply. |  |  |
| Overall Market Impact |  | Not known |  |  |
| Consumer Impact |  | Not known |  |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? (indicate Yes or No, and if Yes, include a summary of impact) |  | No. |  |  |
| Procedural History |  | - PRR662 was posted on 4/10/06 with a request for Urgent Status. - Urgent Status was granted by e-mail vote on 4/21/06. - On 4/11/06, Coral posted comments. - On 4/14/06, ERCOT posted an Impact Analysis (IA). - On 4/18/06, PUCT WMO posted comments. - On 4/20/06, ERCOT posted comments. - On 4/21/06, WMS posted comments. - On 4/21/06, PRS tabled this PRR. |  |  |
| PRS Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | On 4/21/06, PRS voted to table consideration of PRR662, along with PRRs 586, 649, 656, and 661, until the May 18, 2006 PRS Meeting. The motion passed with two abstentions from the Independent Power Marketer and Independent Generator market segments. All market segments were present for the vote. |  |  |
| Summary of PRS discussion |  | On 4/21/06, the Frequency Control Task Force (FCTF) Chair, Mark Bruce, reported that the FCTF has reviewed various options to address the SCE. The options were presented to the Reliability Operations Subcommittee (ROS) and the Wholesale Market Subcommittee (WMS). The ROS concluded that the measures implemented by PRR525, SCE Performance and Monitoring appear to be working and voted to endorse PRR525. Therefore, neither ROS nor the WMS are ready to endorse PRR662. According to Mr. Bruce, at this time the WMS is focused on developing an SCE solution that uses the existing SCE performance measurement (the PRR 525 methodology) and that requires minimal system changes. WMS expects to adopt a final recommendation for a market structure to properly align the commercial incentives and/or penalties needed to ensure QSEs maintain appropriate SCE at its May 17, 2006 meeting for consideration by the PRS in May. This recommendation will likely take the form of comments or amendments to PRR 661. Therefore, WMS recommends PRS table consideration of PRR586, 649, 656, 661, and 662 until the May 18, 2006 PRS Meeting. |  |  |

ERCOT/Market Segment Impacts and Benefits

Instructions: To allow for comprehensive PRR consideration, please fill out each block below completely.  Wherever possible, please include reasons, explanations, and quantitative cost/benefit analyses pertaining to the PRR.

| Assumptions | 1 | Amendments to Section 6.10.6 do not require ERCOT system changes. Qualifying intervals can be manually excluded from the affected QSEs’ SCE performance calculation. |  |
| --- | --- | --- | --- |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | None. | None. |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Avoids improper disqualification of QSEs from providing Ancillary Services. | Avoids unneccessary depletion of Ancillary Service bid stacks and the resulting higher prices expected from tighter supply. |
| Additional Qualitative Information | 1 | None. |  |
| Other | 1 |  |  |

| Original Sponsor |  |
| --- | --- |
| Name | Mark J. Bruce |
| Company | FPL |
| Segment | On behalf of WMS Frequency Task Force |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| Coral 041106 | Generally supported this PRR, with one exception. Item 6.10.6, Ancillary Service Deployment Performance Conditions, paragraph (7) should be expanded to account for annual emissions testing and tuning activities. |
| PUCT WMO 041806 | Commented that it does not support expanding the list of exemptions from compliance with the SCE performance compliance metric at this time. PUCT Staff noted that the SCE compliance metric from PRR 525 allows a QSE to be out of compliance for 10% of the intervals in one month and that the probability of unintended consequences from adding the proposed exemptions is high. |
| ERCOT 042006 | ERCOT Staff noted that any addition and/or change to the list of exceptions under Section 6.10.6, Ancillary Service Deployment Performance Conditions, should be reviewed and analyzed within the context of all its possible impacts on the SCE performance compliance metric to ensure that the acceptable tolerances are still appropriate. Also disagreed that Uncontrollable Renewable Resources (URR) should be exempt from the performance metric. |
| WMS 042106 | Recommended that PRS table PRR 662 at its April 21, 2006 meeting. Ancillary Service Deployment Performance Conditions should be considered in light of the final recommendation for a SCE performance measure and incentive / penalty structure. |

Proposed Protocol Language Revision

6.10.6	Ancillary Service Deployment Performance Conditions

ERCOT shall determine the performance of providers of QSE SCE Performance under normal operating conditions.  ERCOT shall remove from consideration of average performance of a QSE any period during which any of the following events has occurred and which does not have a passing score.

(1)	The two (2) hour period after the QSE has experienced a Forced Outage and the QSE is under-generating;

(2)	The entire Settlement Intervals for all QSEs in which ERCOT has deployed or recalled Balancing Energy in response to an Unusual Event;

(3)	The entire Settlement Intervals in which ERCOT has issued a verbal Dispatch Instruction;

(4)	The period where ERCOT issues instructions to any QSE to be deployed at ramp rates in excess of the unit’s capabilities or QSE’s capabilities;

(5)	The ten (10) minute period in which a QSE is ramping up due a RRS deployment;

(6)	The entire Settlement Interval(s) in which a QSE is ramping into (from time of notification to time of deployment) or out of (from end of deployment to thirty (30) minutes later) a NSRS deployment;

(7)	If requested by a QSE, the entire Settlement Interval(s) in which a QSE is performing ERCOT-required testing, limited to X hours per month; {'X' to be determined}

(8)	The entire Settlement Interval(s) in which a QSE’s Resource Plan shows only Uncontrollable Renewable Resources On-line; and

PIP112: Add item #9 below to the list and renumber the existing (9) to (10) when BUL is implemented: (9) If requested by a QSE, up to three (3) scheduling hours following an instruction issued by ERCOT to recall previously deployed Responsive Reserve, Non-Spin or Balancing Energy Up Services provided from Replacement Capacity that is using qualified Load as the QSE’s Resource; and

(9)	Certain other periods of abnormal operations as determined by ERCOT.