Joint Meeting Resolution Regarding Electrical Bus Naming Convention

SSWG and NDSWG April 18, 2006

The naming convention requirements are presented in Nodal Protocol Section 3.10.7.

ELECTRICAL BUS NAMING CONVENTION

The 12 character Electrical Bus Name representing the same Transmission Element shall be identical in the Network Operations Model, Updated Network Operations Model, Annual Planning Model and CRR Network Model and shall be unique within all of ERCOT.

NOTE: THIS ELECTRICAL BUS NAMING CONVENTION WAS AGREED UPON AT MEETING BY BOTH GROUPS (SSWG AND NDSWG) AND WILL BE PRESENTED TO ROS.

ERCOT considers the following to be technical requirements within the naming convention provided above and any other Transmission Element naming convention proposed below.

- Use only uppercase alpha-numerics (A to Z and 0 to 9)

- Only special character allowed is the underscore ( '_' )

- No spaces allowed

- Unique with exception of switching devices (referred to as Transmission Breakers and Switches)

Proposed Suggestions/Tips NOT Requirements

Regarding Electrical Bus Name

- Derived from substation name

- All Electrical Bus Names within a substation be consistent

- Unique voltage designator within Name

- Use of  prefix would allow for less research for naming conflicts

The remaining Transmission Elements requiring a naming convention were discussed with NDSWG members that remained.  For reference, the Nodal Protocol section titles are as follows:

3.10.7.1.1	Transmission Lines

3.10.7.1.3	Transmission Breakers and Switches

3.10.7.1.4	Transmission and Generation Resource Step-Up Transformers

3.10.7.1.5	Reactors, Capacitors, and other Reactive Controlled Sources

TRANSMISSION ELEMENT NAMING CONVENTION

Transmission Breakers and Switches representing the same Transmission Breaker or Switch in the Network Operation Model, Updated Network Operations Model, and CRR Network Model shall require uniqueness within the same substation and shall have the first 14 characters unique.

All other Transmission Elements representing the same Transmission Element in the Network Operation Model, Updated Network Operations Model, and CRR Network Model shall have the first 14 characters unique within the Transmission Element type (i.e. no two companies can have the same line name such as “Line X”).  Note that these are the Transmission Elements referenced in 3.10.7.1.4 and 3.10.7.1.5

NOTE that these closely reflect the current requirements Market Participants are subjected to today.

Naming Convention for Equipment Types NOT in Nodal Protocols

Substation names representing the same substation in the Network Operation Model, Updated Network Operations Model, and CRR Network Model shall be unique for all substations within ERCOT and shall be limited to 8 characters.

NOTE that this closely reflects the current requirements Market Participants are subjected to today.