| COPMGRR Number | 002 | COPMGRR Title | Section 4, Unplanned Outage Communication Process |
| --- | --- | --- | --- |
| Commercial Operations Market Guide Section(s) Requiring Revision (include Section No. and Title) |  | Section 4, Unplanned Outage Communication Process (new) |  |
| Requested Resolution (Normal or Urgent) |  | Normal |  |
| Revision Description |  | To incorporate Section 4, Unplanned Outage Communication Process into the Commercial Operations Market Guide. Section 4 documents the means by which ERCOT will communicate to the market during an unplanned outage event, including type and frequency of communication and escalation to stakeholder subcommittees, TAC and the Board, as necessary. |  |
| Reason for Revision |  | To fulfill one of the 2006 goals of the Commercial Operations Subcommittee (COPS) as established during its 2/14/06 meeting: that the COPS Communications Working Group (CCWG) will work with ERCOT staff to document and standardize communication flow around unplanned outage events. |  |
| Timeline |  |  |  |
| Date Posted |  | 4/5/06 |  |
| Please access the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | Judy Briscoe on behalf of the CCWG |
| E-mail Address | Judy.briscoe@bp.com |
| Company | BP Energy |
| Company Address | 501 Westlake Park Blvd, Houston, TX 77079 |
| Phone Number | 281-366-1783 |
| Fax Number | 281-366-7909 |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive COPMGRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the COPMGRR.

| Assumptions | 1 | None |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | Not applicable | Not applicable |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Not applicable | Not applicable |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | This section will document the means by which ERCOT communicates to the market during an unplanned outage event or interruption in any of the market services it provides to Market Participants, allowing individual market participants to estimate their internal impacts due to the interruption of service. |  |
|  | 2 | The benefit to the market is a documented and standardized communication process around special events and the needed escalation process to stakeholder subcommittees. |  |
|  | 3 | The unplanned outage notification will give additional transparency to policy makers into operational events that need their attention (e.g., an outage that extends past 24 hours). |  |
|  | 4 | The unplanned outage notification will communicate the outage, business area(s) impacted, service/system impacted, phase of notification, the progress of service restoration and anticipated duration of outage. |  |
| Other | 1 | This communication process will be a requirement in the Texas Nodal Market. |  |
| Comments | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

Proposed Commercial Operations Market Guide Language Revision

# 4	UNPLANNED OUTAGE COMMUNICATION PROCESS

An unplanned outage is defined as an interruption or delay of an ERCOT market service that occurs with less than 10 days notice. ERCOT shall communicate to the Market as specified in Appendix A.

Appendix A

Definition of Terms

Outage – The interruption or delay of a market service.

Business Area – Indicates which type of Market Participant would be affected by the outage (All areas, Wholesale areas only, or Retail areas only).

Service/System – ERCOT processes or system(s) affected by the outage.

Notice Template: 24X7 or Business Day – Basis of timeline for distribution of notices.

Phases of Notification – Communication phase –

I.	Initial notification (identification that service is not available, but technical or business analysis not yet available);

II.	Follow-up notification, multiple updates depending on the duration of the outage (progress reports and reporting of impacts to other systems);

III.	Notification regarding end of outage (service is restored, but root cause analysis may not be complete); and

IV.	Summary of lessons learned and any mitigation action taken by ERCOT (root cause analysis complete, but mitigation actions may be pending).

Escalation – Escalation of notifications based on duration of outage and cross-system impact.

Notice Content – Dependent on communication phase, duration of outage, and complexity of outage (in principal, each notice should inform audience of progress of service restoration and anticipated duration of the outage).

Audience – Email distribution lists (see http://lists.ercot.com ) to which ERCOT will send notices.

Assumptions

- Notification chart only applies to ERCOT’s unplanned outages.

- If a notice is sent when a service is down, ETA from the notice supersedes other notification requirements. (i.e. If an ETA is published that occurs sooner than the next scheduled update, the ETA will determine the timing of the next notice)

- Notifications are assumed to be via e-mail. Note exception for handling outages of email service/systems.  Where will the process for that specific outage be detailed if not in the chart?  Suggestion from CCWG: ERCOT to determine other methods of communicating issues to the market.

- Once a notice has been escalated, subsequent notices will continue to be sent to the highest level distribution list used.

- At 15 minutes past the “due date”/”outage time” a notice would go out.

| Business Area | Service/System | Description | Notice Template | Protocol Requirement |
| --- | --- | --- | --- | --- |
| All | Data Retrieval | Public and Private extracts | Business Day |  |
| All | Data Storage | Storage of archive data used for extracts | Business Day |  |
| All | Digital Certificate Administration | Ability for USAs to enroll, pick up, renew and delete Digital Certificates | Business Day |  |
| All | E-Mail Communications | **Phone call updates to primary contacts if email is down** | 24x7 |  |
| All | Forecasted Profiles | Load Profile Forecasts, Backcasts (Operational postings) | 24x7 | Section 18.3.3 |
| All | Forecasted Transmission Loss Factors (TLF) | Forecasted TLF for each 15 minute settlement interval of each Operating Day. | 24x7 | Section 13.2.1 |
| All | EPS Metering | Polling of EPS Meters | Business Day | Section 10 |
| All | Commercial Programmatic Interface | PI, Commercial API, PI App, Automatic download of commercial information | Business Day |  |
| All | Public Market Information | Public information required to be posted (Scheduling Info, A/S Info, Other Commercially Significant Info, Current System Conditions) | 24x7 | Section 12 |
| All | Renewable Energy Program | View, sort, batch, or singly identify RECs to transfer or retire | Business Day | Section 14 |
| All | TCR information | Billing and invoicing of TCR, TCR auctions and monthly information on shift factors | Business Day | Section 7.5 |
| All | TML | Service to provide access to MP specific information on ERCOT’s portal, plus sub services | 24x7 | Use most stringent criteria for all services under TML. |
| All | ERCOT Website | www.ERCOT.com | 24x7 |  |
| All | Phone Lines | Commercial phone lines (Example: Helpdesk) | 24x7 |  |
| Retail | EDI Electronic Delivery Mechanism/NAESB | Method used to connect and transmit electronic data | 24x7 | NEASB Protocols require notification if delay of > 15 minutes (Needs Verification) - being verified by ERCOT |
| Retail | Retail Siebel Batch | Retail Siebel Batch must complete by 6 AM in order to meet guaranteed window for stacking. Expectation is Market Notice sent if batch does not complete by 6 AM | 24x7 |  |
| Retail | Retail Testing | Ability to provide services to the retail test flights | Business Day |  |
| Retail | Retail Transaction Variances | Transactional issues and inquiries submitted to the FasTrak system. | Business Day |  |
| Retail | Retail Transaction Processing | Retail Transactions are processed by ERCOT during Retail business days/hours. (Paperfree, TCH, Siebel) | 24x7 | The most stringent Business Processing timeline for Retail Transactions is 1 Retail Business hour after processing the initiating transaction. (Section 15) |
| Retail | TML Retail Components | Delete CSA, Establish CSA, Create Drop, Create Enrollment, Create Move-In, Create Move-Out, Find ESIID, Find Transactions. | 24x7 |  |
| Wholesale | Market Operations API | Scheduling A/S and Energy, Bids and Info query via API, Deployments, and Notices. | 24x7 |  |
| Wholesale | Market Operations Test Environment | Provide testing and qualifications to MPs | Business Day | Section 16 |
| Wholesale | Operational Notifications | BES Requirement, A/S Obligations, Congestion Notifications, EECP Notifications | 24x7 |  |
| Wholesale | Operational Telemetry | SCADA, Real time telemetry. | 24x7 |  |
| Wholesale | Transmission/Generation Outage Requests | Transmission and Generation outage requests and information | 24x7 | Section 8 |
| Wholesale | Settlement Statement and Invoices | Creation posting and collection of Statements and Invoices | Business Day | Section 9.2, 9.3 and 9.4 |
| Wholesale | Settlement Disputes/ Service Requests | Entry and retrieval of Settlement Dispute from TML, Create Service Request, Find Service Request. (This includes Electrical System Modifications Requests) | Business Day | Section 9.5 |
| Wholesale | Market Operations TML | Scheduling A/S and Energy, Bids and Info query via TML | 24x7 |  |
| Wholesale | Wide Area Network | Secure Connectivity to EROCT, Hotline | 24x7 |  |

| Notice Template | Duration of Outage | Timing of Market Notification | Phases of Notice | Escalation | Notice Content | Listserv |
| --- | --- | --- | --- | --- | --- | --- |
| 24x7 | < 15 minutes | ERCOT logs outage and post instance to webpage. |  |  |  |  |
|  | > 15 minutes | ASAP | I – Initial Notification | None | Minimal | Applicable distribution lists and Primary and Secondary contacts |
|  | > 15 minutes | Hour 2 | II - Follow-Up | None | Standard content | Same as previous |
|  | > 15 minutes | Hour 12 | II – Follow-Up | None | Same as previous + updates | Same as previous |
|  | > 15 minutes | Hour 24 | II – Follow-Up and Initiate Daily Conference Calls | Yes | Same as previous + conference call information | Same as previous + Subcommittees |
|  | > 15 minutes | Hour 48 | II - Follow-Up | Yes | Same as previous | Same as previous + TAC |
|  | > 15 minutes | End of Outage | III – Final | Same as last message sent | Service restored | Same as last message sent. |
|  | > 15 minutes | End of Outage + 7 Calendar Days | IV – Lessons Learned & Mitigation Action | Same as last message sent | Same as previous + lessons learned and mitigation actions; additional follow-up communications | Same as last message sent. |
|  | > 15 minutes | End of Outage + Reasonable Time for Completion of Root Cause Analysis not to exceed 45 days without at least an interim report. | IV – Lessons Learned & Mitigation Action | Same as last message sent | Same as previous + lessons learned and mitigation actions; additional follow-up communications | Same as last message sent. |

| Notice Template | Duration of Outage | Timing of Market Notification | Phases of Notice | Escalation | Notice Content | Listserv |
| --- | --- | --- | --- | --- | --- | --- |
| Business Day | < 15 minutes | ERCOT logs outage and post instance to webpage. |  |  |  |  |
|  | > 15 minutes | No Later Than Expected Time of Publication (DEWG Extract and Report matrix) | I – Initial Notification | None | Minimal | Applicable distribution lists and Primary and Secondary contacts |
|  |  | By 1600 | II – Follow-Up | None | Standard content | Same as previous |
|  |  | Next Business Day | II – Follow-Up and Initiate Daily Conference Calls | Yes | Same as previous + conference call information | Same as previous + Subcommittees |
|  |  | Hour 48 | II - Follow-Up | Yes | Same as previous | Same as previous + TAC |
|  |  | End of Outage | III – Final | Same as last message sent | Service restored | Same as last message sent. |
|  |  | End of Outage + 7 Calendar Days | IV – Lessons Learned & Mitigation Action | Same as last message sent | Same as previous + lessons learned and mitigation actions; additional follow-up communications | Same as last message sent. |
|  |  | End of Outage + Reasonable Time for Completion of Root Cause Analysis not to exceed 45 days without at least an interim report. | IV – Lessons Learned & Mitigation Action | Same as last message sent | Same as previous + lessons learned and mitigation actions; additional follow-up communications | Same as last message sent. |