Date:  March 31, 2006

To:  TAC Representatives

From:	 Kevin Gresham, PRS Chair

Re:  Consideration of Protocol Revision Requests

PRS acted upon the following PRRs and presents them to the TAC for consideration:

# PRRs Recommended for Approval:

PRS voted to recommend the following PRRs to the TAC for approval:

- PRR648 - Prevent IDR Removal from Customers Served at Transmission Voltage.  Proposed effective date: June 1, 2006.  No impact to ERCOT budget; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impact to business functions; no impact to grid operations.  This PRR clarifies that Interval Data Recorders (IDRs) may not be removed from Premises served at transmission voltage, regardless of the level of a customer’s demand.  ERCOT posted PRR648 on 1/16/06.   On 2/23/06, PRS unanimously voted to recommend approval of PRR648 as submitted.  All segments were present for the vote.  On 3/23/06, PRS noted that PRR648 has no system impacts.  ERCOT credit staff and the Credit Work Group (Credit WG) have reviewed PRR648 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR651 – RPRS Cost Recovery Process Clarification - URGENT. Proposed effective date: May 1, 2006. No impact to ERCOT budget; no impacts to ERCOT staffing; no impact to ERCOT computer systems; ERCOT Settlement & Billing Operations group will use an existing business process to (1) evaluate RPRS local congestion verifiable cost submissions and (2) implement granted RPRS verifiable costs and input approved verifiable cost values into Lodestar for settlement; no impact to grid operations.  This PRR clarifies that the process ERCOT shall use when making payments for verifiable costs recovery associated with Replacement Reserve Service (RPRS) instructions is the same as the one used for Out of Merit Capacity (OOMC) payments.  ERCOT posted this PRR on 2/24/06.  On 3/23/06, PRS voted unanimously to grant urgent status to PRR651.  PRS then voted unanimously to recommend approval of PRR651 as amended by PRS.  All segments were present for the vote.  ERCOT credit staff and the Credit WG have reviewed PRR651 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

Notice of Rejected PRRs

- PRR472 – ERCOT Meter Read Transaction Validation Reinstatement.  This PRR would reinstate ERCOT meter read validations on outbound meter reads to competitive Retail Electric Providers.  ERCOT posted PRR472 on 10/29/03.  PRS remanded this PRR to RMS in November, 2003.  Based on a request by the submitter, RMS recommended deferral of consideration of PRR472 on 3/18/04.  RMS reviewed PRR472 on 03/15/06 and voted to recommend that PRS reject this PRR.  On 3/23/06, with all segments present, PRS unanimously voted to reject PRR472.

- PRR541 – Regulation Deployment Ramp Rate.  This PRR would eliminate “implied” ramp rate limitation on Regulation Service deployments and clarify that the limitations outlined for performance purposes are not intended to limit ERCOT’s ability to fully deploy regulation at any time.  ERCOT posted this PRR on 9/1/04.  On 9/24/04, PRS voted to remand PRR541 to WMS; the independent REP segment was not present for the vote.  On 2/22/06, WMS discussed PRR541 and voted to recommend rejection.  On 3/23/06, with all segments present, PRS unanimously voted to reject PRR541.

---------------------------------------------------------------------------------------------------------------------

Status of Pending PRRs (Information Purposes Only):

Pending Input from Other Subcommittees

- PRR476 – Ramp Rate Adherence During Local Congestion.  PRS recommended approval of this PRR on 5/21/04; TAC approved it on 6/3/04.  On 6/15/04, the Board remanded PRR476 back to the TAC for the development of a cost estimate, noting that there is more than one way to implement the PRR and that further direction from the stakeholders is needed.  On 7/8/04, TAC remanded PRR476 to the PRS with instructions that the WMS is to further define how PRR476 should be implemented.

- PRR539 – OOMC Claw Back Correction.  This PRR was posted on 9/1/04.  At its September meeting, PRS voted to remand PRR539 to WMS for additional review.

- PRR549 – Regulation Control During Abnormal Frequency Events.  ERCOT posted this PRR on 10/8/04.  At its November meeting, PRS remanded the PRR to ROS.

- PRR584 – Extending Black Start Service Bid Timeline.  ERCOT posted this PRR on 3/25/05.  On 4/21/05, PRS voted to refer the PRR to the Black Start Task Force for further development.  There were three abstentions from the Municipal and Coop (two) segments.  All segments were present for the vote.

- PRR586 – SCE Performance and Regulation Cost Re-allocation.  ERCOT posted this PRR on 4/01/05.  The submitter requested urgent status, but the request failed to garner enough e-mail votes. On 5/19/05, PRS discussed the PRR and voted to remand it to ROS with a suggestion that the PDC review issues identified by PRS.  On 7/21/05, PRS discussed the PRR and voted to refer it to WMS and ROS for further development.  On 9/29/05, ROS reported the results of its investigation to PRS.

- PRR553 – Scheduling Trading Hubs.  This PRR was remanded by TAC on 1/6/05 to PRS, to be remanded to WMS to further review its impacts and determine the necessity of implementing this PRR before the possible implementation of a nodal market (TNT).

- PRR605 - SCE Performance Monitoring for Combined Cycle Resources. ERCOT posted this PRR on 5/27/05.  PRS did not approve the request for urgent status (via email vote).  At its 6/23/05 meeting, PRS voted to refer the PRR to WMS for assignment to the WMS task force considering frequency issues.

- PRR607 - One-Minute Ramp Schedules.  ERCOT posted this PRR on 5/27/05.  At its 6/23/05 meeting, PRS voted to refer the PRR to WMS for assignment to the WMS task force considering frequency issues.

- PRR608 - Improve Ancillary Service Performance Conditions.  ERCOT posted this PRR on 6/1/05.  On 7/21/05, PRS voted to refer PRR608 to WMS and ROS task forces.

- PRR631 – Black Start Bid Procedures and Compensation for Testing.  ERCOT posted this PRR on 9/6/05.  On 10/20/05, PRS voted unanimously to refer PRR631 to ROS and the Black Start Task Force to address issues raised in ERCOT Staff’s comments

- PRR647 - Gross and Net MW/Mvar Data Reporting.  ERCOT posted this PRR on 12/05/05.  It is on a normal timeline.  On 1/19/06, PRS voted unanimously to refer PRR647 to ROS for determination of ERCOT needs and identification of data already being reported to ERCOT by Market Participants.  On 3/23/06, PRS received an oral report of ROS’ discussions regarding PRR647 and voted to forward additional instructions to ROS.

Initial Review at April 2006 PRS Meeting

- PRR652 - Customer Information Repository.  ERCOT posted this PRR on 3/8/06.  It is on a normal timeline.

- PRR653 - OOME Ramp Rate Adherence.  ERCOT posted this PRR on 3/9/06.  It is on a normal timeline.

- PRR654 - Remove Market Solution References.  ERCOT posted this PRR on 3/14/06.  It is on a normal timeline.

- PRR655 - Approval of Temporary Modification to Annual Validation.  ERCOT posted this PRR on 3/16/06.  It is on a normal timeline.

- PRR656 - SCE Performance Charge.  ERCOT posted this PRR on 3/15/06.  The submitter had requested urgent status because so that the PRR be in place prior to the expiration of the six month delay for ERCOT Compliance enforcement of Protocol Section 6.10.5.3, SCE Monitoring Criteria.  On 3/17/06, at the end of the email voting period, the PRR had failed to receive sufficient votes for urgent status.

Review of Impact Analysis (and CBA as Appropriate) at April 2006 PRS Meeting

PRR650 – Balancing Energy Price Adjustment Due to Non-Spinning Reserve Service Energy Service Energy Deployment.  This PRR adjusts the Market Clearing Price of Energy (MCPE) when the deployment of Non-Spinning Reserve Service (NSRS) occurs to provide correct price signals via a post-deployment adjustment to separate the pricing solutions from the deployment on NSRS.   ERCOT posted this PRR on 2/24/06.