## Slide 1: CenterPoint Energy presentation to TAC regarding the NMMS April 7, 2006

## Slide 2: The Primary Issue
  CenterPoint and other TDSPs believe that:
  a central data base, as described and applied in the current NMMS document, is not necessary.
  this NMMS approach could result in misuse of TDSP personnel efforts as well as nodal project delays and cost overruns.
  neither the underlying white papers nor the nodal protocols promote the single data base approach as characterized by ERCOT in its NMMS document and therefore this approach does not conform with the intent of the nodal protocols.
  the NMMS approach will not meet Section 3.10 (5) as that section is currently defined.

## Slide 3: Relevant Nodal Protocol Sections
3-10(5) ERCOT shall use consistent information in the various models used by ERCOT Operations, ERCOT Planning, and other workgroups in a manner that yields consistent results. For operational and planning models that are intended to represent the same system state the results should be identical and the naming should be consistent. An independent audit must be performed at least annually to confirm that consistent information is used in all ERCOT Operations models.
3-10(9) ERCOT shall update the Network Operations Model under this Section and coordinate it with the Planning Models for consistency to the extent applicable.
3-10.2(1) ERCOT shall develop models for annual planning purposes (“Annual Planning Models”) that contain, as much as practicable, information consistent with the Network Operations Model.
3.10.7.1(1) ERCOT, each TSP, and each Resource Entity shall coordinate to define each Transmission Element such that the TSP’s control center operational model and ERCOT’s Network Operations Model are consistent.

## Slide 4: 3-10 (5) - ERCOT shall use consistent information in the various models used by ERCOT Operations, ERCOT Planning, and other workgroups in a manner that yields consistent results. For operational and planning models that are intended to represent the same system state the results should be identical and the naming should be consistent. An independent audit must be performed at least annually to confirm that consistent information is used in all ERCOT Operations models.
The proper way to perform this check is to transfer the base data from the operational model to the planning model and compare load flow results.
The results will not be identical, even with NMMS, due to the different modeling convergence tolerances and transformer modeling nuances.
The requirement should be revised to “results should be consistent to a TAC-approved tolerance”

## Slide 5: Remaining Sections
3-10 (9) - ERCOT shall update the Network Operations Model under this Section and coordinate it with the Planning Models for consistency to the extent applicable.
3-10.2 (1) - ERCOT shall develop models for annual planning purposes (“Annual Planning Models”) that contain, as much as practicable, information consistent with the Network Operations Model.
3.10.7.1 (1) - ERCOT, each TSP, and each Resource Entity shall coordinate to define each Transmission Element such that the TSP’s control center operational model and ERCOT’s Network Operations Model are consistent.
These sections are intended for a system of cross checks and balances to exist between operational models and databases against planning models and databases.

## Slide 6: Problems with the Single Database Approach
Fails to ensure consistency between as built “operationally-oriented” planning cases and annual planning cases built separately by TDSPs and ROS working groups (i.e., regional planning groups.)
Results in a database that is at least twice as large as it needs to be to satisfy the nodal protocols, which leads to project overspending and misuse of manpower.
Has not been implemented at any ISO or RTO.

## Slide 7: Advantages of the Dual Database Approach
Yields a good cross check: build a case with a known horizon year for comparison.
Incorporates sound consistency criteria between models that can be applied to all TDSP/ERCOT transmission planning models.
Sizes the NMMS to the correct size today (i.e., 2 to 2.5 years vs. 5 years) and offers efficiency avenues for future (i.e., a one or a two – year CRR model may be easier to use and analyze if driven from a planning model.)
Reduces implementation costs and potential timeline complexities.

## Slide 8: Recommendations
Modify Section 3.10(5) so that either NMMS or a modified NMMS can successfully meet this requirement.
Modify the NMMS to:
  Incorporate the use of separate TDSP-driven planning databases through the appropriate standardized “naming” convention and consistency criteria.
  Reduce the size and project build requirements for NMMS from 5 years to 2.5 years.