## Slide 1: Compliance Update
April 2006

## Slide 2: Control Performance Highlights
NERC CPS1 Performance
  ERCOT’s March score was 143.16 which is the second best score in over 3½ years
  March thru June have typically been ERCOT’s poorest performing months in last 3 years
PRR 525 Performance
  25 QSEs passed the measure in February – 7 non-wind-only QSEs failed in March (preliminary)
  Additional QSEs (36 total) due to break-up of QSEs into multiple sub-QSEs
  Scores posted on the ERCOT Compliance Web Page

## Slide 3: ERCOT’s CPS1 Monthly Trend

## Slide 4: ERCOT CPS1 by Interval

## Slide 5: QSE PRR525 10-Minute Interval Scoring

## Slide 6: SCE Performance Monitoring
SCE Performance Monitoring scores for all QSEs are published on the Compliance Website
  SCE Performance Scores

## Slide 7: 525 Passing 10-Min Interval Percentage Trends

## Slide 8: K-Factor Comparison of February 525 Scores

## Slide 9: Information and Training
Each QSE should be represented on the Performance Disturbance Compliance Working Group (PDCWG) and attend the meetings
  Must sign an ERCOT Confidentiality Agreement prior to attending or receiving material
  To subscribe to the PDCWG E-Mail List, go to http://lists.ercot.com/cgi-bin/majordomo
Attend the ERCOT Operations Training Seminar (5 consecutive weeks beginning March 27th)

## Slide 10: Compliance Program Developments
On January 31st, ERCOT filed its
Compliance Process in response to PUCT Substantive Rule 25.503(j), after lengthy review with Commission Staff – Docket 32350 assigned.
  Technical conference held on March 28th.
  Deadline for initial written comments is April 7th.
  PUCT Interchange
Notes:   Hyperlinks to these documents are included in the slide.

## Slide 11: Compliance Program Developments
ERCOT Compliance presented information about its Compliance Enforcement Program to the NERC Board of Trustees Compliance Committee on March 15th.
ERCOT Compliance is currently registering ERCOT Entities responsible for NERC Reliability Standards. This is in support of NERC’s filing to be the Electric Reliability Organization (ERO).