BUSINESS

CASUAL

ATTIRE

Meeting Notes – COMPETITIVE METERING WORKING GROUP MEETING

ERCOT Austin Office

7620 Metro Center Drive

Austin, Texas

May 1, 2006; 9:00AM – 4:00PM

| 1. | Antitrust Admonition | # T. Bates | 9:00 a.m. |
| --- | --- | --- | --- |
| 2. | Introductions | # T. Bates | 9:05 a.m. |
| 3. | - Scope of the PUCT Request | PUCT Staff | 9:15 a.m. |
| 4. | - Brainstorm – File Structure and Data Exchange Format (see page 2 item 1) | T. Bates M. McCabe | 9:45 a.m. |
| 5. | Break |  | 10:30 a.m. |
| 6. | Brainstorm – File Structure and Data Exchange Format (cont.) | T. Bates M. McCabe | 10:45 a.m. |
|  | Lunch |  | 11:30 a.m. |
| 7. | Brainstorm – Frequency of Data Collection (see page 2 item 2) | T. Bates M. McCabe | 12:30 a.m. |
| 8. | - Brainstorm – Market Expectation for Data Granularity (see page 2 item 3) | T. Bates M. McCabe | 1:00 p.m. |
| 9. | Brainstorm – Market Expectation for Minimum Functionality (see page 2 item 4) | T. Bates M. McCabe | 2:00 p.m. |
| 10. | Break |  | 2:45 p.m. |
| 11. | - Brainstorm – Market Expectation for Minimum Functionality (cont.) | T. Bates M. McCabe | 3:00 p.m. |
| 12. | - Review Plans and Assignments for Next Meeting | T. Bates | 3:30 p.m. |
| 13. | Future COMET WG Meetings – IF NECCESSARY - May 15, 2006 (ERCOT MET Center) - May 25, 2006 (ERCOT MET Center) - June 8, 2006 (ERCOT MET Center) - June 19, 2006 (ERCOT MET Center) - June 29, 2006 (ERCOT MET Center) |  | 4:00 p.m. |

Commission Staff has requested some informal feedback from the market pertaining to project #31418 – Advanced Metering.

Future meetings will start at 9:30.

What are the benefits and obstacles to each of the discussion points below?  Each participant will research and provide feedback based on their companies perspectives.

- Provide input/recommendations on the file structure and data exchange format for metering information available from advanced metering networks.

  - Scope is limited to the file structure and data exchange format for information exchange outside of the current market transactions required to support ERCOT settlements.

    - Brainstorming for types of data transfer

      - Text files

      - CSV files

      - XML document format

      - EDI

    - Multi-speaking initiative –

      - uses xml document format

      - web services for data transfer

      - Customer access through internet to collected data

    - Should be an automated / dynamic transfer of data

    - Data exchange format should be uniform across the TDSP’s

    - Access to network/data should be uniform across the TDSP’s

      - This is about access to the usage by a third party

        - Reading the meter directly

        - Obtaining information “on demand” from the TDSP

    - Should there be more than one option?

    - Is the expectation that the data exchange is being established for the CR, a third party, the individual customer or a combination of the above?

  - Options to provide feedback on:

    - Assume the REP has access to the meter, similar to large customers where the REP currently has read access for IDR data.

      - Desire was expressed for on demand / real time access to the meter

        - Concern was raised that “most” systems currently utilize proprietary software to read meters

        - Option of requesting an on demand read from the meter through the TDSP.

        - Are there other software options to access on demand reads through some web based system into the proprietary systems?

        - Cost of real time access solutions?

        - Availability of technical solutions for real time access?

    - Assume that the TDSP is responsible for collecting this information from the network and the data will be made available to the market after it has been collected.

      - See discussion for question 1 above

    - Other?

      - Aggregators or other service providers the customer authorizes to have access

      - Will all geographic areas require the same functionality to support REP offerings

- Provide input/recommendations on the market expectations for the frequency of data collection from advanced metering networks. (hourly, daily, weekly, monthly)

  - Desire was expressed for on demand / real time access to the meter

    - Functionality capable for 15 minute interval data or current ERCOT settlement intervals as an option.  Not required for all customers but required upon request.

  - Costs associated with more granular data collection to all market participants

  - Costs associated with data storage to all market participants

  - Potential for basic cost of a minimum read frequency being supported by the “TDSP” and requests above this frequency would be at a charge to the requestor

  - Daily consumption reads at a minimum

  - Weekly reads with daily consumption

  - Monthly

- Provide input/recommendations on the market expectations for data granularity from advanced metering networks. (15 minute, , hourly, daily, weekly, monthly)

  - Information for REP billing

    - Current market

      - Support of TOU rates (functionality)

        - TOU buckets in the meter

      - Current ERCOT settlement interval

    - Future offerings (be specific in general terms)

      - Real time pricing

        - Critical peak pricing with dynamic TOU

      - Generator settlement intervals

      - Flexibility to change data granularity (maybe just for some customer level but not necessarily all customers)

        - from monthly data to settlement interval required for that customer

  - Information for ERCOT Settlements

    - Current market

      - Support of TOU rates (functionality)

    - Future market enhancements (be specific)

      - Weekly data submittals for settlements – requires Protocol changes

      - Flexibility to change data granularity (maybe just for some customer level but not necessarily all customers)

        - from monthly data to settlement interval required for that customer

      - Real time pricing

        - Critical peak pricing with dynamic TOU

      - Is there an impact to the interval data required for settlements of the nodal market? (is 5 minute interval data required for generation or loads) Current Nodal Protocols define the interval as 15 minutes for the IDR.

- Provide input/recommendations on the market expectations for the minimum functionality expected from advanced metering networks.

  - Basic advanced functionality for all metering points

    - Remote reads for billing metrics

    - Ability for reads more often that once a month – Discussion revolved around the following options

      - Daily

      - Weekly

      - On demand

      - Other

    - Outage detection

    - Tamper alarms

    - Security

    - What minimum level of data granularity will be needed for all metering points?

  - Optional advanced functionality based on request (is this for any or some?)

    - Is there an expectation that the advanced metering network provide price signals or other load control functions?  Two way communications to the customer?

    - Prepaid metering

    - Remote connect and disconnect

    - Power Quality

    - What level of data granularity will be available upon request?

  - Basic System requirements (do we need to designate this?) (ANSI C12.22 may address this issue)

    - Meter to ESI ID identification upon read

    - Security

  - Should minimum functionality be based upon the customer class? Other?

  - Will all geographic areas require the same functionality to support REP offerings?

  - Will the choice of granularity impact data submittals required by Protocols?

- Other / Parking Lot

  - If different technology solutions are deployed in different geographic areas, will there be a mechanism where a REP can query the TDSP system to determine what technology was deployed for a customer / geographical region?

  - Ability to change the read cycle for a service delivery point.