Load Participation
in the ERCOT Market

Financial Opportunities for

Reducing Electricity Load

An Introduction to ERCOT’s Load Reduction Programs 
and the ERCOT Protocols

Prepared by the Demand-Side Working Group

of the ERCOT Wholesale Market Subcommittee

ELECTRIC RELIABILITY COUNCIL OF TEXAS

REVISED

May 2006

Table of Contents

Executive Summary	2

The Value of Load Reductions	2

The Restructured Texas Electricity Market	2

Participation Checklist	4

Load Participation in ERCOT	5

Background	5

The ERCOT Markets	6

Participation as a Demand-Side Resource	7

Voluntary Load Participation	8

Balancing Up Loads (BULs)	10

Ancillary Services Markets	11

Out-of-Merit Energy (“OOME”) Service:	13

Day Ahead Processes	13

Scheduling & Settlement	16

ERCOT Scheduling Process	16

ERCOT Settlement Process	18

Scheduling and Settlement Example	19

Examples of Potential Payments	20

Frequently Asked Questions	21

An Overview of the Restructured Texas Electricity Market	24

Glossary of Market Participants	25

Details of Payment Examples	25

1.  Responsive Reserves – (RRS)	26

2.  Non-Spinning Reserves – (NSRS)	27

This document is intended as an introductory guide to the opportunities available to demand-side resources to participate in various ERCOT markets, and should not be treated as a comprehensive resource.  The ERCOT Protocols are continuously subject to change, and therefore may be more current than the information presented here.  If there is any variation between the information in this document and that contained in the Protocols, the Protocol language takes precedence.

Executive Summary

If you are a business or institution with the ability to curtail your electricity use (i.e., interrupt load), you can be paid for electricity not taken from the grid.

To participate, you must be willing to allow your supplier, on short notice, to reduce the amount of electricity being delivered.  You can accomplish this by consuming less electricity than was forecasted either by shutting down facilities, by tapping into on-site generation, or relying on alternative fuel capabilities if they are available.

If you have this ability…

Your Load May Have Value — and Profit Potential!

- The Value of Load Reductions

Wholesale electricity market prices fluctuate based on simple rules of supply and demand—that is, the relationship between the level of demand being placed on the grid at any time, and the generation resources (supply) available to meet that demand.  During periods of extreme peak demand, such as hot summer days, wholesale prices often reach many multiples of their off-peak levels.  Even during milder weather when demand is lower, premium prices are often paid for available resources because many generation plants choose these times to shut down temporarily for maintenance.  (The “Examples of Potential Payments” section of this document, uses actual market prices from late April 2002.  A likely cause of this price volatility was unseasonably hot weather through most of the state when many generating plants were shut down for maintenance.)

In today’s market, a reduction in load is considered a form of available energy, with a value equivalent to that of an increase in generation from a power plant.  Thus, during these periods, payments for load reductions are equal, dollar for dollar, to that which generating companies are paid for bringing additional power on line.

- The Restructured Texas Electricity Market

The ERCOT electricity market is primarily a “bilateral” market, meaning that market participants are required to arrange to meet their anticipated electric energy needs through the use of bilateral contracts.  In other words, load serving entities including Retail Electric Providers (REPs) usually procure enough electrical power through private contracts with suppliers to meet the needs of their customers.  ERCOT retail entities do not have access to a large “pool” of resources from which they can choose to acquire resources and assign a portion of their load responsibilities. This structure makes ERCOT different from pool-type markets in other regions, notably California, New York, and Pennsylvania-New Jersey-Maryland (PJM).  In these markets, a significant amount of wholesale energy is purchased at open auctions where buyers and sellers reach agreements in both day-ahead and same-day environments.

Any market—bilateral or pool-type—must be responsive to factors such as transmission line congestion or unplanned variations in available power such as generation plant outages.  To ensure system reliability, all markets include mechanisms for acquiring or reallocating resources to ensure a stable supply of power.  Resources (whether generation increases or load reductions) that are acquired in these situations are typically paid a price determined by available supply and demand—thus resulting in a market price.  In ERCOT these market prices are established using the market rules described in the ERCOT protocols. How loads can participate in this market is described in this document.

In the ERCOT market, market participants known as Qualified Scheduling Entities (QSEs) have the responsibility for matching load requirements and generation capabilities, and must schedule their energy obligations on a daily basis (see Figure 1). Schedules are submitted a day in advance showing a balance between generation and load for each 15-minute interval of the following day.  Adjustments to these schedules are allowed up to one hour prior to actual deployment. For each of the ninety-six 15-minute intervals covering the 24-hour period, the participant is required to have acquired electric energy from a supplier to exactly match the scheduled load for that interval—a “balanced” schedule of load and resources.

Under ERCOT’s market structure, Retail Electric Providers (REPs), must contract with a QSE to provide scheduling services for its load customers.  REPs may be the same company as the QSE, and thus contract for energy supply through direct agreements with generators. These bilateral contracts are confidential, so the prices paid for the overwhelming majority of energy on the ERCOT market are not available to other parties.

An important aspect of the bilateral market is that all participation in ERCOT’s Load Reduction Programs must be contracted through the customer’s REP or a QSE.  QSEs are the only entities permitted to perform scheduling and settlement services with ERCOT.  So while participating loads must be registered with ERCOT and are subject to testing administered by ERCOT, any actual participation in the market must be conducted through a single REP or a QSE under contract with the customer.  There is no explicit prohibition in the market rules on a customer purchasing power through one REP and offering a Resource’s capacity to an ERCOT market through another REP or QSE.  However, a customer should check its contract with its REP to ensure that there is no prohibition on working with a second REP or QSE to provide a Resource.  Any payments from ERCOT for load reductions are made to the QSE and, therefore, any customer reimbursement for a load reduction event is subject to the terms of the customer’s contract with its REP.  This underscores the importance of an informed working relationship between the customer and its REP and QSE.

Figure 1 – ERCOT Market Overview

Participation Checklist

Here is a checklist of criteria to help you determine whether participation through your REP is appropriate or advisable for your company or facility:

	Your facility’s interruptible load must be greater than 1 megawatt.  If your facility’s interruptible load is under 1 megawatt you must aggregate your load with other loads to reach ERCOT’s 1 megawatt minimum.

	Your facility must have Interval Data Recorder metering.  For some programs, your facility will also be required to have telemetry—a real-time direct communication from your Load to ERCOT.

	You must have the ability to deliver the load reduction on short notice.

	For some programs, you must register as an available Resource with ERCOT, and your facility must be made available for testing prior to actual participation. For others, you need only contract with your REP.

	You must contract with either your Retail Electric Provider (REP) or a Qualified Scheduling Entity (QSE) to represent your available load to the system.  A QSE is the entity that provides scheduling and balancing services to ERCOT.  In many cases, your REP and QSE are the same company.

	You must be able to maintain the load reduction for at least 15 minutes, up to a period determined by your QSEs bid, or by the need of the electrical system.

If this sounds like a program your company may desire to participate in, the following pages offer an overview of the ERCOT market and additional information about the financial opportunities available to customers for reducing their loads.  A list of detailed Frequently Asked Questions appears at the end of the document.  For any prospective load participant, familiarity with the details of the Texas market design and the ERCOT protocols is strongly recommended.

### Load Participation in ERCOT

- Background

Historically, utilities in the Electric Reliability Council of Texas (ERCOT) relied on over 4,000 megawatts of interruptible and curtailable load, group load curtailment programs, residential direct load control programs, thermal energy storage systems, and other “demand-side resources” to maintain reliability and meet the system’s resource needs.  In the restructured market, the Public Utility Commission of Texas has established a goal to “ensure not only that the load resources that have historically participated in the markets have reasonable opportunities to continue to participate, but also that a framework is established for even greater participation by load resources in the future.”  Participation by loads in the restructured ERCOT market is viewed as a means of enhancing competition in those markets, mitigating unwarranted price spikes, encouraging the demand side of the market to respond better to wholesale price signals, and preserving system reliability.

While state mandates and incentives for interruptible tariffs have been discontinued, customers may still negotiate contracts for these special rates with their suppliers.  However, new market-based financial incentives for reducing load are now also available.  Qualifying customers cannot only save money by making themselves available to reduce their load, but also earn money.  Interruptible customers today are considered not merely a load to be removed from the system, but a resource to the system comparable to a generating plant.

Providing a demand-side resource is more complicated than signing up for a special tariff or utility program.  Generally, demand-side resources must be tested and registered, and then included in ancillary services plans or offered to a market.  The value of a resource is largely determined by market conditions.  Perhaps most importantly, compensation for being voluntarily interrupted is subject to contractual arrangements between the customer and its Retail Electric Provider (REP).  Providing a demand-side resource into this market requires knowledge of the Texas electric market structure, scheduling and settlement processes, and the requirements associated with participating in various markets.

The purpose of this document is to provide additional background and supporting data to load entities, who are interested in determining their eligibility for the load reduction programs in the deregulated Texas electricity market.  This guide will provide an overview of the organization and operation of the ERCOT market.  It provides the basic information necessary for load entities to understand how the ERCOT market operations can affect their daily activities and processes, and provides an overview of the opportunities, rules and risks of actively participating in some of the ERCOT ancillary services markets.  This guide is intended only to provide an overview of the ERCOT Protocols.  For additional information, the reader should refer to the Protocols themselves, which may be found on the ERCOT website at: http://www.ercot.com/mktrules/protocols/current.html.

- The ERCOT Markets

The primary role of ERCOT under restructuring is to maintain reliability of the ERCOT electricity grid, including operation of the ERCOT system as one control area.  ERCOT serves as the Independent System Operator (“ISO”) and is charged with maintaining a precise balance between load and generation on a second-by-second basis.

To assist market participants in meeting that portion of their balanced-schedule requirement that cannot be accurately accommodated through bilateral contracts, ERCOT administers various programs or spot markets:

- Ancillary Services (“AS”), defined in the ERCOT Protocols (Section 2) as “Those services…necessary to support the transmission of energy from Resources to Loads while maintaining reliable operation of transmission provider’s transmission systems in accordance with Good Utility Practice.” ERCOT requires REPs to carry a specified level of operating reserves—the ability to call up additional resources, whether generation increases or load reductions, on varying levels of short notice.  These operating reserves serve as "insurance" in case a generating unit goes down, load is higher than anticipated, or another problem emerges.  Most such reserves can be self-arranged.  If a REP doesn't self-arrange all its reserves, then ERCOT will purchase the necessary reserves on the REP’s behalf by operating a day-ahead market for the various Ancillary Services programs.  Currently there are eleven AS programs in place, five of which are available for participation by loads (more detail is provided in the following pages).  In the AS markets, a QSE can bid in any resources (generation or operating reserves) that aren't already committed.

- The Balancing Energy Market, a special type of AS, is a “thin” balancing pool of energy that allows market participants to acquire additional resources that may be necessary to correct imbalances between generation and load.  ERCOT looks at the balance between supply and demand approximately 30 minutes prior to each 15-minute interval.  If a general shortage of generation is anticipated, then ERCOT will operate a market to buy additional "balancing energy" on behalf of the market.  During the settlement process, ERCOT will determine which REPs were actually short, and thus who should pay for the balancing energy.  REPs cannot self-arrange balancing energy, but they do have the ability to adjust their plans if they think they might be short of generation and don't want ERCOT buying it on their behalf.

ERCOT also provides data collection and billing services for settlement quality data of bi-lateral contracts at the QSE level, including actual load data (through metering and profiling services) and generation production.  ERCOT is also responsible for collection of certain market information that will be made available to the public.

## Demand-Side Participation

The ERCOT market was explicitly designed with a number of features to reward energy consumers that are willing to curtail load as a way of helping maintain system reliability.  These “demand-side resources,” or loads, are encouraged to make their resources available by responding to wholesale price signals.  Actual dollar values to be paid for these resources are established in the form of Market Clearing Prices, which are based on bid processes in various ERCOT-operated markets described below.  The Market Clearing Price for Capacity (MCPC) expressed in dollars per megawatt per hour represents the price paid for making a capacity resource (load reduction or generation increase) available to the system.  The Market Clearing Price for Energy (MCPE) expressed in dollars per megawatt-hour represents the price paid for actual deployment of a resource’s energy (load reduction or generation increase).  When the ERCOT markets are operating, demand resources (reductions in load) have the same dollar value as generation resources (increases in generation).

There are three basic types of load resources, or demand-side resources, in the ERCOT market, as summarized in Table 1 and detailed below.

#### Table 1: Demand-Side Resources in ERCOT

| Resource Type | Resource or Service that can be Provided | Requirements |
| --- | --- | --- |
| Voluntary Load Response | Curtailment or reduction in response to Market Price or other factors | - Metering and/or curtailment technology defined in REP contract |
| Qualified Balancing Up Load (BUL) | Balancing-Up Load (associated with the Balancing Energy Market) | - IDR meter - Qualification |
| Load Acting as a Resource (LaaR) | Various ERCOT Ancillary Services (AS) | - IDR meter - Telemetry - Qualification |

## Voluntary Load Response

Voluntary load response refers to a customer’s independent decision to reduce consumption from its scheduled or anticipated level in response to price signals.  Voluntary response applies to situations where the customer has not formally offered this response to the market as a LaaR or BUL.  This practice has also been known as “passive load response” and sometimes as “self-directed load response.”  For purposes of this document, these customers will be referred to as “Voluntary Loads.”

Like LaaRs and BULs, Voluntary Loads stand to gain financially from the ERCOT markets—over and above the savings they may enjoy on their electric bills from reducing consumption when prices are high.  Also like LaaRs and BULs, a Voluntary Load’s ability to receive extra financial compensation depends entirely on its contractual relationship with its REP (and QSE).

Voluntary Loads’ most obvious opportunity would be to benefit financially during periods when the Market Clearing Price of Energy (MCPE) is high, based on the dynamics of supply and demand.  In another example, a Voluntary Load may be able to help if its QSE has arranged a schedule resulting in congestion in the transmission system; the load reduction may help the QSE avoid penalties by reducing its scheduled demand in congested areas.  A load reduction could allow the customer’s REP to benefit by selling the customer’s scheduled power to another facility willing to pay higher prices to ensure service.  There may be other scenarios where a Voluntary Load could find it mutually beneficial to coordinate a response to high prices with its REP.  In any of these cases, the customer will receive the full value from its load reduction only if it has negotiated a favorable REP contract.

As discussed in the Market Overview section, schedules for loads and generators are submitted to the ERCOT market by QSEs.  If a QSE’s actual load level turns out to be lower than its scheduled load level during any given 15-minute interval, the QSE may be entitled to a payment or credit for load imbalances.  This payment is calculated by multiplying the energy imbalance times the Market Clearing Price for Energy (MCPE).  Voluntary Loads can reduce consumption in order to contribute to such positive energy imbalances, and thus trigger market payments to their QSEs.  Depending on its REP contract, this behavior may make the load eligible for financial incentives such as reduced rates, rebates, or pass-through payments.  The manner in which any bill credits, payments from the market, or transmission cost savings are shared among responsive customers, their REPs, and their scheduling entities is a contractual matter among these market participants.

For customers, the primary differences between voluntary load reductions and LaaR and BUL participation are as follows:

- Any advanced metering, communication, or curtailment infrastructure required for the load to participate is purely a contractual matter between the load and its REP, and does not involve ERCOT;

- The QSE (and thus, REP) are reimbursed by ERCOT only for the energy imbalance and do not receive capacity payments;

- Because the load is not recognized by ERCOT as a resource, it is not subject to being curtailed involuntarily during emergency situations (the only exception would be an emergency affecting all customers in the area).

Any customer can become a Voluntary Load or can participate as part of a voluntary load curtailment group.  A commercial or industrial Voluntary Load would likely possess the technology to receive time-variant electricity prices from its provider, and the technological or human resources to monitor those prices and respond to them.

Similarly, groups or aggregations of small commercial or residential consumers who are contracted to receive their electricity through variable-rate pricing plans may also participate.  Individual small customer loads are too small to impact a QSE’s schedule, and thus are unlikely to be eligible for Voluntary Load incentives unless they are part of a group plan administered by a REP or Aggregator.

Voluntary Loads may receive price signals from their REPs in the form of time-variant rate offerings.  Time-variant pricing reduces or even eliminates the “insurance premium” that most customers pay for the luxury of purchasing power at flat rates 24 hours per day.  For some customers, the price paid to ensure a flat rate may be higher than average real-time market prices.  Savings opportunities from curtailments or load shifts may become evident to many customers only when they are made aware of their detailed consumption patterns (load shape) through access to advanced meter data.  Access to such data in turn may also allow customers to negotiate more favorable electricity rates with their suppliers.  Some of the more notable types of time-variant pricing plans include:

- Time of Use (TOU) rates, involving set prices during predetermined hours of the day, that reward shifts in consumption away from high-priced peak periods.

- Critical Peak Pricing (CPP), in which everyday rates are lowered in exchange for the customer’s exposure to much higher prices during certain peak periods.  These critical peaks are typically accompanied by advance notice, and are often limited to a maximum number of hours per year.

- Real-Time Pricing (RTP) or its variations known as Hourly Variable Pricing or Variable Energy Pricing.  Under these rates, customers agree to pay electricity rates that track actual market prices at all hours.

- Direct Load Control (DLC), typically involving groups of small customers who pay lower rates or obtain rebates in exchange for making themselves available for direct curtailment by the REP or system operator during price spikes.  (Note:  DLC programs may also be eligible for participation in the BUL market.)

- Rate plans may involve combinations of two or more of the above features.

Over the past several years, a convergence of technology and economics has yielded innovative combinations of pricing plans and software and hardware applications.  Matching rate offerings with energy-saving or load curtailment technologies can help loads take advantage of the price incentives in their rate plans, while mitigating the challenges of responding and minimizing disruption of their business operations or lifestyles.  Customers through their relationships with their REPs or other independent energy service providers can explore these combinations of rate plans and technologies.

Depending on the type of rate plan and the specific features of its REP contract, a Voluntary Load may receive changing price information on a regular basis from its REP, or may arrange to monitor market prices itself.  In either instance, the customer would make an internal business decision regarding the factors that must be in place in order for it to be willing to curtail its electricity service from the grid.  For example, a load’s REP contract may rely exclusively on the Market Clearing Price in the Balancing Energy Market as the sole factor in determining whether to curtail.  Or, if the Voluntary Load is located in an area that is subject to frequent congestion charges, it may be able to factor into its REP contract the financial benefits of mitigating these additional costs to the system and its QSE.

Some other elements of Voluntary Load Response that customers should be aware of:

- Loads (and their QSEs) are not penalized if they fail to follow their schedules unless Replacement Reserve Service is purchased by ERCOT.  ERCOT procures Replacement Reserve when it determines that market participant schedules are inadequate to solve a forecasted capacity insufficiency, Zonal Congestion, or Local Congestion.

- A customer’s willingness to participate in Voluntary Load Response must take into account any other potentially conflicting features that may be part of its REP rate plan.  For example, some REP contracts include “bandwidth” provisions that can penalize customers if their demand drops below a predetermined level.

## Balancing Up Loads (BULs)

Loads that contract with a QSE to formally submit offers to ERCOT to provide balancing energy by reducing their electricity use are referred to as Balancing Up Loads (BULs).  BULs are paid only if they actually deploy (reduce energy use) in response to selection by ERCOT, but if deployed they receive two separate forms of compensation:

- They receive an energy payment for the actual load reduction delivered, based on the prevailing Market Clearing Price for Energy (MCPE) in the Balancing Energy Market.

- They may also receive a capacity payment based on the Market Clearing Price for Capacity (MCPC) in the Non-Spinning Reserves market (an Ancillary Services market described below).  This payment is an additional reward for BULs submitting bids into the balancing energy market, even though they are not actually providing non-spinning reserves.

- These payments are made to a load’s QSE who may pass the value on to its REP who may in turn pass the value along to the customer (load). Many variations in products offered by REPs are available and the load customer has choices on how it may receive value for its interruptible load.

To qualify for these payments, a QSE must register (Qualify) the load with ERCOT as a BUL, and make an offer to the ERCOT market.  The offer is placed according to its dollar value (per MWh) in the balancing energy “bid stack” along with other offers submitted by generation resources and other BULs. If it is selected from the bid stack, which is prioritized according to price, then the QSE will receive notification to deploy (reduce load) and will be eligible for the energy and capacity payments.  If it isn't selected by ERCOT, it isn't deployed (interrupted), and it won't receive any payment.

The BUL program opened in ERCOT in September 2003.  Additional information and application forms can be accessed through the following link:

http://www.ercot.com/services/programs/load/

## Ancillary Services Markets

ERCOT is responsible for developing a daily Ancillary Services (“AS”) Plan with sufficient AS to maintain the security and reliability of the ERCOT System consistent with ERCOT and North American Electric Reliability Council (NERC) standards. As discussed previously, ERCOT determines the amount of AS that each market participant is required to provide.  Each market participant may self-provide its AS or may elect to have all or a portion of its AS provided by ERCOT.  ERCOT will deploy the AS in order to maintain system reliability.

Customers with interruptible loads that can meet various performance requirements can be qualified to provide operating reserves under the Load Acting as a Resource (LaaR) program.  In the eligible AS markets, the value of a LaaR’s load reduction is equal to that of an increase in generation by a generating plant (MWh times MCPE).  Moreover, any provider of operating reserves selected through an ERCOT AS market is eligible for a capacity payment, regardless of whether the Resource is actually deployed (or curtailed, in the case of the LaaR).

ERCOT qualifies LaaRs to be able to provide AS based on the load’s available technology, as follows:

- Responsive Reserve: Requires that an Under Frequency Relay (UFR) be installed that opens the load feeder breaker on automatic detection of an under frequency condition. These loads are also required to be manually interrupted within a 10 minute notice. The load, breaker status, and relay status must have real-time telemetry to ERCOT (through the QSE) installed.  Loads qualified for the Responsive Reserve market are also automatically qualified for the Non-Spin market, Replacement and Balancing Energy Market.

- Non-Spin Reserve:  Requires that interruptible loads be manually interrupted (e.g., opening a circuit  breaker ) within 30 minutes notice. The load must also have real-time telemetry installed.

- Regulation Up and Down Service: Requires that interruptible loads through automatic controls respond to signals provided by ERCOT to increase and decrease load while meeting rigorous performance monitoring criteria.  The load must also have real-time telemetry installed.  Loads qualified for Regulation Up and Down service are also qualified to provide Non-Spinning Reserve, Balancing Energy Services, and Replacement Reserves. (ERCOT systems do not yet accommodate loads of this type)

- Balancing Energy Up:  Requires that loads be able to respond through manual or automatic operations to interrupt load within 10 minutes.  The load must also have real-time telemetry installed.  Loads qualifying for Balancing Energy Service are also qualified to provide Replacement service. If an interruptible load has been awarded an ancillary service capacity payment, that load may not be bid into the balancing energy market.

- Replacement Reserve Service: Loads that were planning to be on-line but not providing any other Ancillary Service.

All ERCOT Resources  (Generators and/or LaaRs) are susceptible to being deployed during system emergencies or when no other market solution exists to solve certain system operating problems. As such, Loads that are qualified to provide AS may be deployed as Out-of-Merit Energy Service.

- Out-of-Merit Energy (“OOME”) Service:

Energy from Resources (Generators and/or LaaRs) may also be purchased by its bid price because of a relatively urgent need for system energy or energy at a specific location.  Technically, this is a service whereby ERCOT procures energy from Resources that may or may not have provided bids.  It is used by ERCOT to provide Balancing Energy Service when no market solution exists for resolving congestion, or if required in declared emergencies as described in the ERCOT Protocols.  If provided by a QSE, it is the provision of incremental or decremental energy dispatched from a specific Resource in emergency operations by Settlement Interval in Real Time to meet the balancing needs of the ERCOT System when no Market Solution exists or in declared emergencies.*

*OOME is a service that are used by ERCOT to solve local congestion problems or to address emergencies.  By registering for the LaaR program, customers agree to make their loads available for curtailment in these situations.  Compensation for being deployed in these instances is determined by a special formula tariff that is established in advance.

- Day Ahead Processes

Each QSE may arrange bilaterally for AS or may have ERCOT make the arrangements through a market (i.e., an auction) administered by ERCOT.  ERCOT holds auctions on a daily basis for each of the following AS:

  - Balancing Energy

  - Regulation Up

  - Regulation Down

  - Responsive Reserve

  - Non-Spinning Reserve

In addition, ERCOT may also conduct an auction for Replacement Reserve Service ERCOT requires Replacement Reserve Service on an as needed basis.

Table 2 summarizes the different Ancillary Services available for participation by loads:

- Table 2: Ancillary Services

| Type of Service | Down Reg | Up Reg | Resp Res | Non Spin | Replacement | Up BES | OOME |
| --- | --- | --- | --- | --- | --- | --- | --- |
| System Response to instruction: | Must be on AGC | Must be on AGC | AGC or Relay action | Resp w/in 30min | Response as bid | Response w/in 10min |  |
| Generation Resources | X | X | X | X | X | X | X |
| Load with Under frequency relay installed and capable of being deployed within 10 minute notice |  |  | X | X | X | X | X |
| Load with real time telemetry and that can be deployed within 30 minute notice |  |  |  | X |  |  | X |
| Balancing Up Load (BUL) |  |  |  |  |  | X |  |

Loads that agree to be interrupted when directed by ERCOT via their QSE (and that meet other metering and operational requirements as specified in the ERCOT Protocols) may participate in AS market auctions described above.  As noted in Table 2, the type of ancillary service that a LaaR may provide will depend upon the load’s response time and metering system, as well as other requirements described in the Protocols.  In the Responsive Reserve and Non-Spin Reserve markets, the QSE will receive capacity payments regardless of whether or not the load was actually interrupted, but the load must be available to be interrupted at any time while providing the Ancillary Service.

#### Table 3:  Demand-Side Participation in ERCOT

| Service | Metering | Used by | Participation Basis for Payment | Markets Payment Determination | Time to Curtail/ Interrupt |
| --- | --- | --- | --- | --- | --- |
| Responsive Reserves | Telemetry& IDR settlement metering | Market Participant or ERCOT | Being available to be interrupted | Market clearing capacity price in Responsive Reserve Market and energy when deployed | Instantaneously or within 10 minutes if manually deployed |
| Non-Spinning Reserves | Telemetry& IDR settlement metering | Market Participant or ERCOT | Being available to be interrupted | Market clearing capacity price in Non-Spinning Reserve Market and energy when deployed | Within 30 minutes of Interruption |
| Replacement Reserves | Telemetry& IDR settlement metering | Market Participant or ERCOT | Being available to be interrupted | Market clearing capacity price in Replacement Market and energy when deployed | Must bid and respond in Balancing Energy Market |
| Balancing Energy Markets | Telemetry& IDR settlement metering | ERCOT | Actual deployment | Market-clearing balancing energy price | Within 10 minutes of instruction |
| BUL | IDR settlement metering | ERCOT | Actual deployment | Market-clearing balancing energy price, plus prevailing price in Non-Spinning Reserve Market | Within 10 minutes instruction for a full payment; within 70 minutes for a partial payment. |
| Voluntary Load Response | Contractual with REP | REP | Actual deployment | Market-clearing balancing energy price | Contractual with REP |
| OOME | Telemetry | ERCOT | Actual deployment | Compensation based on formulas for OOME | Within 10 minutes of instruction |

For additional details regarding Ancillary Services, refer to Section 6 of the ERCOT Protocols.

# Scheduling & Settlement

- ERCOT Scheduling Process

As shown below, the ERCOT scheduling process considers three different time periods, the Day Ahead Market period, the Adjustment period and the Operating period.

No adjustments are made during the Operating Period.

Expressed another way:

Adjustment Period

No

Adjustments

Operating

Hour

Operating Period

1 Hr.

Day Ahead Market

06:00    18:00

The following timeline describes the Day Ahead Market scheduling process (from a QSE perspective):

06:00	Market Open – data posted by ERCOT will include: updated transmission system information, load forecasts (by congestion zone and total ERCOT), AS Plan, AS responsibility for each QSE, mandatory decremental Balancing Energy Service bid percentage requirements and transmission and distribution loss factors.

11:00	Submit balanced energy schedule of obligations (i.e., load) and resources.

11:15		Resubmit corrected updated schedules.

13:00	Update balanced energy schedule of obligations and resources; update self-arranged AS schedule; provide AS bids for ERCOT AS market.

13:15		Resubmit final corrected updated schedules.

13:30		ERCOT procures AS needed to complete its Day Ahead AS Plan

15:00	Submit updated AS schedule that includes self-arranged and AS bids selected by ERCOT.

16:00	Submit Resource Plan with non-binding unit-specific information; submit Replacement Reserve Service bids.

18:00		Day Ahead Market closed by ERCOT.

After 18:00	Modify Replacement Reserve Service bids (if necessary)

Once the Day Ahead Market is closed, then QSEs may continue to modify their schedules during the Adjustment Period as shown below (where T=the start of the Operating Hour):

T-60 min.	Submit:

- updated Balanced Schedule of obligation (i.e., load) and supply for hour beginning at time T and any hour after time T;

- bids for Balancing Energy including any mandatory decremental Balancing Energy bids;

- self-arranged AS schedule for the hour beginning at time T and any hour after time T;

- TCRs, if any, for the hour beginning at time T and any hour after time T;

- updates of the Resource Plan;

- bids for Replacement Reserve Service;

- bids for additional AS; and

- bids for incremental and decremental resource-specific premiums.

T-45 min.	Resubmit corrected schedules.

One hour prior to the Operating Hour, no more adjustments are allowed.

For additional information related to scheduling, refer to Section 4 of the ERCOT Protocols.

## ERCOT Settlement Process

The ERCOT Settlement process is used to receive funds and send payments to QSEs who participated in the market during any given settlement interval. The Settlement process takes into account administrative and miscellaneous fees as well as the cost of transmitting the electricity around the state.

ERCOT will produce daily settlement statements reflecting a breakdown of market charges for hourly and other settlement interval (i.e., 15 minute) market services, monthly charges and any annual charges applicable to each Operating Day. The ERCOT Settlement Statement timeline is:

Day 0			Energy Consumed during Operating Day

Day 17			Initial Statement for Day 0 is issued by ERCOT.

Day 59		Final Statement for Day 0 is issued by ERCOT.

Day 0 + 6 Months	True-Up Statement for Day 0 is issued by ERCOT.

Any dispute pertaining to settlement information must be raised by the QSE with ERCOT within ten days of the issuance of a Statement for the appropriate Operating Day.  If such a dispute is found to be valid by ERCOT, it will issue a Resettlement Statement within 21 business days of the issuance of the True-Up Statement.

For additional information pertaining to settlements and invoicing, please refer to Section 9 of the ERCOT Protocols.

## Scheduling and Settlement Example

In order to better understand the ERCOT scheduling and settlement processes, consider the following simple example (data shown for a single settlement interval).

G2

G1

R1

R2

175 MW

55 MW

25 MW

45 MW

Here, Retailer 1 (“R1”) buys 25 MW from Generator 1 (“G1”) and 175 MW from Generator 2 (“G2”) under bilateral contracts to meet its estimated load of 200 MW (i.e., 200 MW of generation balanced by 200 MW of load).  Retailer 2 (“R2”) buys 45 MW from G1 and 55 MW from G2 under bilateral contracts to meet its estimated load of 100 MW.  This information represents the Day Ahead schedule, adjusted as necessary during the Adjustment Period.

Now, in real-time, assume that the following occurred:

Actual production of G1 was 105 MW and G2 was 200 MW (a total of 305 MW of generation during the settlement interval).  Actual load requirement of R1 was 195 MW and R2 was 110 MW (a total of 305 MW of load during the settlement interval).  Market Clearing Price of Energy (“MCPE”) for the settlement interval was $25/MW

Based on the above, the following amounts the QSEs representing the generators and retailers would be settled and invoiced as appropriate:

- R1 pays G1 for 25 MW and G2 for 175 MW as called for under the terms of the bilateral contracts between R1 and G1 and G2.

- R2 pays G1 for 45 MW and G2 for 55 MW as called for under the terms of the bilateral contracts between R2 and G1 and G2.

- The Balancing Market (i.e., ERCOT) pays R1 $125 (5 MW x $25/MW) because its load was 5 MW less than scheduled.

- The Balancing Market pays G1 $875 (35 MW x $25/MW) because it generated 35 MW more than scheduled.

- The Balancing Market is paid $250 (10 MW x $25/MW) by R2 because its load was 10 MW more than scheduled.

- The Balancing Market is paid $750 (30 MW x $25/MW) by G2 because it generated 30 MW less than scheduled.

Thus, for this settlement interval, the Balancing Market (i.e., ERCOT) is balanced ($125 +$875) = $1,000 = ($250 + $750).

- Examples of Potential Payments

Here are some examples of potential earnings using actual market conditions (assuming that 100% of the value paid the Qualified Scheduling Entity (QSE) and subsequently made available to the Retail Electric Provider (REP) who could provide value to the end-use customer):

During the period of April 28-30, 2002, wholesale electricity prices in Texas spiked dramatically.  For comparison purposes, typical off-peak wholesale electricity prices during these periods were under $5 per megawatt-hour (MWh).

- On April 28, the Market Clearing Price for Capacity (MCPC) in the Responsive Reserves Market reached $833 for a one-hour period.  The price stayed above $75 for a full eight hours on April 29,and above $60 for 10 hours on April 30.  A customer with 20 MW of load with an ability to withstand interruptions via automatic relay trip could have earned up to $54,396 (depending upon its relationship with its electricity provider) for making its load available for curtailment in the Responsive Reserves market during this volatile 72-hour period.  It would have earned this money as a capacity payment—even if its electricity service were never actually curtailed.

- The MCPC in the Non-Spinning Reserves market (a different market) reached $999 for one hour on April 29, and stayed above $990 for a full 12 hours on April 30.  Under this program, a customer with 20MW of interruptible load could have earned a capacity payment of up to $286,662 (again, depending upon its relationship with its electricity provider) from the Non-Spinning Reserves market for making its load available for interruption (with up to 30 minutes of prior notice) during the full three-day period.

- The Balancing Energy Market (MCPE) price for electricity stayed between $44 and $53 for over four hours on April 28, and between $42 and $54 for over three hours on April 29.  If a 20 MW customer had interrupted its load for two hours (3-5 p.m.) on April 28, it would have earned a combined energy payment of $13,457 from the Balancing Market, assuming that it was selected and deployed by ERCOT.

These examples occurred in an immature market due to temporary shortages of generation capacity and energy. Future prices and benefits to load customers is a function of future market prices. History may not be a suitable predictor of the future price.

As was previously explained, under the ERCOT system customers do not earn the payments directly.  Payments are made to the QSE, and the customer’s reimbursement is subject to the terms of its contract with its REP.

# Frequently Asked Questions

Q.	How do I register with ERCOT as a LaaR or BUL?

A.	To participate as a LaaR you must register as a Resource entity, and then as a LaaR asset.   To register as a Resource entity you will need to complete the Resource Registration Form and to register the LaaR asset you must complete the Resource: Load acting as a Resource Asset Registration Form. A BUL must register each ESI ID which makes up the BUL portfolio by completing the Resource: BUL Registration form. Each of these forms are located on the ERCOT website as follows:

http://www.ercot.com/services/programs/load/laar/index.html

Q.	What level of compensation (dollars times kWh) makes it worthwhile or profitable for me to reduce the load?

A.	This is the key business decision you must make internally.  Only you know the financial impact of shutting off electricity to some or all of your operations, and the cost of restarting operations.  If you plan to use electricity generated on site to replace power from the grid, you should factor those costs into your decision.  Some REPs may offer you the ability to set the minimum price you will accept to have your load interrupted.  The REP may notify you a day in advance what the projected market price will be and whether you are likely to be notified to curtail.  Other REPs may offer other variations of products where you receive a discount off your bill for giving your REP the right to count on you to interrupt your load at their request for a specified number of hours and events during the hot summer.  Your REP could offer you the ability to decide a day in advance whether to participate. Except for rare emergency situations, your interruption schedule is something that can be negotiated between you and your REP.

Q.	Can I “aggregate” a number of small residential and commercial loads that can be interrupted, and offer this aggregated resource into the market as an ancillary service or a BUL?

A.	Yes, but there are some complications.  First, ERCOT will only recognize a resource of at least 1 MW.    Also, an offer to provide a LaaR or BUL resource should be submitted by the same scheduling entity (QSE) that is used to schedule the generation purchased by the customer.  If the scheduling entity that was used to offer a resource to the market differs from the scheduling entity used to schedule power for the load, then the scheduling and settlements processes might become unworkably complicated.  Finally, keep in mind that LaaRs require telemetry, which may be prohibitively expensive for smaller loads.

Q.	Can I “directly” offer a demand-side resource to the market?

A.	No.  Only a QSE can schedule a resource or offer a resource to an ERCOT market.  (You could become a QSE, but that can be a very expensive proposition.)  As noted earlier, your REP already has a QSE.  Your success in these load reduction programs will require you to have an informed working relationship with your REP, and the terms of your participation in these programs should be clearly spelled out in your REP contract.

Q.	My industrial load can be interrupted.  The REP that I’m negotiating with doesn’t have a standard contract to provide interruptible service, but is willing to negotiate with me.  What do I need to do?

A.	Make sure this REP understands your degree of flexibility or ability to endure interruptions and knows how to value these attributes.  The manner in which any bill credits, payments from the market, or cost savings are shared among consumers, and their REP, and the QSE scheduling the power is a contractual matter among these parties.  Your contract with the REP must clearly describe how any payments or credits will be shared.

Q.	My electricity use at my industrial facility may be interrupted once or twice a year, provided I have 30 minutes notice.  But I don’t want to endure too many interruptions.  Should I participate as a LaaR?

A.	Sure.  You might consider offering a non-spinning reserve ancillary service.  Your QSE can control the bid price at which your load would be made available as a capacity resource to ERCOT.  The higher the price, the less likely you will be selected to provide the service, and the less likely you will actually be called on to be interrupted.  And if there are times when you do not wish to be interrupted, you may notify your QSE and choose not to participate in the market.

Q.	How long will the interruption typically last, and how will I know when to restore my load to the grid?

A.	The minimum period of interruption is 15 minutes, but there is no “typical” period of interruption.  The maximum time is determined by the need of the electric system for the resource you have offered, or the time you have established as your stated availability, whichever is more.

Q.	Under what circumstances would I get paid without having to actually interrupt my load?

A.	Some of the Ancillary Services programs available to LaaRs offer capacity payments.  This means that if your bid is accepted, you’ll receive some compensation simply for making your load available, even if you are not notified to deliver the actual reduction.

Q.	What happens if I can’t deliver the full load reduction I contracted for?

A.	This is a contract issue between you and your REP/QSE.  Remember, your QSE is the entity that actually interfaces with the ERCOT markets, and your performance can affect your QSE’s ability to meet its scheduling obligations.  ERCOT compensates QSEs only for the actual resources provided.  So, if you under-deliver a load reduction, it could result in your QSE having to pay into the market to correct the resulting schedule imbalance and be in violation of the performance standard defined in the protocols.

Q.	Do I receive extra payments if I deliver more of a load reduction than I contracted for?

A.	Your QSE does stand to benefit from the market by providing extra resources, so that makes this another contract issue between you and your REP/QSE

Q.	Can I use my backup generators to keep my plant running during a LaaR or BUL curtailment?

A.	If you are going to use a backup power source (e.g., diesel generators) at any time other than an emergency (blackout or brownout) situation, you must obtain an Air Quality Standard Permit for Electricity Generating Units from the Texas Natural Resource Conservation Commission (TNRCC).  For some industrial customers, you may be able to include the increased emissions from your generators in your facility’s overall emissions limits, if you can show reduced emissions from other sources.

Q.	I’m interested in providing a BUL resource.  How is the “baseline” set?  That is, how will ERCOT measure the amount of my demand reduction?

A.	Any energy payment or credit is simply based on the difference between actual and baseline energy use, times the balancing energy price.  (This assumes that your QSE can separately settle your load from the other loads it is scheduling.)  The baseline approach for calculating the BUL capacity payment is based on historical data—a 10-day average of actual metered load for similar days (weekends or weekdays, ignoring hours when previous curtailments were requested) prior to the deployment or curtailment.  The baseline is adjusted to actual load in the two hours prior to notice, to reflect temperature sensitive load and to address gaming concerns.  This is similar to the approach used in demand response programs in other regions of the U.S.

Q.	How do I determine what value my “interruptibility” has in this new market?

A.	The value of an energy consumer’s interpretability depends on at least three factors:

- How quickly you can respond to an interruption request (this determines which services you can provide);

- The cost at which you are willing to interrupt service; and

- The market conditions for that particular service.

Market clearing prices and quantities procured by ERCOT are posted on the ERCOT web site at http://www.ercot.com/ercotPublicWeb/PublicMarketInformation/MCP/MarketClearingPrices.htm.

Q.	I want to make sure I’m getting the best value for my load interruption.  How will I know in advance which of the various ERCOT markets will pay the best price?

A.	Keeping in mind that the flexibility of your facility dictates which of the markets you can bid into, you can bid simultaneously into different markets.  You can only be selected to provide one. Under a new process called “simultaneous combinatorial auction,” QSEs may bid in all markets and ERCOT will determine where the load resources would have the most value.

- An Overview of the Restructured Texas Electricity Market

Familiarity with the following terms and facts will help you to navigate through the new ERCOT programs.

The TEXAS LEGISLATURE restructured the wholesale electric power market in 1995.  Four years later, the legislature passed Senate Bill 7 (SB7), which was signed into law by then-Gov. George W. Bush, opening most of the state to retail electricity competition effective Jan. 1, 2002.  This law currently affects approximately 70 percent of Texas electricity customers.  The exceptions are customers served by the following entities:

- Municipally-owned utilities such as those serving Austin and San Antonio*;

- Electric cooperatives*;

- El Paso Electric, Entergy/Gulf States, Mutual Energy–SWEPCO, and Southwestern Public Service Company (SPS).  These are investor-owned utilities with service areas that are not administered by ERCOT.**

*Municipals and co-ops have the ability to “opt in” to competition at any time.  Thus far none have opted in.

**Competition in these service areas has been postponed until a future date.

Prior to deregulation, the Public Utility Commission of Texas (PUCT) helped to ensure system reliability by requiring utilities to offer special tariffs to those customers who had “interruptible” loads.  In exchange for these reduced rates, interruptible customers agreed to allow their utility to curtail electricity service on short notice during periods of extreme peak demand.  In the restructured market, the LaaR and BUL load reduction programs operated by ERCOT are replacing these rates.  The PUCT retains some regulatory authority over market participants, but no longer has the power to mandate rates or programs designed to achieve peak load reductions.

The Electric Reliability Council of Texas (ERCOT), a non-profit corporation, is the Independent System Operator (ISO) formed to ensure the reliability of the electricity grid.  ERCOT’s primary responsibility is to maintain the reliability of the electric grid by ensuring a precise balance between load and generation throughout its service area on a second-by-second basis.  In this role, ERCOT administers and facilitates the Texas market rules as set forth in the Protocols and Operating Guides.  ERCOT Inc. handles the interface with the North American Reliability Council, reporting, and Operating Authority requirements.  ERCOT Inc. does not set market rules, nor does it create or inhibit market opportunities, though it does establish and enforce grid performance associated with reliability issues.

The ERCOT region covers about 85 percent of Texas, including all areas that are open to retail competitive choice.  (The El Paso area and portions of the Panhandle and East Texas are not connected to the ERCOT grid).

Zones are set based on the current arrangement of resources, loads, and power pathways within the ERCOT bulk power transmission system, with the final determinant being the associated transmission constraints that may exist between zones.  All loads and generating units are assigned to a zone by ERCOT.  Participation in the market may result due to needing power at a specific location in one of these zones.  These zones may change annually.

Under SB7, which amended the Texas Public Utility Regulatory Act (PURA), the state’s former vertically-integrated utilities were required to restructure in such a way that separates their generation assets and retail operations from their core business of transmission and distribution.

## Glossary of Market Participants

###### The following terms are used to identify the market participants in ERCOT.

Balancing Up–Load (“BUL”) is a market participant that can interrupt load in response to a request from ERCOT to provide Balancing Energy Services, and is compensated through the market similar to a generator providing Balancing Energy Services.

Load Acting as a Resource (“LaaR”) is a load that can interrupt in response to a request from ERCOT under various Ancillary Services programs.  LaaRs are eligible for capacity payments for making their loads available for curtailment.  If they are deployed, they also receive energy payments for actually delivering the load reduction.

Non-Opt In Entity (“NOIE”) is a municipally owned utility or electric cooperative that has not chosen to offer customer choice.

Power Generation Company (“PGC”) generates electricity that is intended for the wholesale market.  A PGC cannot own a transmission or distribution facility other than that essential for interconnection.

Qualified Scheduling Entity (“QSE”) is the entity that submits daily balanced schedules to ERCOT.  The QSE also manages Ancillary Services bids, including those from the LaaR program. QSEs are responsible for all financial settlement activities with ERCOT, and must obtain certification demonstrating that they are financially responsible to ERCOT for all bills and payments.  A QSE may be a REP, a PGC, a NOIE, a PM, or a combination of several entities.  A QSE may represent multiple REPs, and a REP may contract with multiple QSEs to schedule its services.

Retail Electric Provider (“REP”) is a category of market participant registered with the PUCT that sells electric energy to retail customers. A REP may not own or operate generation assets.

Transmission/Distribution Service Provider (“TDSP”) is that portion of the former vertically integrated utility that owns and maintains equipment or facilities to transmit and distribute electricity over a certified service area.  Rates that the TDSPs must charge for transmission and distribution services are set by the PUCT.

The term “Demand-Side Resource” as used in this Guide includes LaaR “Resources” as defined in the Protocols as well as BULs and Voluntary Loads.

For additional definitions and a list of acronyms, refer to Section 2 of the ERCOT Protocols.

Details of Payment Examples

## 1.  Responsive Reserves – (RRS)

Highest ERCOT RRS price periods:

| Date | Price Range ($/MW) | Duration |
| --- | --- | --- |
| April 28, 2002 | $833 | 1 hour |
| April 29, 2002 | $75 | 8 hours |
| April 30, 2002 | $60-$75 | 10 hours |

Example:

If a 20 MW industrial load customer provided Responsive Reserves during the last three days of April their QSE would have received a capacity payment of $54,396.

∑72 hours (20 MW x MCPC) = $54,396

## 2.  Non-Spinning Reserves – (NSRS)

Highest ERCOT NSRS price periods:

| Date | Price Range ($/MW) | Duration |
| --- | --- | --- |
| April 28, 2002 | $25-$35 | 11 hours |
| April 29, 2002 | $999 $99-$199 | 1 hour 6 hours |
| April 30, 2002 | $990-$999 | 12 hours |

Example:

If a 20 MW industrial load customer provided Non-Spinning Reserves during the last three days of April their QSE would have received a capacity payment of $286,662.

∑72 hours (20 MW x MCPC) = $286,662

3.  Balancing-Up Loads (BUL’s)

Highest ERCOT Balancing Energy price periods:

| Date | Price Range ($/MWh) | Duration (15 min. intervals) |
| --- | --- | --- |
| April 28, 2002 | $44-$53 | 17 intervals |
| April 29, 2002 | $42-$54 | 13 intervals |
| April 30, 2002 | $30-$33 | 10 intervals |

Example:

If a 20 MW industrial load customer participating in the ERCOT BUL program curtailed their load for 2 hours (3:00-5:00 p.m.) on April 29, 2002 their QSE would have received $13,457.

Energy Payment

Time		Balancing Energy Market Clearing Price (MCPE) - ($/MWh)

3:00 PM	$52.73

3:15 PM	$48.85

3:30 PM	$46.55

3:45 PM	$48.85

4:00 PM	$51.11

4:15 PM	$45.78

4:30 PM	$53.54
4:45 PM	$49.01

∑8 intervals (20 MW x MCPE) = $8,977

Capacity Payment

Time		NSRS Market Clearing Price ($/MW)

3:00 PM	$99

4:00 PM	$125

∑2 hours (20 MW x MCPC) = $4,480

* If a BUL is selected it will also receive the prevailing market clearing price for Non-Spinning Reserves.

Total Payment 	= Energy Payment + Capacity Payment

= $8,977 + $4,480

= $13,457

Abbreviations are as follows:  Resp Res = Responsive Reserve; Non Spin = Non-Spinning Reserve; Replacement = Replacement Reserve; Up BES = Balancing Energy Services Up; OOME = Out-of- Merit Energy; AGC = Automatic Generation Control.