| OGRR Number | 176 | OGRR Title | Use of Domain Name Service (DNS) or ERCOT Web-Based Front Page for Market Participant Site Failover |
| --- | --- | --- | --- |
| Impact Analysis Date |  | October 24, 2005 |  |
| Credit Impacts |  | YES _______ NO ______ If No, skip the next two boxes. |  |
| Has the Credit Workgroup reviewed the PRR? |  | YES _______ NO ______ |  |
| Outcome of Credit Workgroup review |  |  |  |
| Cost/Budgetary Impact |  | None |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | No project is necessary; however, depending on the choice of failover option by the QSE, ERCOT will need about two weeks for testing with QSEs (Qualified Scheduling Entities) and implementation, provided that all QSEs are prepared to implement the changes. The ERCOT Network group will start preliminary testing November 1, 2005. |  |
| ERCOT Staffing Impacts (across all areas) |  | Minor one-time staffing impact for testing, but the result will eliminate manual intervention by ERCOT Network personnel during a system failover. |  |
| ERCOT Computer System Impacts |  | Changing from host file entry to using Domain Name Service (DNS) entry will include testing and implementation that will take approximately 2 hours per QSE (Level 3 & 4) with backup centers. At this time there are less than 15 QSEs in these categories. |  |
| ERCOT Business Function Impacts |  | Eliminates manual entry of changes to ERCOT’s API when a Market Participant switches operations between Primary and Backup sites. |  |
| Grid Operations & Practices Impacts |  | None. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

N/A

Evaluation of Interim Solutions (e.g., manual workarounds)

N/A

Comments