## Slide 1: ROS Report to TAC – 5/4/06 Major Discussion Items at 4/11-12/06 ROS
ERCOT Compliance:
Improved CPS Scores in Feb & Mar with PRR 525
NERC ERO and Registration Issues
ERCOT System Planning and Transmission Services
Combined Cycle Model RFP
Entergy Interconnection Study
PRR 590 / OGRR 165 – Unit Telemetry
TPTF Assignments Timeline
ROS Performance Disturbance Compliance WG
RRS Performance Metric
Update from WMS Holistic Frequency Task Force

## Slide 3: ROS Report to TAC – 5/4/06 Items Requiring TAC Vote
OGRR 169 – Reporting of Reserve Capability Under Severe Gas Curtailments.
OGRR 176 – Market Participant Use of DNS or ERCOT Web-Based Front Page for Site Failover.
OGRR 178 – Revision to Reactive Limits Verification Form.
OGRR 182 – Process for Operating Guide Revisions.
All the Above Approved by ROS April 12, 2006 – Unanimous Vote

## Slide 4: ROS Report to TAC – 5/4/06 PRR 590 – OGRR 165
OGRR 165 Implements PRR 590.
PRR 590 passed, but not funded.
Value of OGRR 165 uncertain.
ERCOT intent to archive, not modify system.
ROS considers ramp rate data archive alone as superfluous.
ROS considers SCE standard under PRR 525 as a measure of overall performance, including RRS
ROS supports the requirement to provide AGC status if part of an alternative PRR
ROS tabled further progress of OGRR 165

## Slide 5: ROS Report to TAC – 5/4/06 TPTF Items
3.1.1 – Simple Transmission Outage – TPTF advises reduced urgency. ROS will develop this summer.
3.10.7.1 – Naming Convention – Completed by NDSWG, passed by ROS, shown to TPTF.
3.10.7.4 – Telemetry Criteria – NDSWG conducting meetings, will present to ROS in June.
3.10.0 – State Estimator Performance Standard – NDSWG conducting meetings, will present to ROS in June.
6.5.7.6.1(2) – Optimal Frequency Bias – TPTF advises reduced urgency, PDCWG will review and propose language to ROS this summer.
6.5.7.6.2.3(1) – Deployment of NSRS - TPTF advises reduced urgency, PDCWG will review and propose language to ROS this summer.
8.0 – Performance Measures - TPTF advises reduced urgency, ROS will develop this summer.

## Slide 6: ROS Report to TAC – 5/4/06 WMS Holistic Frequency TF Discussion
ROS received TF report one day before meeting.
No proposals from TF on Primary Frequency Control
Discussed PRR 662 – Modify A/S Performance Conditions
Concern that PRR 525 seems to be working
Concern over possible loopholes in language
Motion to endorse concepts in PRR 662 while not endorsing language – Failed, 2.833 to 3.667
Motion to keep PRR 525 in place, continue to review operations, penalty structure, and exemptions - Passed
PRR 649 – No endorsement until PDCWG presents a recommendation on value of K factor.

## Slide 7: ROS Report to TAC – 5/4/06 Next ROS Meetings
May 15 – EECP Report Review
Sole Issue: Review ERCOT Draft EECP Report
Verify Timelines and Sequence of Events
Characterize sub-optimal response
Operational / Control Lessons Learned
Will NOT Deal with Retail / Commercial Issues
June 15-16 – Regular Meeting
Special Topics:
RRS Performance Metric
Progress of NERC ERO
Hurricane Rita Lessons Learned
Primary Frequency Control

## Slide 8: ROS Report to TAC – 5/4/06 ROS EECP Report Review Process
ERCOT Prepares Draft Event Report
Trends on frequency, reserves, and other relevant operating data.
Logs on actions taken, results observed, problems reported
Draft conclusions as to causes of problems observed.
ROS Reviews Draft Event Report
Confirms / resolves TO, QSE, and ERCOT timelines.
Confirms / resolves differences in orders given and actions taken.
Q&A on non-performance: problems with data, problematic decisions, structural causes.
Q&A on severity of non-performance issues on event duration.
Focus on bulk power system, not retail.
Focus on control area level communications, not public.