## Slide 1: WMS Report TO TAC
May 2006

## Slide 2: In Brief
No Working Group reports
One Task Force Report
One Congestion presentation
TAC assignments to WMS from TNT
We finally completed an agenda!

## Slide 3: Working Group Reports
None of the Working Groups met prior to the last WMS meeting.
CMWG will take up 2007 CSCs soon
DMWG will take up Emergency Load Service
Notes: Note from Mary Ann
Manually deployed all LaaRs (interruptible loads providing Responsive Reserve – 1,150 MW; first time since market deregulation)
And the Frequency recovered to 60 Hz

## Slide 4: Update on Congestion Tools and Costs
Cost Comparison 2004 vs. 2005
What Are Local Congestion Costs?
Zonal congestion – costs and quantity
Active and binding intervals
Actual CSC flows vs. limits
Over limits vs. over constraining
Notes: Monitoring congestion management tools and their effectiveness is one of the goals of the WMS.
OOMC – A generator that did not plan to be on-line is paid to start and run at minimum.
Unit Specific - Up – A generator is paid to operate at a higher output than planned. Includes OOME and LBES.
Unit Specific - Down – A generator is paid to operate at a lower output than planned. Includes OOME and LBES.
RMR – Reliability Must Run – A generator is paid to be available and operate as directed when the owner would have otherwise suspended operation for an extended period of time.

## Slide 5: TAC assignments to WMS
Six protocol references
Co-Optimization issue from the nodal implementation order

## Slide 6: Assigned to the CMWG Time Line TBD
  3.19(2) – An alternative list for determining Competitive Constraints
  And
  3.19(3) – Analysis with the goal of developing an objective standard for determining Competitive Constraints

## Slide 7: ERCOT to draft – WMS to Review Time Line TBD
5.61(4) – Process for determining the verifiable actual costs
5.6.3(3) – Process for determining the verifiable actual costs for a startup attempt
6.5.9.4.1(2)(b) - Procedure for determining which Load Resources to interrupt and to equitably allocate Load Resources to one of two deployment stacks to enable a 50% deployment

## Slide 8: ERCOT to draft – WMS to Review Due June to WMS for July decision.
7.2.1 – Task force to develop a naming convention for CRRs

## Slide 9: Frequency Task Force
Drove WMS to recommendations on each of the 8 PRRs the TF was charged with.
Established a direction on SCE compliance and regulation cost reallocation
Will take up Primary Frequency control in coordination with ROS and the PDC
Notes: WMS recommends to PRS – not TAC
PRR586 – SCE Performance and Regulation Cost Re-allocation
PRR605 – Possible withdrawal - SCE Performance Monitoring for Combined Cycle Resources
PRR607 – One-Minute Ramp Schedules
PRR608 – Improve Ancillary Services Performance Conditions
PRR649 – Correct “K” Factor in Compliance SCE Formula
PRR656 – SCE Performance Charge
PRR661 – SCE Performance Enforcement criteria
PRR662 – Modify Ancillary Service Deployment Performance Conditions

## Slide 10: PUCT Docket No. 31540 Feasibility of Co-optimization in the Nodal Market
Task force has been formed to develop a two part response.
Part one is due next month and is a reasoned response to the Commission request for stakeholder review “in an expedited manner”
Time line for part two is TBD
Marguerite Wagner to chair

## Slide 11
1. Co-optimization while the Commission does not propose any modifications to the draft protocols other than on the tax issue at this time, there were several issues raised during this proceeding that the Commission concludes need further study. Specifically, the issue of co-optimization of energy and reserves in the real-time market was raised as an issue that should be addressed at a later date as part of the implementation of the nodal market. This issue was raised by Commission Staff in Dr. Patton's testimony. Other parties generally supported co-optimization, but stated that the stakeholders were not able to determine a way to implement it in the market as developed by the TNT. It was suggested that ERCOT and the stakeholders should discuss whether co-optimization could be included in the proposed nodal market with vendors during negotiations to develop the systems to run the nodal market? The Commission recognizes that Co-optimization could potentially produce benefits in the real-time market. Therefore, the Commission directs ERCOT and the ERCOT stakeholders to explore this issue, in both internal discussions within the ERCOT stakeholder group as well as with vendors, and address whether co-optimization could be implemented and the potential costs and benefits of implementing co-optimization. The Commission encourages ERCOT and the ERCOT stakeholders to conduct discussions in an expedited manner as the implementation date of January 1,2009 will not be modified.

## Slide 12: From Last Month
Economic Transmission Planning Criteria
Notes: Take it away Bill
The Motion:
WMS recommend that the Regional Planning Group consider transmission projects for economic justifications if either of the societal surplus or consumer surplus criteria exceeds the incremental projects transmission costs in line with the economic benefits metric made in second presentation at WMS today (the one Shannon Gave last month to TAC)