| PRR Number | 659 | PRR Title | Reporting of ERCOT Replacement Reserve Service Procurements |  |
| --- | --- | --- | --- | --- |
| Timeline | Urgent | Recommended Action |  | Approval |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 1.3.1.1 Items Considered Protected Information 6.10.11 ERCOT Operations Performance |  |  |
| Proposed Effective Date |  | TBD |  |  |
| Priority & Rank Assigned |  | TBD |  |  |
| Revision Description |  | This PRR requires reporting on the classification and amounts of ERCOT’s procured Replacement Reserve Service (RPRS), as well as a comparison of actual procurements of RPRS for system capacity to a theoretical amount of RPRS procurement for system capacity. |  |  |
| Overall Market Benefit |  | Market Participants will be able to evaluate the timing of and need for RPRS using the detailed reporting on RPRS deployments required by this PRR. |  |  |
| Overall Market Impact |  | None. |  |  |
| Consumer Impact |  | None. |  |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? (indicate Yes or No, and if Yes, include a summary of impact) |  | Yes. ERCOT credit staff and the Credit Work Group have reviewed PRR659 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 4/3/06, PRR659 was posted with a request for urgent status. - On 4/5/06, the PRS email vote failed to grant urgent status to PRR659.. - On 4/21/06, PRS granted urgent status to PRR659 and reviewed PRR659. |  |  |
| PRS Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | On 4/21/06, PRS voted unanimously to grant urgent status to PRR659 because RPRS is already in effect. Also on 4/21/06, PRS voted unanimously to recommend approval of PRR659 as revised by PRS. All market segments were present for the vote. |  |  |
| Summary of PRS discussion |  | On 4/21/06, ERCOT staff presented draft comments that clarify the PRR by presenting the requirements in a format similar to PRR515 (Disclosure of Local Congestion), which PRS decided to incorporate into the PRR. ERCOT stated that a project would be required to automate the reports specified by this PRR, but that most of the PRR could be implemented by using a manual workaround in the interim. The binding transmission constraint portion of the PRR would not be able to be implemented using a manual workaround. PRS discussed a timeline for urgent processing, and planned on reviewing the Impact Analysis and Cost Benefit Analysis at its 05/09/06 meeting. |  |  |

| Original Sponsor |  |
| --- | --- |
| Name | Henry Durrwachter/Randa Stephenson |
| Company | TXU Wholesale |
| Market Segment | Investor Owned Utility |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

| Assumptions | 1 | This PRR will improve accuracy of ERCOT day-ahead load forecast by 5% |  |
| --- | --- | --- | --- |
|  | 2 | 5% improvement in accuracy of ERCOT day-ahead load forecast = 0.1% reduction in total AS and Congestion management costs |  |
|  | 3 | AS and Congestion management costs for 2005 were $656.6 million (actual 11 months ending 11-30-2005 per ERCOT) |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | ERCOT operations | Minimal |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Ancillary Services | $656.6 million x 0.1% = $656,000 |
|  | 2 | Provides transparency to Market Participants on ERCOT procurement and deployment of RPRS for Local Congestion, Zonal Congestion and system capacity requirements. | Difficult to quantify |
|  | 3 | ERCOT Day Ahead Load forecast | A more accurate load forecast results in lower total costs to the market for Ancillary Services and Congestion costs and better frequency control. |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
| Other | 1 | This should have minimal impact on ERCOT staffing since similar reporting of OOMC procurements and deployments is already being produced and OOMC deployments should decrease with the implementation of a RPRS market. |  |
| Comments | 2 |  |  |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| None |  |

Proposed Protocol Language Revision

1.3.1.1	Items Considered Protected Information

“Protected Information” is information containing or revealing:

(1)	Schedule Control Error, as calculated by ERCOT, identified to a specific QSE, with the exception of Real Time SCE data that may be viewable on-site at ERCOT Facilities;

(2)	Bids or pricing information identifiable to a specific QSE, except as provided in 1.3.3(2)(b);

(3)	Status of Resources including but not limited to outages or limitations or scheduled or metered Resource data;

(4)	Resource Plans;

(5)	Energy and Ancillary Service Schedules identifiable to a specific QSE;

(6)	ERCOT Dispatch Instructions identifiable to a specific QSE, except for OOMC and OOME deployments as provided in Section 6.5.10, Out of Merit Capacity and Out of Merit Energy Services, items (10), (11) and (12) and RPRS deployments for Local Congestion as provided in Section 6.5.6, Replacement Reserve Service, item (11);

(7)	Raw and Adjusted Metered Load data (Demand and energy) identifiable to a specific QSE;

(8)	Settlement Statements identifiable to a specific QSE;

(9)	Aggregated raw and Adjusted Metered Load data (Demand and energy), and number of ESI-IDs identifiable to a specific LSE;

(10)	Information related to generation interconnection requests, to the extent such information is not otherwise publicly available;

(11)	Resource specific costs, design and engineering data, with the exception of data provided pursuant to Section 1.3.1.2, Items Not Considered Protected Information;

(12)	TCR ownership, credit limits or bidding information identifiable to a specific TCR Account Holder;

(13)	Renewable Energy Credit account balances;

(14)	Credit Limits identifiable to a specific QSE;

(15)	Any information not submitted to or collected by ERCOT pursuant to requirements of the Protocols or Operating Guides that is designated as Protected Information in writing by Disclosing Party at the time the information is provided to Receiving Party except for information provided to ERCOT in support of an RMR application according to Protocols Section 6.5.9, Reliability Must-Run Service;

(16)	Any Proprietary Customer Information unless the Customer has authorized the release for public disclosure of such information in a manner approved by the PUCT;

(17)	Any software, products of software or other vendor information that ERCOT is required to keep confidential under its agreements;

(18)	QSE and TDSP backup plans collected by ERCOT in compliance with the Protocols or Operating Guides;

(19)	DC Tie information provided to TDSPs pursuant to Section 9.8.2, DC Tie Schedule Information; and

(20)	Any Texas SET transaction submitted by an LSE to ERCOT or received by an LSE from ERCOT.  This item (20) shall not apply to ERCOT in regard to its compliance with PUCT Rules relating to performance measure reporting, these Protocols, or any TAC approved reporting requirements.

(21)	Mothballed Generation Resource updates and supporting documentation submitted pursuant to Section 6.5.9.3, Mothballed Generation Resource Time to Service Updates.

(22)	The unavailability of Switchable Resources to the ERCOT System and supporting documentation submitted pursuant to Section 16.5.3(5), Requirements for Reporting and for Changing the Terms of a Resource Registration, except for reporting the aggregate capacity of Switchable Resources for Reserve Margin calculations.

(23)	Information provided by Entities under Section 10.3.2.4, Reporting of Net Generation Capacity.

(24)	Alternative fuel reserve capability and firm gas availability information submitted pursuant to Sections 5.6.3, Operating Condition Notice, 5.6.4, Advisory, and 5.6.5, Alert; and as defined by the Operating Guides.

6.10.11	ERCOT Operations Performance

(1)	ERCOT shall continuously self-assess its operations and report to all Market Participants its performance in controlling the ERCOT Control Area according to requirements and criteria established by the Operating Guides and NERC Policy and Standards for operation of Control Areas.  ERCOT shall report all substandard operations to the ERCOT Technical Advisory Committee and to the NERC Compliance and Enforcement Committees.

(2)	ERCOT shall publish for all Market Participants the total amount of Regulation Up energy deployed and the total amount of Regulation Down energy deployed in each Settlement Interval.

(3)	ERCOT shall provide monthly a report analyzing the accuracy of each Operating Day’s Load forecast that was issued at 0600 the Day Ahead of the Operating Day.  ERCOT shall make similar comparisons for the 1100 forecast and the forecast in effect at midnight of the start of the Operating Day.  In its reports, ERCOT shall statistically analyze the expected error in energy and peak forecasting.

(4)	ERCOT shall publish for all Market Participants the percentage of the Bid Stack awarded for Balancing Energy Service for each Settlement Interval that ERCOT deploys any Non-Spinning Reserve Service.

(5)	ERCOT shall provide a monthly report showing the average percentage of the Bid Stack award for Balancing Energy Service for the Settlement Intervals that ERCOT deploys Non-Spinning Reserve Service for the month.

(6)	ERCOT shall provide a monthly report showing the quantity of RPRS procured by hour for system capacity based on the Day Ahead estimate of total ERCOT Load versus the quantity of RPRS that, in hindsight, would have been the proper amount to procure based on actual average metered total Load.  This theoretical amount of RPRS procurement shall be calculated as the difference between the actual average metered ERCOT Load (for an hour) minus the Day Ahead Resource Plan generation On-line used before the RPRS market is run for the hours when RPRS is procured by ERCOT.

6.5.6	Replacement Reserve Service

(1)	Replacement Reserve Service (RPRS) is provided by Resources that may otherwise be unavailable to ERCOT in the hours that ERCOT requests RPRS.  These Resources may include Generation Resources that are expected to be off-line in the requested hours and Loads acting as a Resource that otherwise may be unavailable to be dispatched by ERCOT, i.e.  Loads not declared as an active Resource in the Resource Plan at the time of the RPRS procurement.

[PRR307: Revise Section 6.5.6(1) as follows when system change implemented.] 6.5.6 Replacement Reserve Service (1) Replacement Reserve Service (RPRS) is provided by Resources that may otherwise be unavailable to ERCOT in the hours that ERCOT requests RPRS. These Resources may include Generation Resources that are expected to be off-line in the requested hours and Loads acting as a Resource that are declared to be available in the Resource Plan but are not committed to any service Obligation.

(2)	Resources providing RPRS must provide a telemetered output signal, including breaker status.

(3)	The minimum amount of RPRS that may be offered to ERCOT is one (1) MW.

(4)	Resources eligible to bid must meet additional technical requirements specified in Operating Guides

(5)	There may only be one RPRS bid from any given Resource.

(6)	Generation Resource and Loads acting as a Resource accepted for RPRS must be able to respond in the hours for which they have been selected to provide the Ancillary Service.

(7)	QSEs using Loads to provide RPRS must be capable of responding to ERCOT Dispatch Instructions in a similar manner to QSEs using Generation Resources to provide RPRS.

(8)	Each Generation Resource and Load acting as a Resource providing RPRS must meet additional technical requirements specified in the Ancillary Service Qualification, Testing and Performance Standards, 6.10.  QSEs must comply with their Balanced Schedule despite any generation provided by the RPRS unit.  For example, the QSE supplying RPRS must adjust other Resources to accommodate the minimum operating output of the RPRS Resource selected by ERCOT in order to comply with their Balanced Schedule and Dispatch Instructions.

(9)	QSE bids for RPRS will be in accordance with Section 4, Scheduling.

(10)	RPRS may not be self-arranged by the QSE.

(11)	For RPRS procurements due to Local Congestion, on or before the second (2nd) Business Day after each Operating Day, ERCOT will post on the MIS, for such Operating Day:

(a)	Each Resource receiving an RPRS Dispatch Instruction;

(b)	Intervals for which each Resource received an RPRS Dispatch Instruction;

(c)	The Low Sustainable Limit for each Resource receiving an RPRS Dispatch Instruction; and

(d)	The binding transmission constraint (contingency and/or overloaded element(s)) causing the RPRS deployment.

(12)	For RPRS procurements due to Zonal Congestion, on or before the second (2nd) Business Day after each Operating Day, ERCOT will post on the MIS, for such Operating Day:

(a)	The amount of RPRS procured by zone; and

(b)	The MCPC by zone.

(13)	On or before the second (2nd) Business Day after each Operating Day, ERCOT will post on the MIS, for such Operating Day, the total amount of RPRS procured by hour for;

(a)	Local Congestion;

(b)	Zonal Congestion; and

(c)	System capacity.