| PRR Number | 648 | PRR Title | Prevent IDR Removal from Customers Served at Transmission Voltage |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Recommended Action |  | Approval |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 18.6.7 IDR Optional Removal Threshold |  |  |
| Proposed Effective Date |  | June 1, 2006 |  |  |
| Priority & Rank Assigned |  | N/A |  |  |
| Revision Description |  | This PRR introduces language to clarify that IDRs may not be removed from Premises served at transmission voltage. The mandatory installation requirement for IDRs specifies that IDRs are required for Customers served at transmission voltage. The IDR Optional Removal Provision allows removals for Customers whose demands have remained below the IDR Optional Removal Threshold or for new Customer Move-Ins whose demands have remained below the IDR Mandatory Installation Threshold. The revision clarifies that removal is not allowed regardless of a Customer’s demands, if the customer is served at transmission voltage. |  |  |
| Overall Market Benefit |  | Protocol clarification. |  |  |
| Overall Market Impact |  | None. |  |  |
| Consumer Impact |  | None. |  |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? (indicate Yes or No, and if Yes, include a summary of impact) |  | Yes. ERCOT credit staff and the CWG have reviewed PRR648 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - PRR648 was posted on 1/16/06. - PRS considered PRR648 on 2/23/06. - PRS reviewed the Impact Analysis and Recommendation Report on 3/23/06. - TAC considered PRR648 on 4/7/06. |  |  |
| PRS Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | On 2/23/06, PRS unanimously voted to recommend approval of PRR648 as submitted. All segments were present for the vote. |  |  |
| Summary of PRS discussion |  | There was no discussion on 2/23/06. On 3/23/06, PRS noted that PRR648 has no system impacts. |  |  |
| TAC Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | On 4/7/06, TAC unanimously voted to recommend approval of PRR648 as submitted. All segments were present for the vote. |  |  |
| Summary of TAC discussion |  | There was no discussion on 4/7/06. |  |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

| Assumptions | 1 | None |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | None |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Protocol Clarification |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | None |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other | 1 | No ERCOT system impact |  |
| Comments | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Original Sponsor |  |
| --- | --- |
| Name | Ernie Podraza, Chair of PWG |
| Company | Reliant Energy |
| Segment | Independent Power Marketer |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
|  | None Received |

Proposed Protocol Language Revision

18.6.7	IDR Optional Removal Threshold

The CR, upon a Customer’s request or with a Customer’s authorization, may request, in accordance with PUCT rules and regulations, removal of an IDR at the Customer’s Premise unless service to the Premise is provided at transmission voltage (above 60 kV).   However, once the Customer’s demand at the Premise either meets or exceeds the IDR Mandatory Installation Threshold identified in Section 18.6.1(1), the IDR will no longer qualify for removal.

The IDR Optional Removal Threshold for a Premise is established as follows:

(1)	for an existing Customer, where the Load at the Premise has never exceeded the IDR Optional Removal Threshold of one hundred and fifty (150) kW (kVA) during the most recent twelve (12) consecutive months unless the existing Customer requested or authorized installation of an IDR pursuant to Section 18.6.1(2) in which case the existing Customer may not request removal of the IDR for a period of twelve (12) consecutive months following such installation; or

(2)	for a new Customer Move-In, where the request is communicated to the CR within one hundred and twenty (120) consecutive days of the Move-In provided the new Customer’s Demand at the Premise has remained below the IDR Mandatory Installation Threshold between the Move-In date and the date the request is received, and that meter readings covering at least forty five (45) consecutive days of usage at the Premise have been registered for the new Customer.

Once an IDR has been removed at a Premise by request, an IDR may not be reinstalled at that Premise for a period of twelve (12) consecutive months following such removal, unless a change in Customer(s) has taken place at that Premise during the twelve (12) month period or unless the IDR Mandatory Installation Threshold pursuant to Section 18.6.1(1) has been met.  Removal or re-installation of an IDR is subject to applicable tariff charges.