| PRR Number | 631 | PRR Title | Black Start Bid Procedures and Compensation for Testing |
| --- | --- | --- | --- |
| Date |  | May 11, 2006 |  |
| Submitter’s Information |  |  |  |
| Name |  | David Wood on behalf of the Black Start Task Force |  |
| E-mail Address |  | david.wood@austinenergy.com |  |
| Company |  | Austin Energy |  |
| Company Address |  | 301 W. Ave Austin, Tx. 78701 |  |
| Phone Number |  | 512-322-6940 |  |
| Fax Number |  | 512-476-9420 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 |  |  |
| Additional Qualitative Information | 1 |  |  |
| Other | 1 |  |  |

Comments

The Black Start Task Force has reviewed the subject PRR and determined that the concerns and issues regarding simulation studies can best be resolved in ERCOT’s annual RFP for Black Start Service and the bid selection process.  The task force also concluded that expenses for testing should be recovered as part of the Resource bid. Since the changes proposed in this PRR are not necessary, the Black Start Task Force recommends that PRS reject this PRR.

Revised Proposed Protocol Language

None