## Slide 1: Market Participants Roles and Responsibilities
Highlights

## Slide 2: ERCOT Voltage Control Procedure
Summary of how to control voltage in ERCOT
If conflicts with Protocols/Guides, Protocols/ Guides win

## Slide 3: ERCOT Voltage Control Procedure

## Slide 4: ERCOT Voltage Control Procedure

## Slide 5: ERCOT Operations
Study Security
Determine Voltage Profile
  Posted
  Changeable
Deploy Resources when Needed
  Caps/Reactors
  Unit setpoints
  Fairly and Appropriately

## Slide 6: TDSP
Study Security
Help Determine Voltage Profile
Deploy Resources when Needed
  Caps/Reactors
  Unit setpoints
  Fairly and Appropriately

## Slide 7: QSE/Generation Resources
AVR’s on and in Voltage Control mode!!!
Change AVR setpoint as requested
Let unit go to reactive capability unless “Imminent Damage”
Provide accurate data to model (Reactive Testing)
Complain if feel unfairly treated

## Slide 8: Demonstration of Problem Caused by AVRs in Power Factor Mode
Case 1: Unit 2 AVR in Voltage Control Mode
  No collapse with Line #3 trip
Case 2: Unit 2 in Power Factor Mode
  Blackout with Line #3 trip

## Slide 9: AVR in Voltage Control

## Slide 10: AVR in Power Factor

## Slide 11: Demonstration of Problem Caused by Cap Banks not Deployed
Case 1: Cap Bank at Load Deployed
  No collapse with Line #3 trip
Case 2: Cap Bank at Load Not Deployed
  Blackout with Line #3 trip

## Slide 12: Cap Bank Deployed

## Slide 13: Cap Banks NOT Deployed

## Slide 14: Demonstration of Problem Caused by Unit not Going to Capability/Poor Modeling
Case 1: Unit Goes to Modeled Limit
  No collapse with Line #3 trip
Case 2: Unit Doesn’t Go to Modeled Limit
  Blackout with Line #3 trip

## Slide 15: Model (Large Capacity)

## Slide 16: Reality (Small Capacity)

## Slide 17: Summary
Looked at TDSP, QSE and ERCOT roles/responsibilities
Showed consequences of not fulfilling responsibilities.