## Slide 1
ERCOT Compliance Program
23rd Annual
ERCOT
Operations Training Seminar
Notes: I have the opportunity to put you through the last hour of the seminar today. I am reminded of a term that my father in law told me about ….. Coffin Corner ….

## Slide 2
Notes: Dino’s crew 1944-45. B-24

## Slide 3
Notes: Complicated machines, difficult environment,

## Slide 4
Notes: These young men would fly hundreds of these planes to a target. They had to fly in formation stacked several hundred, maybe thousands of feet vertically. to concentrate their defensive firepower, and to put their bombs in a tight cluster on the target. But somebody had to be at the edge … and that was coffin corner ……..

## Slide 7: Objectives
Review how and why reliability standards are developed
Understand what’s in a reliability standard or Regional template
Find out where to see new standards
Figure out which ones may apply to your company
Find out how ERCOT’s compliance program will enforce NERC standards and Regional rules
Notes: #1 – stakeholders with technical expertise, define the need – people from companies like yours
#2 – we’ll dissect one
3- surfing the web and picking up the phone
4- more surfing plus a “rollout”, plus quiet time reading
5 – how does assessment happen, both in terms of processes and people

## Slide 8
Notes: HISTORY LESSON – where do standards come from????
NERC is a voluntary industry association
NERC acts according to the agreement of its members
NERC obligations, while considered mandatory for members, lack legal backing
Standards written for control areas ….

## Slide 9
Notes: MORE HISTORY – WHY DO WE HAVE COMPLIANCE TO GO WITH STANDARDS
NERC pilot and WECC compliance programs
Separation of commercial concerns
NERC functional model
NERC ANSI standards process
Independent members of the NERC Board
New NERC Map
NERC and FERC
FERC provides oversight of NERC, similar to PUCT oversight of ERCOT
Congress gave FERC this role for the USA
NERC will become NAERO
NERC standards, if approved by FERC, now can be enforced with $$$ sanctions

## Slide 10: Meanwhile, Back at the Ranch …
Single control area makes ERCOT responsible for more and more aspects of grid operations and planning
Reliability in wholesale markets one of many
topics addressed by ERCOT subcommittees in the Protocols and Operating Guides
Notes: No longer 10 control areas
IPP’s now under ERCOT
ERCOT responsible for more and more aspects of grid operations and planning
Reliability in wholesale markets just one of many topics addressed by ERCOT subcommittees

## Slide 11: 7 Reliability Principles for Interconnected Bulk Electric Systems
1. Plan & operate in a coordinated manner under normal & abnormal conditions
2. Control frequency within defined limits by balancing supply & demand
3. Make necessary information available to responsible entities
4. Develop, coordinate, maintain & implement plans for emergency operation and system restoration
5. Facilities for communication, monitoring and control provided, used & maintained
6. Have personnel trained & qualified with responsibility & authority
7. Assess, monitor & maintain wide area security
Notes: GUP – if it doesn’t involve one of these, don’t do it.

## Slide 12: 5 Market Interface Principles for Organization Standards
1. Recognize that reliability is an essential requirement of a robust North American economy
2. Don’t give unfair competitive advantage
3. Neither mandate nor prohibit any specific market structure
4. Don’t preclude market solutions to achieving compliance
5. Don’t require public disclosure of commercially sensitive information, and provide equal access to commercially nonsensitive information
Notes: If it makes you violate one of these, don’t do it.

## Slide 13: NERC Ver. 0 Topics
BAL Resource and Demand Balancing
MOD Modeling, Data, and Analysis
CIP Critical Infrastructure Protection
ORG Organization Certification
COM Communications
PER Personnel Performance, Training, and Qualifications
EOP Emergency Preparedness and Operations
PRC Protection and Control
FAC Facilities Design, Connections and Maintenance
TOP Transmission Operations
INT Interchange Scheduling and Coordination
TPL Transmission Planning
IRO Interconnection Reliability Operations and Coordination
VAR Voltage and Reactive
Notes: 92 “standards”
11 now up to Ver. 1
12 new standards, new total 104

## Slide 14: NERC Standards - Example
A. Introduction
1. Title: Transmission Protection System Maintenance and Testing
2. Number: PRC-005-0
3. Purpose: To ensure all transmission protection system misoperations are analyzed for cause and corrective action, and maintenance and testing programs are developed and implemented.
4. Applicability:
  4.1. Transmission Owner
  4.2. Generator Owner that owns Transmission protection systems
  4.3. Distribution Provider that owns Transmission protection systems
5. Effective Date: April 1, 2005
Notes: Examine a typical standard, part by part
Discuss the reliability principles

## Slide 15
B. Requirements
R1. The Transmission Owner, Generator Owner and Distribution Provider that owns a transmission protection system shall have a transmission protection system maintenance and testing program in place. The program(s) shall include:
  R1.1. Transmission protection system ident. shall include but are not limited to:
        R1.1.1. Relays.
        R1.1.2. Instrument transformers.
        R1.1.3. Communications systems, where appropriate.
        R1.1.4. Batteries.
  R1.2. Documentation of maintenance and testing intervals and their basis.
  R1.3. Summary of testing procedure.
  R1.4. Schedule for system testing.
  R1.5. Schedule for system maintenance.
  R1.6. Date last tested/maintained.
R2. The Transmission Owner, Generator Owner, & Distribution Provider that owns a transmission protection system shall provide documentation of its transmission protection system program & its implementation to the appropriate RRO & NERC on request (within 30 calendar days).

## Slide 16
C. Measures
M1. The Transmission Owner, Generator Owner, and Distribution Provider that owns a transmission protection system shall have a transmission protection system maintenance and testing program as defined in Reliability Standard PRC-005-0_R1.
M2. The Transmission Owner, Generator Owner, and Distribution Provider that owns a transmission protection system shall have evidence it provided documentation of its transmission protection system maintenance and testing program and the implementation of its program as defined in Reliability Standard PRC-003-0_R2.

## Slide 17
D. Compliance
1. Compliance Monitoring Process
  1.1. Compliance Monitoring Responsibility: Regional Reliability Organization. Each RRO shall report compliance and violations to NERC via the NERC compliance reporting process.
  1.2. Compliance Monitoring Period and Reset Timeframe:
  On request (within 30 calendar days.)
  1.3. Data Retention : None specified.
  1.4. Additional Compliance Information: None.
2. Levels of Non-Compliance
  2.1. Level 1: Documentation of the maintenance and testing program was incomplete, but records indicate implementation was on schedule.
  2.2. Level 2: Documentation … provided … not on schedule.
  2.3. Level 3: Documentation … incomplete … not on schedule.
  2.4. Level 4:

## Slide 18
E. Regional Differences
1. None identified.
Version History
Version Date Action Change Tracking
0 April 1, 2005 Effective Date New

## Slide 20: Recent status
NERC standard status chart
Notes: Tetris comparison for the first two years

## Slide 21: Impact on ERCOT
Establish Regional or Interconnection differences before balloting …COMMENT
Incorporate into ERCOT practices and documents … DISCUSS!
Comply!
Document!

## Slide 22: NERC Certification Standards
Certification applies to NERC RC, BA, and “TOp” functions initially … all of these are performed by ERCOT
Covers all tasks readiness, will require initial audits
Establish need for operators at other entities to hold NERC certification if delegated tasks from ERCOT

## Slide 23: Cyber Security
NERC 1200 … enforced only at the ERCOT level today
New CIP standards will be enforced throughout ERCOT companies
Implementation gradually leading to all “auditably compliant”

## Slide 24: NERC Phase III/IV
In development or field test (among others):
  generator exciter and governor tests
  generator voltage schedule review
Added (among others):
  generator real and reactive testing
  generator relay-related requirements
  transmission Undervoltage Load Shed

## Slide 25: Others in the NERC Pipeline …
Vegetation management
Nuclear plant voltage support
Interchange revisions
Fuel supply reporting
Cleanup of Ver. 0
More coming ….write your own

## Slide 26: ERCOT Regional “Standards”
Market Participant requirements and performance criteria are defined in ERCOT Regional documents:
  Protocols, especially 4,5,6,8, 12 and 16
  Operating Guides
Familiar stakeholder posting and review process

## Slide 27: ERCOT Compliance “Templates”
Developed for Protocol and Operating Guides items selected for enforcement and not (yet) addressed by NERC measures
Primary purpose - establish uniform review practices for the ERCOT Compliance Office
Initial development focused on
  Recurring measurements
  Regional needs to support NERC requirements

## Slide 28: ERCOT Compliance “Templates”
Resource Plan Performance
Unit real and reactive testing
40 hour Emergency Training/24 x 7 staffing
Dispatch Instructions Compliance
NERC standard “support”
  Real time data from TDSP and QSE
  Ancillary services (future RRS/NS)
  Loss of primary control center plans

## Slide 30: Who must comply?
TDSP’s
And
TO’s
ERCOT, Inc.
PGC’s/
Resources
The
ERCOT
Region
QSE’s
Notes: Protocols are straightforward – but NERC standards are not

## Slide 31: Registration of Entities to Comply with NERC Standards, Part 1
RC, Reliability Coordinator
BA, Balancing Authority
Top, NERC Transmission Operator
PA, Planning Authority
TP, Transmission Planner
RRO
ERCOT
Larger TDSPs
ERCOT and its committees

## Slide 32: NERC Registration, Part 2
TOw, TP
Transmission Owner/Planner
GOp
Generation Operator
GOw
Generator Owner
DP
Distribution Provider
Non-radial TDSP
Over 100kV
QSE with
Resources
Resource Entity with Generators
Small TDSP
With Underfrequency
Load Shed Relays

## Slide 33: Compliance Audits
QSE and larger TDSP audits
  3 year cycle
  Self-certification between audits for certain items
NERC team audits
  Today, just ERCOT Operations
  NERC Readiness audits
Notes: Describe process – questionnaires, site visit, followup, report and findings, MP feedback
Heavy on documentation, review operator responses vs. management

## Slide 34: Data and Procedure Reviews
Submittals Self-Reported to Compliance
  Unit real and reactive tests
  Relaying-related statistics
  Vegetation outage reports
Mining other ERCOT data
  Planning cases, models and reviews
  Real time data
  Loss of control center and blackstart plans
  Blackstart generator tests
  ERCOT Shift Operator certification and training
Notes: Describe where data is obtained
Self-report, the important thing is to get it in on time and filled-out completely. DISCUSS REACTIVE TESTS.

## Slide 35: Periodic Monitoring
NERC Frequency Control Standards
NERC Transmission Security Violations
QSE Ancillary Services Scores
Resource Plan Performance Measures
Notes: Obtain data from ERCOT archives
Process and calculate exclusions
Review findings with MP before final assessment

## Slide 36: Investigations
Incident Reports from ERCOT Operations
Triggered Events
NERC initiated reviews?
Notes: These are all triggered, whatever happens leads to probing for violations. Often not otherwise defined as measurements – qualified staff, reserve capability, are typical
Triggered events are initiated by shift desk, reviewed and reported by Opn Support, then additional information may be requested by Compliance from MP’s. Reports seek to identify areas for improvement or followup, and may include compliance violations.
NERC may ask for review of events or measures, most should be in triggered events. Tag survey is one possibility.
Look for response from MP in a certain period.

## Slide 37: Sanctions
Letters and other notifications
Posting of violations at ERCOT and NERC
$$$ Financial Penalties $$$
  Simulation – last year total _______
  Repeat occurrences – higher sanction
  More severe – higher sanction
Disqualification from Ancillary Services
Notes: Corrective action and mitigation – first duty

## Slide 39
Notes: NERC page

## Slide 41: … the more they stay the same.