## Slide 1: Emergency Operations
Be Prepared
Notes: No intention of detailed critiquing of specific events or criticizing any organization’s response.
Simply to emphasize the importance of everyone’s role in emergency preparedness.
Give about a minute of questions for each picture

## Slide 2
NE
Blackout
Notes: Ask:
Anybody remember some lessons were taken from this event?
List briefly on white board, only need two or three

## Slide 3
R
i
t
a
Notes: Ask:
How about this one?
Any lessons learned here?
List briefly on white board, only a few.

## Slide 4
Katrina
Notes: Any lessons from Rita applied to Katrina?
How about new lessons from Katrina?

## Slide 6
T
M
I
Notes: Anyone know what was learned about emergency plans after Three Mile Island?

## Slide 7
Wichita Falls, 1979
Notes: How about this one?
Safe rooms

## Slide 8
May, 1980
Notes: How about this one?
Did people heed the warnings?
Was the magnitude of the event anticipated?
How was the response?

## Slide 9
Notes: How ready are you?

## Slide 10
No preparation needed here
Notes: Here was a big success.

## Slide 11
Plenty of supervision
Notes: Do you suppose these folks debriefed and critiqued this event for lessons learned?
Do you suppose they developed a new plan for the future?

## Slide 12: Objectives
List 3 benefits to be derived from adequate Emergency Operation preparation.
Compare the expense of preparation for an event to the expense of recovery from that event.
List 3 things to do when making preparations for Emergency Operations
Notes: Review the objectives

## Slide 13: Benefits of preparation
Personnel (Right people)
Equipment readiness (Right stuff)
Procedures (Right instructions)
Facilities (Right places)
Public/customer perception
Identification of preventive measures
Notes: Personnel (Right people in the right places)
proper organization defined
quicker response
more likely to be correct
proper support personnel identified
Examples:
Equipment readiness
Right stuff in the right place
Examples:
Procedures
Correct, minimum activities pre-identified
Tested and validated
Examples:
Facilities (Right places)
Adequate to support resources and activities
Examples:
Public/customer perception
You’re a good guy if the impact is minimized
Bad things happen, but they seem worse if mishandled
Examples:
Identification of preventive measures

## Slide 14: Expense Comparison
What does preparation cost?
What does lack of preparation cost?
Notes: Cost will be different for everyone
Basic requirements:
  Time for knowledgeable, competent personnel to discuss probable emergencies in great detail
What if…?
Leave no stone unturned
positive thinking vs Murphy’s Law
  “What you can conceive, you can achieve”
  “What can go wrong, will go wrong at the worst possible time and under the worst possible circumstances”
never discount possibilities
  Examples: TMI, Katrina/Rita, Mt. St. Helens, Titanic, Various blackouts
Cost of recovery?
  Other than money?
  What will need replacing, repairing?
  Who will be around to help?
  Who will be required?

## Slide 15: To Do List
Things to consider
What do I need to do?
Notes: What to consider:
Situational Awareness
Probabilities
What do you control?
What can you influence?
What can be simplified?
Preparation expense
Question everything!!
Look for opportunities for preventive actions
All requirements
Communication
Internal
External
Public
Personnel (availability, backups, travel limitations)
First responders
Support (food, water, waste control)
Recovery
Training
Facilities
Primary
Backup
Testing
Equipment
Primary
Backup
Testing
Preventive Maintenance
Outside coordination and support
Training
Procedures
Practice (exercises, drills)

## Slide 16
Practice
Feedback
Plan
Notes: This is a simple diagram. Not in your book.
You can make it as complex as you like. Expand the various parts to a greater level of detail.
This is the essential approach you have to take to any activity at which you intend to succeed.

## Slide 17: Summary
http://www.ercot.com/mktrules/compliance/nerc/eop/index.html
http://safetynet.smis.doi.gov/ERPart.htm
Notes: One attitude:
  “So many possible problems, you can’t plan for all of them, so just let good operators figure it out when it happens.”
Another approach:
  “Assume the worst, and you’ll never be disappointed.”
Emergency preparedness is part of everyone’s job.
These are a couple of links that provide useful information.
Google on “emergency response planning”, “emergency preparedness”, etc. you will find hundreds of sources of information.

## Slide 18: Emergency Operations
Be Prepared