## Slide 1
FERC, NERC and ERCOT
ERCOT Operator Training Seminar
2006
Sam Jones
ERCOT COO

## Slide 2
FERC And NERC Activities
2005 EPAC/FERC/ERO Implementation
NERC Standards Development and Testing
NERC Readiness Audits
NERC Operator Training and Re-certification

## Slide 3
2005 Energy Policy Act
The 2005 Federal Energy Policy Act is very comprehensive – in the area of electricity it is definitely intended to provide:
Increased Bulk Electric System reliability
  Establishes an Electric Reliability Organization (ERO) to develop reliability standards for FERC approval that will be strictly enforced
  Provides for the delegation of Regional development, compliance determination and enforcement of those standards to ERO and FERC approved Regional Entities (REs)
  Requires the ERO to periodically assess the reliability of the grids
Upgrades to the Bulk Electric System infrastructure
  Determine “corridors of national interest” to reduce significant congestion
  Provide increased access to rights of way on federal land
  ERCOT exempted from this section of the act

## Slide 4
Electric Reliability Organization
One ERO will be certified for the 48 states – Canadian provinces are expected to adopt similar requirements
The ERO is required to develop necessary reliability standards to be approved by FERC and strictly enforced with penalties
All standards adopted through the ERO process will be federally enforceable
Current Version 0 standards will most likely be the starting point, along with all other standards currently approved through the NERC process since adoption of Version 0
The ERO can delegate these duties to a Regional Entity that meets certain strict requirements and is approved by NERC and FERC
NERC expects to be certified as the ERO and is preparing a filing to FERC to that end

## Slide 5
Regional Entities
Regional Entities (RE) will be created through delegation of ERO authority in a Delegation Agreement – it will be a pro-forma agreement with individualized, FERC approved, Regional attachments and will incorporate “Rules of Procedure”
  The Rules of Procedure specify all of the required activities between the ERO and the RE
Attachments will be negotiated by each Region and will include:
  Governance and Rules – the final FERC ERO/RE certification rule and related discussion, issued February 6, and discussions with FERC staff strongly indicate it will be in ERCOT’s interest to create a separate, independent entity to perform the RE function – ERRO
    Strong independence required
    FERC review of “entire annual budget for statutory and non-statutory activities of each Regional Entity—including the RE’s business plan”
    ERCOT Protocols kept separate from FERC approved and enforced NERC Standards

## Slide 6
Delegation Agreement - Cont
Attachments (continued)
  Compliance Process – must be acceptable to ERO and FERC – ERCOT staff will meet with the NERC Board of Trustees Compliance Committee on March 15th to describe the current ERCOT compliance program
  Enforcement/Penalty Process – will be developed to administer the final ERO/FERC adopted matrix – currently, penalty basis being discussed
  Regional Standards Development Process – it appears that ERCOT can duplicate its current PRS process under ERCOT RE leadership to meet the requirements for such process to be open and fair
    Not many Regional Standards are expected in ERCOT
    Most will be variances from ERO standards as needed by ERCOT
  Funding – ERO and RE budget approved by FERC
    All ERO and ERCOT RE funding from ERCOT will be sent to the ERO from the ERCOT ISO fee
    The ERCOT RE will then be funded from that submittal by the ERO

## Slide 7
Time Schedule
NERC will file for ERO certification about April 4, 2006
Regional Entities should be in the process of preparing to file and comply
NERC anticipates certification in the June – July time period
Regional Entities should be prepared to file when the ERO is certified, but not necessarily be in compliance at the time of its filing
The ERO/RE structure should be completed and fully operational on 1/1/07
Funding of NERC and Regions will continue as is for 2006
The 2007 ERO/RE budget process will begin in March, 2006, when information is sent to the Regional Entities requesting their annual budget filing

## Slide 8
NERC Standards
NERC is currently drafting new and revising existing standards
  These standards include both operating and planning functions
  Several of the standards under development are being field tested prior to being voted on to determine if they successfully accomplish the desired result
    Balance resources and demand
    Coordination of generator voltage regulator controls with unit capabilities and protections
    Generator performance during frequency and voltage excursions
    Verification of generator excitation systems and voltage control model data
    Verification and status of generating unit frequency response
  Compliance with approved ERO standards will be mandatory for all owners, operators and users of the Bulk Electric System once the ERO is certified and the ERO process is implemented – probably by 1/1/07

## Slide 9
Balance Resources and Demand
NERC is currently field testing this standard
  Testing began in a small area of the Eastern Interconnect last fall
  Larger Balancing Authorities were added as experience was gained
  Results are good to date in the East
  ERCOT joined in the field test beginning February 1, 2006
If approved, it will replace the current CPS2 and DCS standards
Three sets of limits are contained in the draft standard
  Frequency Trigger Limits
    FTLLow = 59.932 Hz, FTLHigh = 60.068 Hz
  Frequency Abnormal Limits
    FALLow = 59.622 Hz, FALHigh not set at this time
  Frequency Relay Limits
    FRLLow = 59.300 Hz, FRLHigh not set at this time

## Slide 10
Balance Resource and Demand
Frequency Trigger Limit details
  1-minute average frequency outside limit is a “failed” minute
  Tolerance is tighter on one side during time error corrections
  30 consecutive “failed” minutes is a violation
Frequency Abnormal Limit details
  30 consecutive seconds outside limit is a violation
ERCOT historical data analysis
  Frequency Trigger Limit Standard violations
    6/13/2003 16:27 to 17:13 (Above FTLHigh)
    10/31/2004 2:03 to 2:34 (Above FTLHigh)
    4/23/2005 2:12 to 2:44 (Above FTLHigh)

## Slide 11
Participate
It is important for ERCOT market participants who are subject to all present, proposed and future standards to participate in the NERC standards process – the penalties will be mandatory and real!

## Slide 12
Readiness Audits
The NERC Compliance Group is now conducting Readiness Audits of entities with operating responsibilities for the BES – This audit includes:
  Operating tools
  Training
  Emergency procedures
  Facilities
  Authority to take action
ERCOT Operations was audited in October, 2005
  The audit team reported no significant findings – a good report
  Some recommendations were made by the audit team
NERC now intends to audit transmission owner control centers in ERCOT – a schedule for these audits will be developed in the near future

## Slide 13
NERC Operator Training
and Re-certification
NERC is currently conducting a study of operator training needs and will develop an operator training standard – this effort is in the early stages
Currently certified operators can re-certify through testing
PCGC has approved re-certification by receiving a required number and type of training CEHs. Transition proposal is to allow testing and CEH re-cert until 2009, then make CEH re-cert the only option – the program is still being developed
Initial operator certification will continue to be through testing

## Slide 14
?