Commission Staff has requested some informal feedback from the market pertaining to project #31418 – Advanced Metering.

General Discussion:

Listed below is a general structure for data exchange for the commission staff. The group believes the details should be left to an ERCOT working group or task force.

- Provide input/recommendations on the file structure and data exchange format for metering information available from advanced metering networks.

The group reached consensus on using a “web based “automated file transfer with a uniform data exchange format across TDSP’s.  The data exchange format is intended to provide the capability for addressing data exchange for the CR, a third party and the individual customer. Current rules assign ownership of the data to the customer and these data exchanges must adhere to current Market and PUCT rules. Examples of some formats are below.

  - Scope is limited to the file structure and data exchange format for information exchange outside of the current market transactions required to support ERCOT settlements.

    - Types of data transfer

      - Text files

      - CSV files

      - XML document format

      - EDI

      - Current ERCOT API technology in standard XML format

        - Group supports this for a minimum, but is not saying that other methods can not be used

    - Multi-speak initiative – This is an example of an industry initiative to reach standards for file transfer and data structure.

      - uses xml document format

      - web services for data transfer

      - Customer access through internet to collected data

  - Options to provide feedback on:

    - Assume the REP has access to the meter, similar to large customers where the REP currently has read access for IDR data.

Need some feedback from the commission staff on exactly what they are looking for in this area.  Is this strictly on the file structure format, a list of what data the REP wants to obtain from the meter, a determination if the REP wants “direct” access to the meter, the technical feasibility of direct access, or other?  This discussion was placed on hold pending feedback from the Commission Staff.

Direct access by third parties to the meter for advanced metering networks would be prohibitively expensive.

REP would like the ability to perform a credit related disconnect / re-connect.

Direct access to a meter may eliminate some systems.

Concerns about liability introduced for a third party to have “direct” access to networks.

Where do customer protection rules come into play if third parties have “direct” access to meters/networks?

TDSP should be responsible for meters and networks. REP’s are looking for timely data at an affordable price.

There is concern that true direct access to the meter by multiple parties raises significant issues but it is important that the TDSP’s make available the capabilities of advanced metering networks to the REP’s. (need cost versus capabilities dialogue)

The REP is looking for access at the system level where the REP can communicate across the network with messages to the end use customer or retrieve information from the meter.  Is the advanced metering network the medium for this communication?

      - Desire was expressed for on demand / real time access to the meter

        - Concern was raised that “most” systems currently utilize proprietary software to read meters

        - Option of requesting an on demand read from the meter through the TDSP.

        - Are there other software options to access on demand reads through some web based system into the proprietary systems?

        - Cost of real time access solutions?

        - Availability of technical solutions for real time access?

      - Access to network/data should be uniform across the TDSP’s

        - This is about access to the usage by a third party

          - Reading the meter directly

          - Obtaining information “on demand” from the TDSP

    - Assume that the TDSP is responsible for collecting this information from the network and the data will be made available to the market after it has been collected.

      - See discussion for question 1 above

    - Other?

      - Aggregators or other service providers the customer authorizes to have access

      - Will all geographic areas require the same functionality to support REP offerings?

- Provide input/recommendations on the market expectations for the frequency of data collection from advanced metering networks. (hourly, daily, weekly, monthly)

Minimal discussion at the May 15th meeting

  - Desire was expressed for on demand / real time access to the meter

    - Functionality capable for 15 minute interval data or current ERCOT settlement intervals as an option.  Not required for all customers but required upon request.

  - Costs associated with more granular data collection to all market participants

  - Costs associated with data storage to all market participants

  - Potential for basic cost of a minimum read frequency being supported by the “TDSP” and requests above this frequency would be at a charge to the requestor

  - Daily consumption reads at a minimum

  - Weekly reads with daily consumption

  - Monthly

- Provide input/recommendations on the market expectations for data granularity from advanced metering networks. (15 minute, , hourly, daily, weekly, monthly)

General Discussion:

The group has consensus that, at a minimum, for residential customers the data granularity required is daily consumption data with the functionality to go to hourly data to support TOU offerings.

The group has consensus that, at a minimum, for C&I customers the data granularity required is daily consumption data with the functionality to go to hourly data to support TOU offerings and  fifteen minute data to support the IDR threshold in the ERCOT Market.

  - Information for REP billing

    - Current market

      - Support of TOU rates (functionality)

        - TOU buckets in the meter

          - some advanced metering networks do this in the network but not in the meter

      - Current ERCOT settlement interval

    - Future offerings (be specific in general terms)

      - Real time pricing

        - Critical peak pricing with dynamic TOU

      - Generator settlement intervals

      - Flexibility to change data granularity

        - from monthly data to settlement interval required for that customer

        - One REP would like to have the capability of fifteen minute data available for all meter points.

  - Information for ERCOT Settlements

    - Current market

      - Support of TOU rates (functionality)

    - Future market enhancements (be specific)

      - Weekly data submittals for settlements – requires Protocol changes

      - Flexibility to change data granularity (maybe just for some customer level but not necessarily all customers)

        - from monthly data to settlement interval required for that customer

      - Real time pricing

        - Critical peak pricing with dynamic TOU

      - Capability to change settlement intervals due to changes in ERCOT Protocols.

- Provide input/recommendations on the market expectations for the minimum functionality expected from advanced metering networks.

Minimal discussion at the May 15th meeting

  - Basic advanced functionality for all metering points

    - Remote reads for billing metrics

    - Ability for reads more often that once a month – Discussion revolved around the following options

      - Daily

      - Weekly

      - On demand

      - Other

    - Outage detection

    - Tamper alarms

    - Security

    - What minimum level of data granularity will be needed for all metering points?  Answered above in consensus recommendation for question number 3.

  - Optional advanced functionality based on request (is this for any or some?)

    - Is there an expectation that the advanced metering network provide price signals or other load control functions?  Two way communications to the customer?

    - Prepaid metering

    - Remote connect and disconnect

    - Power Quality

    - What level of data granularity will be available upon request?

  - Basic System requirements (do we need to designate this?) (ANSI C12.22 may address this issue)

    - Meter to ESI ID identification upon read

    - Security

  - Should minimum functionality be based upon the customer class? Other?

  - Will all geographic areas require the same functionality to support REP offerings?

  - Will the choice of granularity impact data submittals required by Protocols?

- Other / Parking Lot

  - If different technology solutions are deployed in different geographic areas, will there be a mechanism where a REP can query the TDSP system to determine what technology was deployed for a customer / geographical region?

  - Ability to change the read cycle for a service delivery point.

  - Will End users need access to data without the use of special software?  What would the authorization process be?

  - Discussion on time synchronization for different networks and the associated time tolerance for IDR data.

  - Concern on data storage requirements to the TDSP for more granular collection of data for settlements and possibly for estimation of missing data

  - Need to define daily consumption based on market needs and technology limitations.  Is this a 24 hour period or midnight to midnight?