| PRR Number | 662 | PRR Title | Modify Ancillary Service Deployment Performance Conditions |
| --- | --- | --- | --- |
| Date |  | 4/20/06 |  |
| Submitter’s Information |  |  |  |
| Name |  | Jeff Healy |  |
| E-mail Address |  | jhealy@ercot.com |  |
| Company |  | ERCOT |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 |  |  |
| Additional Qualitative Information | 1 |  |  |
| Other | 1 |  |  |

Comments

ERCOT notes that any addition and/or change to the list of exceptions under Section 6.10.6, Ancillary Service Deployment Performance Conditions, should be reviewed and analyzed within the context of all its possible impacts on the Scheduled Control Error (SCE) performance compliance metric to ensure that the acceptable tolerances are still appropriate.

In reference to new Section 6.10.6(5), ERCOT notes that this exception is applicable to all performance metrics, including 6.10.5.4, Responsive Reserve Services Performance Monitoring Criteria.  ERCOT recommends removing this item.

In reference to new Section 6.10.6(7), ERCOT notes that in many cases required testing can be scheduled by the Qualified Scheduling Entity (QSE) and should not affect the SCE.  ERCOT is concerned that the available amount of time to perform certain tests prior to becoming commercially available is not well defined and the opportunity could exist to abuse this exemption.  Specific language needs to be added to address any legitimate testing that cannot be scheduled.

In reference to new Section 6.10.6(8), ERCOT disagrees that Uncontrollable Renewable Resources (URR) should be exempt from the performance metric.  URRs should be obligated to adhere to their schedules to the maximum extent feasible.  ERCOT recommends removing this item and addressing the issue of URRs experiencing difficulty passing SCE performance by widening the tolerance for URR to an achievable standard.  ERCOT uses the information provided by URR QSE for multiple processes and would like to ensure that the information continues to be as accurate as achievable.

Revised Proposed Protocol Language

None