## SummerSummary
2005 Report on the Capacity, Demand, and Reserves in the ERCOT Region | [7 empty] | 2005 Report on the Capacity, Demand, and Reserves in the ERCOT Region
Summer Summary | [7 empty] | Summer Summary
Load Forecast: |  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010
| Total Summer Peak Demand, MW | 60475 | 62148 | 63132 | 64245 | 65097 | 66201
| less LAARs Serving as Responsive, MW | 1150 | 1150 | 1150 | 1150 | 1150 | 1150
| less LAARs Serving as Non-Spin, MW | 0 | 0 | 0 | 0 | 0 | 0
| less BULs, MW | 0 | 0 | 0 | 0 | 0 | 0
| Firm Load Forecast, MW | 59325 | 60998 | 61982 | 63095 | 63947 | 65051
Resources: |  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010
| Installed Capacity, MW | 0 | 0 | 0 | 0 | 0 | 0
| Capacity from Private Networks, MW | 0 | 0 | 0 | 0 | 0 | 0
| Wind Generation, MW | 0 | 0 | 0 | 0 | 0 | 0
| RMR Units under Contract, MW | 0 | 0 | 0 | 0 | 0 | 0
| Operational Generation, MW | 0 | 0 | 0 | 0 | 0 | 0
| Asynchronous Ties, MW | 0 | 0 | 0 | 0 | 0 | 0
| Switchable Units, MW | 0 | 0 | 0 | 0 | 0 | 0
| Mothballed Units, MW | 5645 | 7215 | 7215 | 7215 | 7215 | 7385
| Planned Units with Signed IA, MW | 0 | 0 | 0 | 0 | 0 | 0
| Total Resources, MW | 5645 | 7215 | 7215 | 7215 | 7215 | 7385
| less 97.1% Existing Wind Generation, MW | 0 | 0 | 0 | 0 | 0 | 0
| less 97.1% Planned Wind Generation, MW | 0 | 0 | 0 | 0 | 0 | 0
| less Switchable Units Unavailable to ERCOT, MW | 165 | 0 | 0 | 0 | 0 | 0
| less Mothballed Units Unavailable, MW | 5645 | 6630 | 5779 | 5345 | 5259 | 5640
| less 50% of Asynchronous Ties, MW | 0 | 0 | 0 | 0 | 0 | 0
| less Retiring Units, MW | 0 | 0 | 0 | 0 | 0 | 0
| Resources, MW | -165 | 585 | 1436 | 1870 | 1956 | 1745
| Reserve Margin | -100.3% | -99.04% | -97.68% | -97.04% | -96.94% | -97.32%
(Resources - Firm Load Forecast)/Firm Load Forecast
| "High" Reserve Margin (all Mothballed Units return) | -100.3% | -88.17% | -88.36% | -88.56% | -88.72% | -88.65%
| "Low" Reserve Margin (no Mothballed Units return) | -100.3% | -100% | -100% | -100% | -100% | -100%