## SummerSummary
2005 Report on the Capacity, Demand, and Reserves in the ERCOT Region | [7 empty] | 2005 Report on the Capacity, Demand, and Reserves in the ERCOT Region
Summer Summary | [7 empty] | Summer Summary
Load Forecast: |  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010
| Total Summer Peak Demand, MW | 60475 | 62148 | 63132 | 64245 | 65097 | 66201
| less LAARs Serving as Responsive, MW | 1150 | 1150 | 1150 | 1150 | 1150 | 1150
| less LAARs Serving as Non-Spin, MW | 0 | 0 | 0 | 0 | 0 | 0
| less BULs, MW | 0 | 0 | 0 | 0 | 0 | 0
| Firm Load Forecast, MW | 59325 | 60998 | 61982 | 63095 | 63947 | 65051
Resources: |  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010
| Installed Capacity, MW | 61931.8 | 61596.8 | 61596.8 | 61596.8 | 61596.8 | 61596.8
| Capacity from Private Networks, MW | 2850.8 | 2850.8 | 2850.8 | 2850.8 | 2850.8 | 2850.8
| Wind Generation, MW | 1423.6 | 1423.6 | 1423.6 | 1423.6 | 1423.6 | 1423.6
| RMR Units under Contract, MW | 1405 | 170 | 170 | 170 | 170 | 0
| Operational Generation, MW | 67611.2 | 66041.2 | 66041.2 | 66041.2 | 66041.2 | 65871.2
| Asynchronous Ties, MW | 856 | 856 | 1106 | 1106 | 1106 | 1106
| Switchable Units, MW | 2888 | 2888 | 2888 | 2888 | 2888 | 2888
| Mothballed Units, MW | 5645 | 7215 | 7215 | 7215 | 7215 | 7385
| Planned Units with Signed IA, MW | 0 | 1240 | 1620 | 3545 | 3545 | 4295
| Total Resources, MW | 77000.2 | 78240.2 | 78870.2 | 80795.2 | 80795.2 | 81545.2
| less 97.1% Existing Wind Generation, MW | 1382.3156 | 1382.3156 | 1382.3156 | 1382.3156 | 1382.3156 | 1382.3156
| less 97.1% Planned Wind Generation, MW | 0 | 512.688 | 881.668 | 1051.593 | 1051.593 | 1051.593
| less Switchable Units Unavailable to ERCOT, MW | 165 | 0 | 0 | 0 | 0 | 0
| less Mothballed Units Unavailable, MW | 5645 | 6630 | 5779 | 5345 | 5259 | 5640
| less 50% of Asynchronous Ties, MW | 428 | 428 | 553 | 553 | 553 | 553
| less Retiring Units, MW | 0 | 0 | 0 | 0 | 65 | 458
| Resources, MW | 69379.8844 | 69287.1964 | 70274.2164 | 72463.2914 | 72484.2914 | 72460.2914
| Reserve Margin | 16.95% | 13.59% | 13.38% | 14.85% | 13.35% | 11.39%
(Resources - Firm Load Forecast)/Firm Load Forecast
| "High" Reserve Margin (all Mothballed Units return) | 16.95% | 24.46% | 22.7% | 23.32% | 21.57% | 20.06%
| "Low" Reserve Margin (no Mothballed Units return) | 16.95% | 12.63% | 11.06% | 11.88% | 10.29% | 8.707%