| PRR Number | 608 | PRR Title | Improve Ancillary Service Performance Conditions |
| --- | --- | --- | --- |
| Date |  | July 13, 2005 |  |
| Submitter’s Information |  |  |  |
| Name |  | John Dumas |  |
| E-mail Address |  | jdumas@ercot.com |  |
| Company |  | ERCOT |  |
| Company Address |  | 2705 West Lake Drive Taylor, Texas 76574 |  |
| Phone Number |  | 512 248 3195 |  |
| Fax Number |  |  |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT |  |  |  |
| MARKET SEGMENT |  |  |  |
| Consumer |  |  |  |
| LSE: General, Including NOIE |  |  |  |
| LSE: CR & REP |  |  |  |
| QSE |  |  |  |
| Resource |  |  |  |
| TDSP |  |  |  |

Comments

ERCOT does not believe it is advisable to create an exclusion for those QSEs with a certain type of generation technology.  All QSEs are responsible for scheduling their energy in such a manner that they meet specified performance standards.  QSEs are also responsible for bidding with Resources that are capable of providing the energy in such a manner that meets the performance standard.

ERCOT suggests that QSEs bid in such a manner that the capacity available on duct burners will only be used when it is for a service that allows a  ten minute or longer ramping period (e.g., Balancing, Non Spin).

Revised Proposed Protocol Language