## Sheet1
Line Rf (1) | Statement Regarding Co-Optimization | Consensus at 5-10-06 mtg | For | Against | Potential Issue
AS Included in Co-Optimization
78 | Responsive Reserve Service (choosing to offer in) | yes |  |  | how to handle hydro units
79 | NSR Resources that are online (and which choose to offer in) | yes |  |  | accommodation for fast start units?
88-105 | Regulation should not be included in co-optimization | yes
Timing of Co-Optimization in Real Time
126 | During the Operating Period in the HA, HRUC runs first and then Co-Optimization | yes |  |  | May need to change the timeframe of Operating Period (or HRUC)--ERCOT concern about sufficient time for HRUC, notifications, COP Update, Co-Opt, notifications, (tememetry updates) all in HA.
118 | If required to consider 5-minute Co-Optimization, do not do concurrent with initiation of nodal market | yes
Energy Offer Curves in Co-Optimization
modify 145 | Use the most current energy offer curves (output schedules with associated energy schedules) being used in SCED--all available energy offer curves will be used in the Co-Opt. | yes
Bids and Offers for AS
add to paper | Offers are unit specific. Bids are also unit specific and all bids must be associated with a Resource (to understand which units are trading off). | yes
131 | "Up to” bids to buy all or a portion of a specified amount of capacity for a specified AS (this allows QSEs with an existing RRS or NRS resoponsibility to shift that responsibility to the purchased capacity). | yes
134 | Offer to sell RRS or NRS for all or a portion of a specified amount of capacity from a specific generation resource at or above a minimum offer price | yes
| Offers are permitted from Resources certified to provide RRS and/or NSRS. | yes
| Bids are permitted from QSEs with Resources that are scheduled to provide AS. | yes
| RUC Committed units cannot offer AS capacity into the Co-Optimiz Market. (There is a parallel current protocol provision that RUC committed units cannot supply AS.) | yes
| Use same offer criteria as applies in DA will apply in Co-Opt. (Bid criteria slightly different in that need link to Resource) | yes
Co-Optimization Process
| ERCOT to develop list of exemptions for when co-optimization would not be required (e.g. EECP, nonconvergence) | yes
| Recommend Co-Optimization based on SCED as designed for Texas Nodal | yes
143 | RT co optimization auction will be cleared by using an off line version of the RT SCED process | yes
149 | Load forecast for Co-Opt is the same as that used in the HRUC for the Operating Hour | yes
149 | Load distribution across the network model used in the RT co-optimization process shall be the same as the distribution used in the HRUC for the Operating Hour | yes
modify 153 | SCED process is executed as described in Protocol Section 6.5.7.3(5)(a) with the exception that no generation ramp constraints will be active. | yes
155 | The output from step 1 of the offline SCED produces a set of reference LMP for use in determining the mitigated offer curves for SCED step 2 | yes
159 | Step 2 of the SCED: The objective function for this step of the RT co optimization will be the minimization of the total cost of incremental energy, based on the mitigated energy offer curves used in step 2 of the SCED process, plus the total cost of the AS bids and offers. In this step all power balance constraints and flow constrains as required by Protocol Section 6.5.7.3(5) (b) are active. Bids cleared for responsive will equal offers cleared for Responsive, and bids cleared for NSRS will equal cleared offers for NSRS. | yes
| The look ahead period for Co-Opt is for the Operating hour. | yes
| The same network topology (updated network operations model) as is used in HRUC will be used for Co-Optimization. | yes
| Treat wind forecast the same as it is handled in RUC. | yes
| In the event that a RT co optimization process does not converge to a solution; ERCOT shall provide notice to the market and the existing AS assignments will be continued for the Operating Hour. | yes
Posting
add | Publish MW of capacity procured in each co-optimization and the basepoints resulting from each Co-Optimization execution—in real time. | yes
Communication
add | Results should be communicated through telemetry and XML (need XML to flow to settlements, and telemetry to update HASLs | yes
Payment for Solution
| The shadow price for the constraint that requires cleared bids and cleared offers to be equal, for each individual ancillary service--RRS and NSR--sets the MCPC for RRS, and NSR, respectively. | yes
| ERCOT will include the RT co optimization in RT settlement. | yes
Potential Impact of Co-Optimization
| On the whole, the task force concluded that an implementation of RT co optimization may provide financial benefit to the market provided that (1) the implementation leverages the use of systems that are already required to operate the market (such as the RT two pass Security Constrained Economic Dispatch process), and (2) that implementation does not delay the start of the nodal market. If these provisions are not met, then a more detailed cost benefit analysis should be performed before making the decision on whether to implement RT co optimization at a later date. | yes
Recommended Action for WMS
| That WMS endorse the report and request that ERCOT review the proposal and discuss the proposal with vendors. Further, request ERCOT to provide vendor feedback on the proposal to WMS. | yes