## Slide 1: Replacement Reserve Update
Brandon Whittle
Real-Time Market Operations Lead

## Slide 2: Outline
Data Review
  Unit Commitment Summaries
  RPRS Pricing Summary
Observations
  Thoughts on Performance
  Order of Operations
Current Issues
  Non Spin Resources
  Jointly Owned Units
  Zonal Congestion
Requested WMS Action

## Slide 3
Data Review
Unit Commitment Summaries
  By Hour
    3-21-06 through 5-7-06
    3-21-05 through 5-7-05
  By Month, 1-2005 through 4-2006
Pricing Summary

## Slide 4: Unit Commitment Summary by Month
Notes: Several major planned outages have contributed to the overall rise in procurments.

## Slide 5: Unit Commitment Summary by Hour, 2006

## Slide 6: Unit Commitment Summary by Hour, 2005

## Slide 7: RPRS Pricing Summary
Case | $/MWh | # of Intervals
MCPC>0 | $102.23 | 23
MCPC all | $2.13 | 1104
MAX MCPC | $386.92 | 1

## Slide 8
Observations
Thoughts on Performance
Order of Operations

## Slide 9: Thoughts on Performance
Timing
  RPRS Market Engine has been performing well
  Delays have been observed when Resource Plans are not submitted by 16:00
Operations Performance
  RPRS has proved beneficial in selecting constraints in two ways
    Constraints not identified in off-line studies have been found, increasing security in ERCOT
    Outages believed to require procurement in off-line studies have been found not to require capacity by RPRS, reducing costs
  RPRS solutions assume Resources will be dispatchable to the full extent of their capabilities; however, Local Balancing Energy may not be sufficient to solve similar constraints in Real-Time when full bids do not exist.

## Slide 10: Order of Operations
Why don’t we always see procurement in Step 2 when ERCOT is likely short of capacity?
  Procuring capacity in Step 1 may reduce or eliminate the need for capacity procurement in Step 2.
Why not procure for system capacity before Local Congestion, this would allow for the MCPC to more closely relate to the day-ahead capacity deficit?
  Procuring for Local Congestion will always solve some capacity deficiencies. Procuring for capacity will not always solve Local Congestion leading to additional need for capacity. Protocols §6.6.3.2.1 (3)
Could procurements be made in Step 1 which also solve Zonal constraints?
  Yes, all contingencies are evaluated in Step 1 for Local Congestion, and these procurements could eliminate the need for zonal procurements based on a zonal limit (OC1).
Can ERCOT post Step 1 and Step 2 procurements separately?
  This has been proposed in PRR 659.

## Slide 11
Current Issues
Non-Spin Resources
Jointly Owned Units
Zonal Congestion

## Slide 12: Non Spin Resources
Can RPRS procure a Resource which is providing Non-Spin Reserve Service?
  Yes, since Non-Spin Reserve Service is scheduled by zone and not Resource-specific, RPRS cannot determine which Resources not to procure. The Non-Spin flag in the Resource Plan is most commonly used to indicate which Resources are capable of providing NSRS.
What should a QSE do when there is a conflict?
  QSE should notify the ERCOT operator of conflicting instructions. ERCOT operator will inform the QSE which instruction to follow. ERCOT operator may issue a VDI if NSRS is deployed but the resource has already been deployed Balancing Energy and its capacity is exhausted as a result of RPRS procurement. Protocols §5.4.4 (3)

## Slide 13: Jointly Owned Units
How does RPRS procure a Jointly Owned Unit?
  RPRS, like other ERCOT Ancillary Services, does not differentiate between a Jointly Owned Unit and a non-Jointly Owned Unit; i.e. RPRS has the capability of procuring one Jointly Owned Unit without procuring the associated Jointly Owned Unit.
Has this happened?
  Yes, it has.
What should a QSE do if this happens?
  QSE should contact the ERCOT Operator.

## Slide 14: Zonal Congestion
Is Zonal Congestion based on ensuring Zonal Generation is sufficient to meet Zonal Load Forecast?
  No. Zonal Congestion in RPRS is based on calculated flow across CSCs, limited by an Operational Constraint (OC1).
Has ERCOT used Zonal Limits to Procure Capacity for Zonal Congestion?
  No. ERCOT has yet to determine an appropriate method for setting the OC1 (Zonal Limit) for use in Step 2.
Does ERCOT believe that setting an OC1 in the future is possible?
  At this time, ERCOT cannot determine how to set the Zonal Limit. The difficulty lies in the continually changing relationship between Average Weighted Zonal Shift Factors (used in Zonal analysis) and the actual effects of Resource-specific dispatch.
Is this similar to the problem in setting an OC1 in Real-Time?
  Yes; however, in Real-Time, ERCOT can alter the OC1 every 15 minutes after observation.
Has ERCOT had to procure capacity for reasons which could be considered zonal?
  Yes. ERCOT has traditionally used OOMC on rare occasions when capacity is needed for expected Zonal Congestion. With the advent of RPRS, these Resources have been chosen in Step 1 of RPRS which pays based on generic costs, as does OOMC.

## Slide 15
Requested WMS Action

## Slide 16: Requested WMS Action
Should the Non-Spin issue be addressed?
Should the Jointly Owned Units issue be addressed?
Should the Zonal Congestion issue be addressed?
ERCOT recommends a small group of Market Participants such as a task force to work through these issues and propose cost-effective resolutions.
ERCOT Actions
  Develop Market Bulletin to Describe Current Issues
  Support Market Participants in Solutions Development

## Slide 17
The End