## Slide 1: Combined Cycle RPRS Task Force Report
WMS
May 17, 2006

## Slide 2: Issues Review
Provide consistency between OOMC and Local RPRS generic startup payment formulas
  Discussed at March WMS
  PRR to be filed
Resolve inconsistency between modeling of CCCTs in RPRS studies and reality
  RPRS sees each unit in a CCCT station individually with a CCCT generic cost
  RPRS can select CCCT units individually and most cannot operate the units individually
CCCT Generic Startup Cost Issues
  Startup costs are currently paid for each CCCT unit that is procured (e.g., if all units of 2 on 1 are procured, the startup payment is paid to each CT and to the ST
  Some questions about the appropriateness of the CCCT Startup Fuel payments and the definition of “hot” and “cold” start times. The Task Force is not recommending changes at this time, but initial data indicate that some changes may be in order. Additional data may be useful in helping market participants ascertain whether a PRR should be initiated.

## Slide 3: Modeling vs. Reality
Given that the RPRS engine cannot recognize CCCT configurations, a proxy representation was developed for the DA for CCCTs that are shown offline and available
The developed approach will provide increased consistency in the RPRS modeling with the actual operational capbilities and economics of CCCTs

## Slide 4: Proxy CCCT Approach
For CCCTs that are shown as offline and available in the DA:
  The operational parameters for each CT should be represented in the Resource Plan as the CT + 1/x of the ST, where x = # CTs
  The ST should be shown as unavailable in the Resource Plan
If a CCCT is procured for RPRS or OOMC:
  The operational parameters for each CT procured and the ST should be adjusted in the Resource Plan consistent with the actual operating capabilities of the units selected.
  The amount of the ST selected is equal to y * (1/x), where y is the number of CTs selected by ERCOT (or self-committed) and x is the total number of CTs

## Slide 5: Example: 2 on 1

## Slide 6: Sample CCCT Startup Data

## Slide 7: ERCOT Issues
ERCOT has indicated initial agreement on the proposed solution as it pertains to correcting issues with RPRS modeling
However, ERCOT has raised some concerns with respect to VSAT modeling
These concerns may be addressed through coordinating the timing associated with the proposed RPRS solution