## top 15
Local Congestion Management Required
Contingency | Congestion Element | January | February | March | April | May | June | July | August | September | October | November | December | total
Gibbons Creek - Bryan - Greens Prairie 138kV | TAM - Dansby 138kV |  |  |  | 14 | 28 | 30 | 31 | 28 | 30 | 20 | 7 |  | 188
Marion - Hill Country - Skyline 345kv | Schertz -Parkway 138kv | [5 empty] | 1 |  | 21 | 22 | 20 | 17 | 2 | 83
Marion - Zorn - Clear Spring 345kv | Zorn - Seguin 138kv |  |  |  |  | 1 | 9 | 4 |  | 15 | 17 |  | 5 | 51
Lytton Spring - Zorn & Austrop - Zorn 345kV | Canyon LCRA - San Marcos 138kV | [5 empty] | 11 | 13 | 8 | 7 | 4 |  | 1 | 44
Austrop - Sandow 345 kV | Austrop 345/138 kV Auto | 9 | 1 |  |  | 15 |  |  |  | 6 |  |  |  | 31
Dansby - Hearne 138kV | Hearn-Hearne Switch 69kV | [10 empty] | 20 | 9 | 29
La Palma - Rio Hondo 345kV | La Palma - Rio Hondo 138kV |  | 1 |  |  | 5 | 2 | 3 | 10 | 6 |  |  |  | 27
Skyline - Marion - STP 345kV | Schertz-Parkway 138kV | [9 empty] | 1 | 20 |  | 21
Frontera - South McAllen 138 kV | North McAllen - West McAllen 138 kV |  |  | 3 |  |  | 7 | 4 | 6 |  |  |  |  | 20
Hill Country - Marion - STP 345 | Marion - Skyline 345 |  |  |  |  | 9 | 7 |  | 4 |  |  |  |  | 20
Lytton Spring - Zorn & Austrop - Zorn 345kV | Luling - Zorn 138kV |  |  |  |  | 14 | 5 | [6 empty] | 19
Sandow - Austrop 345kV | Austrop Auto | [5 empty] | 19 | [6 empty] | 19
North Denton 138/69kv auto | North Sanger - Spring 138kV | [7 empty] | 6 | 9 |  |  |  | 15
Odessa - Moss 138kV | Odessa - Huntsman 138kV |  |  |  |  | 2 | 13 | [6 empty] | 15
Uvalde - Hamilton 138kv | Asherton - W. Conoco 138kV | 3 | 1 |  |  |  | 1 | 9 | [5 empty] | 14
Notes:
Blue numbers = RAP in place
Green numbers = outage related

## Sheet1
Contingency | Congestion Element | January | February | March | April | May | June | July | August | September | October | November | December | total
Gibbons Creek - Bryan - Greens Prairie 138kV | TAM - Dansby 138kV |  |  |  | 14 | 28 | 30 | 31 | 28 | 30 | 20 | 7 |  | 188
Marion - Hill Country - Skyline 345kv | Schertz -Parkway 138kv | [5 empty] | 1 |  | 21 | 22 | 20 | 17 | 2 | 83
Marion - Zorn - Clear Spring 345kv | Zorn - Seguin 138kv |  |  |  |  | 1 | 9 | 4 |  | 15 | 17 |  | 5 | 51
Lytton Spring - Zorn & Austrop - Zorn 345kV | Canyon LCRA - San Marcos 138kV | [5 empty] | 11 | 13 | 8 | 7 | 4 |  | 1 | 44
Austrop - Sandow 345 kV | Austrop 345/138 kV Auto | 9 | 1 |  |  | 15 |  |  |  | 6 |  |  |  | 31
Dansby - Hearne 138kV | Hearn-Hearne Switch 69kV | [10 empty] | 20 | 9 | 29
La Palma - Rio Hondo 345kV | La Palma - Rio Hondo 138kV |  | 1 |  |  | 5 | 2 | 3 | 10 | 6 |  |  |  | 27
Skyline - Marion - STP 345kV | Schertz-Parkway 138kV | [9 empty] | 1 | 20 |  | 21
Frontera - South McAllen 138 kV | North McAllen - West McAllen 138 kV |  |  | 3 |  |  | 7 | 4 | 6 |  |  |  |  | 20
Hill Country - Marion - STP 345 | Marion - Skyline 345 |  |  |  |  | 9 | 7 |  | 4 |  |  |  |  | 20
Lytton Spring - Zorn & Austrop - Zorn 345kV | Luling - Zorn 138kV |  |  |  |  | 14 | 5 | [6 empty] | 19
Sandow - Austrop 345kV | Austrop Auto | [5 empty] | 19 | [6 empty] | 19
North Denton 138/69kv auto | North Sanger - Spring 138kV | [7 empty] | 6 | 9 |  |  |  | 15
Odessa - Moss 138kV | Odessa - Huntsman 138kV |  |  |  |  | 2 | 13 | [6 empty] | 15
Uvalde - Hamilton 138kv | Asherton - W. Conoco 138kV | 3 | 1 |  |  |  | 1 | 9 | [5 empty] | 14
Lytton Spring - Zorn & Austrop - Zorn 345kV | Canyon LCRA - Rohr 138kV |  |  |  |  | 3 |  | 1 | 7 |  | 2 |  |  | 13
Salem 345/138kV Auto | Fayette Plant - Fayetteville 345kV |  |  |  |  | 12 | [7 empty] | 12
Heights - Freeway Park 138kV | Heights - PH Robinson 138kV |  | 5 | 5 |  | 1 | [7 empty] | 11
Vernon - Lake Pauline 138kV | Chilicothe - Vernon 69kV | 2 | 4 | 1 |  | 4 | [7 empty] | 11
Frontera - South McAllen 138kV | North McAllen-West McAllen 138kV |  |  |  | 10 | [8 empty] | 10
Comanche Peak 1 & 2 | Uvalde - Asphalt Mines 138kV | [10 empty] | 3 | 7 | 10
Lewisville 345kV Auto | Carrollton NW - Lakepoint 138kV |  |  |  |  | 2 | 8 | [6 empty] | 10
Clear Spring & Marion - Zorn 345kV | Seguin Zorn 138kV | [10 empty] | 9 |  | 9
Dilley Switch - San Miguel 138kV | Derby - Pearsall 69kV |  |  |  |  | 6 |  |  |  |  | 1 | 2 |  | 9
Gibbons Creek - Twin Oak 345kV | Jewett - Watson Chapel 138kV |  | 3 | 3 |  | 2 | 1 | [6 empty] | 9
Marion-Skyline-STP 345kV | Schertz-Parkway 138kV | [11 empty] | 9 | 9
Menard 138/69 auto | Ballinger - Paint Rock 69kv |  |  | 4 | [5 empty] | 5 |  |  |  | 9
STP - Skyline & Hill Country | Blessing - Lolita 138kV |  |  | 1 |  | 3 |  | 3 |  | 1 |  |  | 1 | 9
WHCCS - Rocky Creek/CPSES – DCSES | Concord transformer | [9 empty] | 9 |  |  | 9
Sandow - Temple 345kV | Sandow 345kV auto | [6 empty] | 4 | 3 | 1 |  |  |  | 8
Sargent Rd. - Watermill Switch 345kV | Watermill 345/138kV Auto |  |  |  | 8 | [8 empty] | 8
North Edinburg - Rio Hondo 345kV | MV Weslaco-MV Heidelburg |  |  |  | 7 | [8 empty] | 7
Bates 138/69kV auto | North Edinburg - Moore Field 69kV | [5 empty] | 3 | 3 | 1 |  |  |  |  | 7
Garden Villa - Jefferson 138kV | South Channel - Jefferson 138kV |  |  | 7 | [9 empty] | 7
La Palma-Rio Hondo | Rio Hondo-Magic Valley | [9 empty] | 7 |  |  | 7
McNeil AEN - Decker Power 138kV | Decker - Sprinkle 138kV | [5 empty] | 2 | 5 | [5 empty] | 7
Somerset - Lytle 138kV | Leon Creek - Pleasanton 138kV |  |  |  |  | 1 |  | 6 | [5 empty] | 7
Austrop - Sandow 345kV | Gideon - Butler LCRA 138kV | [6 empty] | 2 | 1 | 1 | 1 |  | 1 | 6
North Edinburg - Bates 138 kV | Pharr MVEC - Polk Avenue 138 kV | 6 | [11 empty] | 6
Odessa 345/138kV 2H | Odessa 345/138kV 1H | [7 empty] | 6 |  |  |  |  | 6
Oklaunion | Stevenville-Lingeville 138kV | [11 empty] | 6 | 6
Trinidad - Watermill & TriCorner 345kV | Trinidad 345/138kV | [5 empty] | 2 | 4 | [5 empty] | 6
Bates - Frontera 138kV | Frontera - Sharyland 138kV |  |  |  | 5 | [8 empty] | 5
Ennis Switch - Desoto Switch 138kV | Sterrett -Waxahachie Pump 138kV | [5 empty] | 1 |  |  |  | 4 |  |  | 5
Greenville Steam T1 138/69kV #1 | Greenville Steam 138/69kV #2 | [7 empty] | 5 |  |  |  |  | 5
Marion - Hill country - Skyline 345kV | Hays-Kendall 345kV | [6 empty] | 5 | [5 empty] | 5
North Denton 138/69kv T1 auto | Denton Steam - 138/69kv AT1 | [7 empty] | 2 | 3 |  |  |  | 5
North Edinburg - Rio Hondo 345kV | Magic Valley Weslaco - Weslaco 138kV |  | 1 | 4 | [9 empty] | 5
North McAllen - North Edinburg 138kv | North Edinburg - MVEC NW Edinburg 138kv | [8 empty] | 5 |  |  |  | 5
Odessa EHV-Moss 345kV | Odessa EHV-Huntsman 138kV | [6 empty] | 5 | [5 empty] | 5
Stryker - Trinidad 345kV | Athens Sw - Athens Tap 138kV | [10 empty] | 4 | 1 | 5
Cico - Pipe Creek 138kV | Cico - Comfort 138kV |  |  |  | 4 | [8 empty] | 4
Coleto Creek - Kenedy Switch 138kV | Leon Creek -Pleasanton 138kV |  |  |  | 4 | [8 empty] | 4
Austrop transformer #1 | Austrop transformer #2 | [9 empty] | 4 |  |  | 4
Bates 138/69kV auto | Bates - Palm Hurst 69kV | [6 empty] | 1 | 2 | 1 |  |  |  | 4
Benbrook-Parker & Graham 345kV | Stevenville-Lingeville 138kV | [11 empty] | 4 | 4
Big Brown - Venus 345 kV | Watermill Switch to Cedar Hill Switch 345 kV | 4 | [11 empty] | 4
Centerville Road - Forney SW 345kV | Forney Sw - Duck Creek Tap 138kV |  |  |  |  | 3 |  |  | 1 |  |  |  |  | 4
Chamber - King & Cedar Bayou - North Belt | Cedar Bayou Auto AT2 | 2 | 2 | [10 empty] | 4
Clear Spring-Marion-Zorn 345kV | Seguin- Sequin West 138kV |  | 3 | 1 | [9 empty] | 4
Comanche Peak - Decordova & Wolf Hollow - Rocky Creek 345kV | Concord 345/138kV auto | [10 empty] | 4 |  | 4
Comanche Peak Units #1 and #2 | Asherton - West Conoco 138kV | [6 empty] | 3 |  | 1 |  |  |  | 4
Comanche Peak-Decordova & Wolf Hollow-Rocky Creek 345kV | Concord 345kV/138kV Auto | [7 empty] | 1 |  |  |  | 3 | 4
Dilley Sw - North Laredo 138kV | Asherton-North Laredo 138kV |  |  |  |  | 1 | [5 empty] | 3 |  | 4
Duke - Pharr Magic Valley 138 kV | McColl Rd - McAllen 138 kV |  | 4 | [10 empty] | 4
Holly - Airline 138 kV | Port Aransas - Mustang Island 69 kV | 2 | 2 | [10 empty] | 4
Lytton Springs-Zorn/Austrop-Zorn | Zorn transformer #1 | [9 empty] | 4 |  |  | 4
North Edinburg - Rio Hondo 345kV | MVEC Weslaco - MVEC Heidelburg 138kV |  |  | 3 | [8 empty] | 1 | 4
North Edinburg - Rio Hondo 345kV | South McAllen - Las Milpas 138kV |  |  |  |  | 1 | 3 | [6 empty] | 4
Odessa EHV - Moss Switch 345kV | Odessa - Huntsman 138kV |  |  |  | 4 | [8 empty] | 4
Pawnee - Lon Hill 345kV | San Miguel-Sigmore 138kV | [10 empty] | 4 |  | 4
Rio Hondo - LaPalma 345kV | LaPalma 345/138kV Auto |  |  |  |  | 3 |  |  |  | 1 |  |  |  | 4
Royce Switch - Forney Switch 345kV | Seagoville Switch 345/138kV Auto |  | 4 | [10 empty] | 4
Sargent Rd - Watermill 345kV | Norwood Sw 345/138kV | [6 empty] | 4 | [5 empty] | 4
Skyline - Marion & STP 345kV | Hill Country - Marion 345kV |  |  |  |  | 1 | 3 | [6 empty] | 4
Clear Spring - Marion - Zorn 345kV | Loop 337 - Comal 138kV |  |  |  | 3 | [8 empty] | 3
Falfurrias - North Edinburg 138kV | Alice - North Ella 69kV |  |  |  | 3 | [8 empty] | 3
Lytton Springs - Zorn & Austrop - Zorn 345kV | Zorn - Luling 138kV |  |  |  | 3 | [8 empty] | 3
Marion - Zorn & Clear Springs 345kV | Seguin - Seguin West 138kV |  |  |  | 3 | [8 empty] | 3
North Edinburg - Rio Hondo 345kV | South McAllen - Las Milpas 138kV |  |  |  | 3 | [8 empty] | 3
North Edinburg - Rio Hondo 345kV | Alberta Road Tap - Pharr MVEC 138kV |  |  |  | 3 | [8 empty] | 3
Allen - Renner & Plano Tennyson 345kV | Allen Switch - Plano Alma Road 138kV |  |  |  |  | 2 | [6 empty] | 1 | 3
Bates - Frontera 138 kV | Pharr MVEC - Polk Avenue 138 kV | 3 | [11 empty] | 3
Centerville - Forney 345kV | Lake Hubbard - Duck Creek Tap 138kV | [5 empty] | 3 | [6 empty] | 3
Duke #1 or #2 | Rio Hondo-MVEC/Burns | [10 empty] | 3 |  | 3
Eagle Pass - Asherton 138 kV | Uvalde - Asphalt 138 kV | 3 | [11 empty] | 3
Graham - Benbrook & Parker Sw 345kV | Stephenville-Lingleville 138kV | [10 empty] | 1 | 2 | 3
Greenville Steam T1 69kv | Greenville Steam T2 69kv Auto | [8 empty] | 3 |  |  |  | 3
Kendal 58AT2 345/138kV auto | Comfort - Raymond Baker 138kV | [7 empty] | 3 |  |  |  |  | 3
Kendall-Fredericksburg 138kV | Kendall - Comfort 138kV | [11 empty] | 3 | 3
Killeen Auto 345/138kV | Temple Switch - Temple South East |  | 3 | [10 empty] | 3
La Palma-Rio Hondo | South McAllen-Las Milpas | [9 empty] | 3 |  |  | 3
Loss of Comanche Peak Units 1-2 | Asherton - West Conoco 138kV | [7 empty] | 3 |  |  |  |  | 3
Marion 345/138kV Auto | Sequin - Zorn 138kv | [8 empty] | 3 |  |  |  | 3
Military Highway 138/69 T1 | Military Highway Transformer #2 | 1 | 2 | [10 empty] | 3
Morgan Creek-Eskota | Eskota transformer | [9 empty] | 3 |  |  | 3
Pharr - MVEC 138kV | North Edinburg-North Alamo 69kV |  |  | 3 | [9 empty] | 3
Sargent Rd - Watermill 345kV | Cedar Hill Sw Auto | 1 |  |  |  |  | 1 | [5 empty] | 1 | 3
Tenaska - Concord 138kV | Tenaska - Concord 138kV |  |  | 3 | [9 empty] | 3
Venus Switch - Everman Switch 345kV | Venus Switch - Webb 345kV |  |  |  |  | 3 | [7 empty] | 3
West Ennis - Sterrett 138kV | Trumbull 138/69kV auto |  |  |  | 3 | [8 empty] | 3
Allen Sw-Royse Sw-Monticello 345kV | Rockwall -Rockwall Tap 138kV |  |  |  | 2 | [8 empty] | 2
Big Lake - North McCamey Sw 138kV | Fort Lancaster - Illinois #4 69kV |  |  |  | 2 | [8 empty] | 2
Clear Spring-Marion-Zorn 345kV | Cico - Comfort 138kV |  |  |  | 2 | [8 empty] | 2
Ennis West - Sterret 138kV | Trumbull 138/69kV Auto |  |  |  | 2 | [8 empty] | 2
Forney-Elkton & TriCorner 345kV | Watermill - Cedar Hill 345kV |  |  |  | 2 | [8 empty] | 2
Graham-Sweetwater / Abilene Mulberry Creek | Graham - Murray TU 138kV |  |  |  | 2 | [8 empty] | 2
Morgan Creek-Odessa 345kV | Fort Lancaster - Illinois #4 69kV |  |  |  | 2 | [8 empty] | 2
Allen - Renner & Plano Tennyson 345kV | Allen Switch - Plano Parker Road 138kV | [5 empty] | 2 | [6 empty] | 2
Allen Switch - Plano Tennyson & Renner Switch 345kV | Allen Switch - Plano Custer Road 138kV | [5 empty] | 2 | [6 empty] | 2
Asherton-West Conoco 138kV | Uvalde - Asphalt Mines 138kV | [11 empty] | 2 | 2
Austrop - Lost Pines 345 kV | Austrop 345/138 kV Auto | 1 | 1 | [10 empty] | 2
Barrilla - Fort Stockton 138kV | Barrilla-Fort Stockton 69kV | [10 empty] | 2 |  | 2
Bates - Frontera 138kV | Frontera - North McAllen 138kV |  | 2 | [10 empty] | 2
Bates Unit 1 | Bates 138/69kV Auto |  | 2 | [10 empty] | 2
Big Lake-North McCamey 138kV | Fort Lancaster-Illinios 69kV |  | 2 | [10 empty] | 2
Bowie-Patterson Street | Bowie transformer #1 | [9 empty] | 2 |  |  | 2
Braunig - Elmendorf 138kV | Leon Creek - Pleasanton 138kV | [6 empty] | 2 | [5 empty] | 2
Buda - Turnersville 138kV | Kendall CTEC - Kendall 138kV | [5 empty] | 2 | [6 empty] | 2
Centerville Rd. - Forney Switch 345kV | Seagoville Switch 345/138kV Auto |  | 2 | [10 empty] | 2
Clear Spring - Marion - Zorn 345 kV | Loop 337 - Comal 138 kV | 1 |  | 1 | [9 empty] | 2
Coleto Creek - Kenedy 138kv | Elmendorf - Eagle Creek 138kV | [8 empty] | 2 |  |  |  | 2
Coleto Creek - Kenedy SW 138kV | Leon Creek-Pleasanton 138kV |  |  |  |  | 1 |  |  |  |  | 1 |  |  | 2
Comanche Peak 1 & 2 | Gideon - Butler 138kV | [11 empty] | 2 | 2
Dilley Sw - San Miguel Switch 138kv | Persall - Derby Sub 69kV |  | 2 | [10 empty] | 2
Dilley SW-North Laredo 138kV | North Laredo-Asherton 138kV | [11 empty] | 2 | 2
Dilly Sw - North Laredo 138kV | San Diego - Freer 69kV |  | 2 | [10 empty] | 2
Duke - Pharr Magic Valley 138kV | North McAllen - West McAllen 138kV |  | 2 | [10 empty] | 2
Farmersville-Monticello SES | Allen Switch AXFMR 2 | [9 empty] | 2 |  |  | 2
Ferguson - Wirtz 138kV | Ferguson-Wirtz 138kV |  |  |  |  | 1 |  |  |  |  | 1 |  |  | 2
Fisher Rd-Oklaunion-Bowman 345kV | Lake Pauline 138/69 Auto | [8 empty] | 2 |  |  |  | 2
Fredericksburg - Gillespie 138 kV | Fredericksburg AT2 Auto | 2 | [11 empty] | 2
Frontera - South McAllen 138kV | Frontera - North McAllen 138kV |  |  |  |  | 1 |  | 1 | [5 empty] | 2
Gibbons Creek - Bryan - Greens Prairie 138kV | Hearn - Hearn Sws 69 kV |  |  |  |  | 2 | [7 empty] | 2
Gibbons Creek- Greens Prairie 138 kV | Dansby - Texas AM Sws 138 kV |  | 2 | [10 empty] | 2
Graham - Benbrook & Graham - Parker Switch 345kV | Stephenville TU - Lingleville Tap 138kV |  |  |  |  | 2 | [7 empty] | 2
Graham - Sweetwater & Abilene Mulberry Creek 345kV | Graham - Murray TU 138kV |  | 2 | [10 empty] | 2
Heights - Freeway Park 138 kV | PH Robinson - Heights 138 kV | 2 | [11 empty] | 2
Hi Cross-Salem Walk 138kV | Burleson - Pedernales 138kV | [11 empty] | 2 | 2
Holt Switch-Andrews North 138kV | Holt Switch - Emma Tap 69kV | [11 empty] | 2 | 2
Jacksboro Sw-Willowcreek | Stephenville-Lingleville Tap | [9 empty] | 2 |  |  | 2
La Palma - Rio Hondo 345kV | Rio Hondo-Rio Hondo MV 138kV | [10 empty] | 2 |  | 2
La Palma - Rio Hondo 345kV | South McAllen-Hidalgo 69kV | [10 empty] | 2 |  | 2
Leon Creek - Pleasanton 138kv | Eagle Creek - Elmendorf 138kv | [8 empty] | 2 |  |  |  | 2
Live Oak CSW T1 138/69 kV auto | Friend Ranch-Ozona 69kV |  |  |  |  | 2 | [7 empty] | 2
Lon Hill - Koch Hearns Ferry 138kV | McKenzie - Westside 138kV | [6 empty] | 2 | [5 empty] | 2
Lytle - Summerset 138kV | Leon Creek - Pleasanton 138kV | [7 empty] | 2 |  |  |  |  | 2
Marion - Zorn & Clear Springs 345kV | Seguin - Zorn 138kV | [7 empty] | 2 |  |  |  |  | 2
Marion - Clear Springs 345kV | McCarty - Henna 138kV | [5 empty] | 1 | 1 | [5 empty] | 2
Marion - Zorn & Clear Springs 345kV | Zorn AT1 345/138kV Auto | [7 empty] | 2 |  |  |  |  | 2
Martin Lake - Stryker Creek - Enterprise 345 | Elkton 345/138 kV Auto |  |  | 2 | [9 empty] | 2
Midland East - Odessa EHV 345kv | Odessa Sw. - Moss Sw 138kv | [8 empty] | 2 |  |  |  | 2
North Denton 138/69kV #1 Auto | North Denton 138/69kV #2 |  |  |  |  | 2 | [7 empty] | 2
North Edinburg - Bates 138 kV | Pharr Magic Valley - Pharr 138 kV | 2 | [11 empty] | 2
North Edinburg 345kV/138kV Auto | Rio Hondo - Magic Valley Burns 138kV | [11 empty] | 2 | 2
Odessa EHV - Moss Sw 138kV | Huntsman - Rexall 138kV |  |  |  | 2 | [8 empty] | 2
PH Robinson - Center 345kV | Cedar Bayou Auto CBYAT2 345/138kV |  | 2 | [10 empty] | 2
Pharr - Pharr MVEC 138kV | North McAllen - West McAllen 138kV | [5 empty] | 1 | 1 | [5 empty] | 2
Pharr Magic Valley EC-Polk Ave 138kV | North McAllen-West McAllen 138kV |  |  |  | 2 | [8 empty] | 2
Rio Hondo - La Palma 345kV | South McAllen-Las Milpas 138kV | [10 empty] | 2 |  | 2
Rio Hondo 345 /138 Auto Transformer | Rio Hondo - La Palma 138 kV | 2 | [11 empty] | 2
RockPort-Rincon T1 138/69kV | Rincon-Gregory 69kV |  |  |  | 2 | [8 empty] | 2
Sandow-Temple | Uvalde-Asphalt Mines | [9 empty] | 2 |  |  | 2
Sargant Rd - Watermill 345kV | Mt Creek - Cedar Hill 138kV | [5 empty] | 2 | [6 empty] | 2
Sargent Rd. - Watermill SW 345kV | Oak Cliff South - Cedar Crest | [7 empty] | 2 |  |  |  |  | 2
Silas Ray - Military Highway 69kV | Airport 138kV/69kV Auto | [6 empty] | 1 |  |  |  |  | 1 | 2
Sonora - Friend Ranch 138kV | Friend Ranch-Ozona 69kV | [5 empty] | 1 |  |  |  |  | 1 |  | 2
Temple - Sandow 345kV | Sandow Auto 345/138kV | [6 empty] | 2 | [5 empty] | 2
Trinidad-Watermill-Tricorner 345kV | TRSES 345kV/138kVAuto | [11 empty] | 2 | 2
West Side CSW - Airline CSW 138kV | Port Aransas - Mustang Island 69kV | [5 empty] | 1 |  |  |  |  | 1 |  | 2
Westside to Barney Davis 138kV | Port Aransas - Mustang Island 69kV |  | 2 | [10 empty] | 2
Zorn - Hays Energy 345kV | Zorn 345/138kV Auto #2 |  |  |  |  | 2 | [7 empty] | 2
Big Brown SES - Venus Switch 345kV | Cedar Hill - Watermill 345kV |  |  |  | 1 | [8 empty] | 1
Big Lake 138/69kV Auto | Fort Lancaster - Illinois #4 69kV |  |  |  | 1 | [8 empty] | 1
Big Lake 138/69kV auto | Illinois #4 - Ozona 69kV |  |  |  | 1 | [8 empty] | 1
Elkton-TriCorner-Martin Lake 345kV | Tyler SE - Tyler GE 138kV |  |  |  | 1 | [8 empty] | 1
Ennis Switch - Desoto switch 138kV | Sterrett - MG Industries 138kV |  |  |  | 1 | [8 empty] | 1
Enterprise - Trindad & Martin Lake - Stryker Creek | Nacogdoches 345/138kV Auto |  |  |  | 1 | [8 empty] | 1
Greenbelt - Caddo 138kV | Greenbelt - Tejas 138kV |  |  |  | 1 | [8 empty] | 1
Heights Sub - Freeway Park 138kV | Heights Sub - PH Robinson 138kV |  |  |  | 1 | [8 empty] | 1
Monticello - Allen - Sulphur Springs 345kV | Farmersville - Monticello 345kV |  |  |  | 1 | [8 empty] | 1
Morgan Creek-Eskota 138kV | Eskota 138/69kV Auto |  |  |  | 1 | [8 empty] | 1
North Edinburg - Bates 138kV | North Edinburg - McColl Rd. 138kV |  |  |  | 1 | [8 empty] | 1
North Edinburg - Rio Hondo 345kV | Magic Valley - Weslaco 138kV |  |  |  | 1 | [8 empty] | 1
North Edinburg - Rio Hondo 345kV | Weslaco - Heidelberg 138kV |  |  |  | 1 | [8 empty] | 1
North Edinburg-Rio Hondo 345kV | Weslaco - Rio Hondo 138kV |  |  |  | 1 | [8 empty] | 1
North Edinburg-Rio-Hondo 345kV | Weslaco switch - Magic Valley Weslaco |  |  |  | 1 | [8 empty] | 1
Abilene Mulberry Creek - Oklaunion 345kv | Vernon - Grayback 69kv | [8 empty] | 1 |  |  |  | 1
Allen Switch - Royse Switch & Monticello 345kV | Tricorner-Water Mill 345kV |  |  |  |  | 1 | [7 empty] | 1
Angleton - West Columbia 138kV | South Lane City - New Gulf 138kV |  |  | 1 | [9 empty] | 1
Asherton - West Batesville 138kV | Derby - Pearsall 69kV |  |  |  |  | 1 | [7 empty] | 1
Asherton 138kV/69kV auto | Uvalde 138kV/69kV auto | [6 empty] | 1 | [5 empty] | 1
Austrop - Lost Pines 345kV | Winchester -Fayetteville 138kV | [6 empty] | 1 | [5 empty] | 1
Austrop-Lost Pines 345 | Fayett-Salem 345kV | [8 empty] | 1 |  |  |  | 1
Bates - Frontera 138kV | Frontera - Sharyland 138kV |  |  | 1 | [9 empty] | 1
Bates 138kV/69kV auto | Bates-North Edinburg 69kV | [6 empty] | 1 | [5 empty] | 1
Bates-Garza | Bates-North Edinburg 69 KV | [9 empty] | 1 |  |  | 1
Big Brown - Richland Chamber 345kV | Tricorner-Water Mill 345kV |  |  |  |  | 1 | [7 empty] | 1
Big Brown - Richland Chambers 345kV | Seagoville Switch 345/138kV Auto |  | 1 | [10 empty] | 1
Big Lake Xmfr W2 138/69kV | Fort Lancaster-Illinios 69kV |  | 1 | [10 empty] | 1
Braunig - Elmendorf 138kv | Leon Creek - Elmendorf 138kv | [8 empty] | 1 |  |  |  | 1
Burnet - Wirtz 138kv | Buchanan - Burnet 69kv | [8 empty] | 1 |  |  |  | 1
Burnett 138/69kV Auto | Buchanan 138/69kV Auto |  |  | 1 | [9 empty] | 1
Carroll-n NW - Forney 345kV | Lake Hubbard - Duck Creek Tap 138kV | [5 empty] | 1 | [6 empty] | 1
Centerville Rd. - Forney Switch 345 kV | Seagoville AXFMR1L | 1 | [11 empty] | 1
Centerville-Forney Switch 345kV | Forney Switch-Lake Hubbard 138kV | [6 empty] | 1 | [5 empty] | 1
Cico - Pipe Creek 138kV | Cico to Comfort 138kV |  | 1 | [10 empty] | 1
Clear Spring-Marion-Zorn 345kV | Bandera LCRA - Verde Creek 138kV |  |  | 1 | [9 empty] | 1
Clear Spring-Marion-Zorn 345kV | Cico to Comfort 138kV |  | 1 | [10 empty] | 1
Clear Spring-Mrion-Zorn 345kV | Cico to Helotes 138kV |  | 1 | [10 empty] | 1
Collin Auto | Renner - Plano Coit 138kV | [5 empty] | 1 | [6 empty] | 1
Comanche Peak - Comanche Switch 345kV | Granbury - Wright 69kV |  |  |  |  | 1 | [7 empty] | 1
Comanche Peak-Decordova & Wolf Hollow-Rocky Rd | Spunky-Hood 138kV |  | 1 | [10 empty] | 1
Dansby T2 138kV/69kV Auto | Hearn-Hearne Switch 69kV | [11 empty] | 1 | 1
Denton 138/69kV T1 auto | Spencer - Denton Steam 69kV | [7 empty] | 1 |  |  |  |  | 1
Denton 138kV/69kV T1 Auto | West Denton - Airport TMPP 138kV | [11 empty] | 1 | 1
Dilley Switch - San Miguel 138 kV | Big Foot 138/69 kV Auto | 1 | [11 empty] | 1
Dupont - Whitepoint 138kv | Whitepoint - Rincon 138kv |  | 1 | [10 empty] | 1
Elgin-Gilleland 138kV | Taylor-Taylor West 138kV | [6 empty] | 1 | [5 empty] | 1
Elkton - Tricorner - Martin lake 345kV | Stryker - Cushing 138kV | [5 empty] | 1 | [6 empty] | 1
Elkton - Tricorner - Martin Lake 345kV | Stryker Creek - Troup 138kV | [5 empty] | 1 | [6 empty] | 1
Elkton-Tricorner & Martin Lake | Tyler NW transformer | [9 empty] | 1 |  |  | 1
Ennis SW - Monfort 138 kV | Waxahachie Pump 1 - MG Industries 138 kV | 1 | [11 empty] | 1
Ennis Sw - DeSoto Sw 138kV | MG Iindustries-Sterret 138 |  |  |  |  | 1 | [7 empty] | 1
Ennis Switch - Desoto- Switch 138kV | Sterrett - Ennis Switch 138kV | [5 empty] | 1 | [6 empty] | 1
Ennis West - Sterrett 138 | Desoto Sw - Red Oak 138kV |  | 1 | [10 empty] | 1
Ennis West - Sterrett 138kV | Rockett - Rockett Switch 69kV |  |  | 1 | [9 empty] | 1
Euless - Liggett Switch 138kV | Lewisville - Lewisville Switch 138kV | [5 empty] | 1 | [6 empty] | 1
Everman Switch-Decordova SES 345kV | Concord 345kV/138kV Auto | [11 empty] | 1 | 1
Fern St. - Ballpark 138kV | Tuttle - Austin Road 138kV | [7 empty] | 1 |  |  |  |  | 1
Fisher Road Switch - Bowman Switch 345kv | Vernon - Grayback 69kv | [8 empty] | 1 |  |  |  | 1
Fisher Road Switch - Oklaunion & Bowman Switch 345kV | Vernon-Grayback 69kV | [10 empty] | 1 |  | 1
Friend Ranch - Big Lake 138kV | Friend Ranch to Crockett Heights 69kV |  |  |  |  | 1 | [7 empty] | 1
Friend Ranch - Big Lake 138kV | Ozona - Friend Ranch 69kV |  | 1 | [10 empty] | 1
Frontera - McAllen 138kV | Frontera to Sharyland 138kV |  |  |  |  | 1 | [7 empty] | 1
Gibbons Ck-Twin Oaks 345kV | Jewett -Watson Chapel 138kV | [6 empty] | 1 | [5 empty] | 1
Gibbons Creek - Bryan - Greens Prairie 138 | Texas AM - Dansby 138 kV |  |  | 1 | [9 empty] | 1
Gibbons Creek - Twin Oak 345kV | Boonville - Sutton 69kV |  |  | 1 | [9 empty] | 1
Gibbons Creek - Twin Oaks 345kV | Boonville - Sutton 69kV |  | 1 | [10 empty] | 1
Gibbons Creek - Twin Oaks 345kV | Greens Prairie - Gibbons Creek 138kV | [5 empty] | 1 | [6 empty] | 1
Gibbons Creek T1 345/138kV | Jewett - Watson Chapel 138kV |  |  | 1 | [9 empty] | 1
Gibbons Creek-Bryan East 138kV | Atkins - Shady Lane 69kV | [11 empty] | 1 | 1
Greenville Steam transformer 1 | Greenville Steam transformer #2 | [9 empty] | 1 |  |  | 1
Hamilton Rd-Sonora | Uvalde-Asphalt Mines | [9 empty] | 1 |  |  | 1
Hill Country - Marion & STP 345kV | Hill Country - Marion 345kV | [5 empty] | 1 | [6 empty] | 1
Hollly-Barney Davis 138kV | Mustang Island-Port Aransas 69kV | [11 empty] | 1 | 1
Holly - Airline 138kV | Aransas Pass - Seawall 69kV | [11 empty] | 1 | 1
Holt Sw -Permian Basin 138kV | North Odessa 138/69kV Auto |  |  | 1 | [9 empty] | 1
Ingleside-Dupont-Whitepoint 138kV | Aransas Pass-Port Aransas 69 kV |  |  | 1 | [9 empty] | 1
Jack County-Hill Top | Jack County-Balsara | [9 empty] | 1 |  |  | 1
Jewett - TH Wharton & Tomball 345kV | Waller -Prairie View 138kV | [5 empty] | 1 | [6 empty] | 1
Kendall 345kV/138kV Auto | Ferguson - Gillespie 138kV | [11 empty] | 1 | 1
Kendall-Fredericksburg | Comfort-Raymond Barker | [9 empty] | 1 |  |  | 1
Killeen Switch 345/138 kV Auto | Temple North - Temple Northwest 138 kV | 1 | [11 empty] | 1
Kingsville - Alice 138 kV | Falfurrias Auto | 1 | [11 empty] | 1
La Palma - Loma Alta 138kv | La Palma - Cavasos 69kv | [8 empty] | 1 |  |  |  | 1
La Palma 345/138kV auto | Rio Hondo - La Palma 138kV |  |  | 1 | [9 empty] | 1
Lake Pauline 138/69kV Auto | Vernon - Grayback 69kV | [5 empty] | 1 | [6 empty] | 1
Laredo Plant - Falfurrias 138 kV | Derby Sub - Pearsall 69 kV | 1 | [11 empty] | 1
Laredo Plant 138/69kV T1 | Laredo 138/69kV A2 auto |  |  |  |  | 1 | [7 empty] | 1
Laredo Plant-Falfurrias 138kV | San Diego - Freer 138kV | [11 empty] | 1 | 1
Lolita - Blessing 138kV | Blessing - Palacios 69kV | [6 empty] | 1 | [5 empty] | 1
Lon Hill - Coleto Creek 345kV | Lon Hill-Pawnee 345kV | [10 empty] | 1 |  | 1
Lon Hill - Koch 138kV | McKenzie - Westside 138kV |  |  |  |  | 1 | [7 empty] | 1
Lon Hill - North Edinburg 345kv | Lon Hill - Stratton 138kv | [8 empty] | 1 |  |  |  | 1
Lon Hill - Nueces Bay 138kV | Lon Hill Auto | [5 empty] | 1 | [6 empty] | 1
Lytton Spring - Zorn & Austrop - Zorn 345kV | Canyon-Camp Gary 69 kV |  |  |  |  | 1 | [7 empty] | 1
Lytton Spring-Zorn-Austrop 345kV | Lockhart 138/69 kV Auto |  |  |  |  | 1 | [7 empty] | 1
Marion - Hill Country - Skyline 345kV | Kendal -Comfort 138kV | [7 empty] | 1 |  |  |  |  | 1
Marion - Hill Country & Skyline 345kV | Cibolo - McQueeney 138kV |  |  |  |  | 1 | [7 empty] | 1
Marion - Hill Country & Skyline 345kV | Three Rivers Auto | [5 empty] | 1 | [6 empty] | 1
Marion - Skyline & Skyline - STP 345kV | Marion - Hill Country 345kV | [6 empty] | 1 | [5 empty] | 1
Marion - Zorn & Clear Spring 345kV | Comfort - Kendall 138kV | [6 empty] | 1 | [5 empty] | 1
Marion - Zorn & Clear Spring 345kV | Hays-Kendall 345kV | [6 empty] | 1 | [5 empty] | 1
Marion - Zorn & Clear Spring 345kV | Seguin 138kV/69kV auto | [6 empty] | 1 | [5 empty] | 1
Martin Lake - Mt Enterprise 345kV | Nacogdoches South Tap-Lufkin 138kV |  |  |  |  | 1 | [7 empty] | 1
McNeil - Round Rock 138kv | McNeil - Howard Lane 138kV | [8 empty] | 1 |  |  |  | 1
McNeil LCRA-Round Rock | McNeil -Howard Tap | [9 empty] | 1 |  |  | 1
Menard 138/69 Auto | Mason - Fort Mason 69 kV | 1 | [11 empty] | 1
Mesquite East-Forney 138kV | Forney Sw-Mesquite East 138kV | [10 empty] | 1 |  | 1
Midland East - Odessa EHV 345kV | Odessa 345/138kV 1H | [7 empty] | 1 |  |  |  |  | 1
Military Hwy 138 / 69 kV Auto | Military Hwy 138/69kV Auto |  |  | 1 | [9 empty] | 1
Monticello - Allen & Sulphur Springs 345kV | Monticello - Farmersville 345kV |  | 1 | [10 empty] | 1
Monticello - Allen -Sulpher Spring 345 kV | Monticello - Paris Sw 345 kV | 1 | [11 empty] | 1
Morgan Creek 345/138kV #1 auto | Morgan Creek 345/138kV auto #2 | [7 empty] | 1 |  |  |  |  | 1
Morgan Creek-Odessa Ector | Big Spring Sw.-Big Spring West | [9 empty] | 1 |  |  | 1
Mt Enterprise - Trinidad/Martin Lake - Stryker Creek | Nacogdoches South East 345/138 kV Auto | 1 | [11 empty] | 1
Mt. Enterprise - Trinadad & Martin Lake 345kV | Nacogdoches Auto | [7 empty] | 1 |  |  |  |  | 1
N Edinburg - Bates 138kV | North Edinburg – Moore Field 69kV | [5 empty] | 1 | [6 empty] | 1
N McAllen - W McAllen 138kV | Frontera-S McAllen 138kV | [5 empty] | 1 | [6 empty] | 1
North Denton 138/69kv Auto | Spencer - Denton Steam 69kv | [8 empty] | 1 |  |  |  | 1
North Edinburg - Bates 138kV | North Edinburg - Moore Field 69kV | [6 empty] | 1 | [5 empty] | 1
North Edinburg - Bates 138kV | Phar Mvec- Pharr 138kV |  | 1 | [10 empty] | 1
North Edinburg - Bates 138kV | Polk Avenue - Pharr 138kV |  | 1 | [10 empty] | 1
North Edinburg - North McAllen 138kV | Pharr-Pharr MVEC 138kV |  |  |  |  | 1 | [7 empty] | 1
North Edinburg-Bates 138kV | North Edinburg-Moore Field 69kV | [10 empty] | 1 |  | 1
North McAllen - North Edinburg 138kV | Pharr-Pharr MVEC 138kV |  |  |  |  | 1 | [7 empty] | 1
Norwood SW - Liggett SW & Cedar Hill SW | Irving Hunter Ferrell - Norwood SW | [7 empty] | 1 |  |  |  |  | 1
Odessa EHV - Moss Switch 138kV | Rexal - General Tire 138kV |  |  |  |  | 1 | [7 empty] | 1
Odessa EHV Switch 345kV/138kV auto #2 | Odessa EHV Switch 345kV/138kV | [6 empty] | 1 | [5 empty] | 1
Odessa EHV-Moss Sw 138kV | Olefin Sw - General Tire Sw | [11 empty] | 1 | 1
Odessa-Moss 345kV | Odessa EHV-General Tire Sw 138 |  |  |  |  | 1 | [7 empty] | 1
Oklaunion - Fisher Road - Bowman 345kv | Grayback - Vernon 69kv | [8 empty] | 1 |  |  |  | 1
Oklaunion G1 | Stephenville-Lingleville 138kV | [7 empty] | 1 |  |  |  |  | 1
Oran Tu - RW Miller 138kV | Stephenville TU - Lingleville Tap 138kV |  |  |  |  | 1 | [7 empty] | 1
P.H. Robinson - Center 345 kV | Cedar Bayou Auto AT2 | 1 | [11 empty] | 1
Parker Switch-EMSES & Roanoke | Flat Rock-Azle | [9 empty] | 1 |  |  | 1
Pawnee - Calaveras 345kV | Leon Creek - Pleasanton 138kV | [6 empty] | 1 | [5 empty] | 1
Pawnee - Calaveras 345kV | Leon Creek -Pleasanton 138kV |  |  |  | 1 | [8 empty] | 1
Pawnee - Lon Hill 345kV | Blessing-Lolita 138kV | [10 empty] | 1 |  | 1
Pawnee-Calavares | Leon Creek-Pleasanton | [9 empty] | 1 |  |  | 1
Pawnee-Lon Hill | Kenedy Switch-Kenedy Sub | [9 empty] | 1 |  |  | 1
Pharr - Pharr MVEC 138kV | North Edinberg - Moore Field 69kV | [11 empty] | 1 | 1
Pharr Magic Valley – Val Verde 138kV | North Edinburg-Moore Field 69kV |  |  | 1 | [9 empty] | 1
Pharr MVEC - MVEC Val Verde 138kV | North Edinburg - North Alamo 69kV |  |  |  | 1 | [8 empty] | 1
Pharr-Magic Valley EC-Polk Ave 138kV | West McAllen - North McAllen 138kV |  |  |  | 1 | [8 empty] | 1
Quanab AB Chem - Fairmont 138kV | Jefferson - South Channel 138kV |  |  | 1 | [9 empty] | 1
Rio Hondo - La Palma 345kV | Rio Hondo - La Palma 138kV | [7 empty] | 1 |  |  |  |  | 1
Rio Hondo-345kV xmfr | La Palma-Rio Hondo 138kV | [6 empty] | 1 | [5 empty] | 1
Royse SW - Ben Davis 345kV | Forney Sw - Duck Creek Tap 138kV | [7 empty] | 1 |  |  |  |  | 1
Salem AT3 transformer | Gideon-Austrop 138 | [9 empty] | 1 |  |  | 1
Salem Auto | Fayette -Fayetteville 345kV | [5 empty] | 1 | [6 empty] | 1
Salem LCRA - Highway 36 138kV | Gayhill-Sandyhill 138kV | [6 empty] | 1 | [5 empty] | 1
Sandow - Austrop 345kV | Gideon - Butler 138kV | [11 empty] | 1 | 1
Sandow - Temple Sw. 345kV | Rockdale - Sandow 138kV |  |  |  | 1 | [8 empty] | 1
Sandow #4 | Gideon-Butler 138kV | [10 empty] | 1 |  | 1
Sandow 345/138kV Auto | Sandow - Elgin Switch 138kV |  |  |  | 1 | [8 empty] | 1
Sandow SES - Temple Sws 345kV | Watson Chapel to Robertson 138kV |  |  |  |  | 1 | [7 empty] | 1
Sandow SES 345/138kV tr | Sandow-Salty 138kV | [10 empty] | 1 |  | 1
Sandow SES T1 345/138kV | Taylor - West Taylor 138kV |  | 1 | [10 empty] | 1
Sandow transformer | Sandow-Elgin Switch | [9 empty] | 1 |  |  | 1
Sandow Unit 4 | Sandow Auto 1 | [8 empty] | 1 |  |  |  | 1
Sargent Rd-Water Mill Sw | Lake Hubbard-Duck Creek Tap | [9 empty] | 1 |  |  | 1
Sargent Road - Watermill 345kV | Mesquite East -Mesquite West 138kV | [7 empty] | 1 |  |  |  |  | 1
Skyline - Nacogdoches | Randolph Field - Weiderstein138kv | [8 empty] | 1 |  |  |  | 1
Somerset - Lytle 138kV | Leon Creek -Pleasanton 138kV |  |  |  | 1 | [8 empty] | 1
South McAllen 138/69kV Auto | La Palma - Rangerville 69kV | [7 empty] | 1 |  |  |  |  | 1
STP - Dow 345kV | Blessing - Lane City 138kV | [7 empty] | 1 |  |  |  |  | 1
STP-Skyline-Hill Country 345kV | Zorn-Seguin 138kV | [10 empty] | 1 |  | 1
Stryker Creek - Trinidad 345kV | Stryker Creek - Summerfield Tap 138kV | [5 empty] | 1 | [6 empty] | 1
Summerset - Lytle 138kV | Leon Creek-Howard Rd 138kV line | [6 empty] | 1 | [5 empty] | 1
Temple - Lake Creek & Tradinghouse 345kV | Lake Creek-Temple Switch 138kV | [6 empty] | 1 | [5 empty] | 1
Temple Lake CK & Tradinghouse 345 | Temple SW-Lake Creek SES 138 | [7 empty] | 1 |  |  |  |  | 1
Temple Sw-Bell County 138kV | Seaton-Poag 69kV | [10 empty] | 1 |  | 1
Temple-Lake Creek-Tradinghouse 345kV | Robertson-Milano 138kV |  | 1 | [10 empty] | 1
Tradinghouse - Venus 345kv | Tradinghouse - Lake Creek | [8 empty] | 1 |  |  |  | 1
Tri-Corner - Trindad 345kv | Forest Grove - Mabank Tradinghouse - Venus | [8 empty] | 1 |  |  |  | 1
Tricorner-Martin lake&Forney Sw-Elkton 345kV | Elkton 345/138kV Transformer |  |  |  | 1 | [8 empty] | 1
Trinidad - Stryker & Mt. Enterprise 345kV | Stryker - Dialville 138kV | [5 empty] | 1 | [6 empty] | 1
Trinidad - Stryker Creek & Trindad - Mt. Enterprise | Athens Tap - Athens SW 138kV | [7 empty] | 1 |  |  |  |  | 1
Trinidad - Watermill - Tricorner 345kV | Forest Grove Switch-Mabank Tap | [10 empty] | 1 |  | 1
VH Braunig - Elmendorf 138kV | Leon Creek - Pleasanton 138kV | [6 empty] | 1 | [5 empty] | 1
Watermill-Tricorner & Trinidad | Kleburg Tap-Seagoville | [9 empty] | 1 |  |  | 1
Watermill-Trinidad 345kV | Tricorner-Water Mill 345kV |  |  |  |  | 1 | [7 empty] | 1
West Columbia Main - Sweeny Cogen 138kV | Sweeny Sub - Clemons Tap 69kV |  |  |  | 1 | [8 empty] | 1
West Columbia Main - West Columbia 138kV | West Columbia - Pledger 138kV | [5 empty] | 1 | [6 empty] | 1
West Levee 345/138 #1 | West Levee 345/138 #2 | [7 empty] | 1 |  |  |  |  | 1
Zorn - Hays Energy 345kV | Kendall AT1 Auto | [5 empty] | 1 | [6 empty] | 1
Zorn - Hays Energy 345kV | Zorn Auto 1 |  |  |  |  | 1 | [7 empty] | 1
Zorn-McCarty Lane | Henne-Comal | [9 empty] | 1 |  |  | 1
| Ennis switch to Ennis West 138 kV | 1 | [11 empty] | 1