Date:  May 25, 2006

To:  TAC Representatives

From:	 Kevin Gresham, PRS Chair

Re:  Consideration of Protocol Revision Requests

PRS acted upon the following PRRs and presents them to the TAC for consideration.

# PRRs Recommended for Approval:

PRS voted to recommend the following PRRs to the TAC for approval:

- PRR654 - Remove Market Solution References.  Proposed effective date: August 1, 2006. No budgetary impact; no impact to ERCOT staffing; no impact to ERCOT systems; no impact to ERCOT business functions; no impact to grid operations.  This revision removes references to the term "Market Solution" from the Protocols.  ERCOT posted this PRR on 3/14/06.  On 4/21/06, PRS voted to recommend approval of PRR654 as submitted; there was one abstention from the Independent Power Marketer segment.  All Market Segments were present for the vote.  On 5/18/06, PRS noted that PRR654 has no impacts to ERCOT systems.  ERCOT credit staff and the Credit WG have reviewed PRR654 and do not believe it requires changes to credit monitoring activity or the calculation of liability.

- PRR655 - Approval of Temporary Modification to Annual Validation.  Proposed effective date: August 1, 2006. No budgetary impact; no impact to ERCOT staffing; no impact to ERCOT systems; no impact to ERCOT business functions; no impact to grid operations.  This revision allows TAC to grant approval of a temporary modification to the Annual Validation process.  ERCOT posted this PRR on 3/16/06.  On 4/21/06, PRS unanimously voted to recommend approval of PRR655 as submitted.  All Market Segments were present.  On 5/18/06, PRS noted that PRR655 has no impacts to ERCOT systems.  ERCOT credit staff and the Credit WG have reviewed PRR655 and do not believe it requires changes to credit monitoring activity or the calculation of liability.

- PRR661 - Performance Enforcement Criteria - URGENT. Impact analysis pending. This revision creates the criteria for Schedule Control Error (SCE) performance enforcement.  ERCOT posted this PRR on 4/7/06.  The submitter requested urgent status stating that this “PRR replaces the current methodology for Schedule Control Error (SCE) Performance measurement. In order for this to be in place prior to the expiration of the six month delay for compliance enforcement, it will need to be considered at the April PRS meeting."  On 4/12/06, PRS granted urgent status to PRR661 via e-mail vote.  On 4/21/06, PRS voted to table PRR661 with two abstentions from the Independent Generator and Independent Power Marketer segments.  On 5/18/06, PRS voted to recommend approval of PRR661 as amended by PRS.  All Market Segments were present.

- PRR662 Modify Ancillary Service Deployment Performance Conditions – URGENT.  Impact analysis pending.  Clarifies current language exempting the intervals following a Forced Outage from the SCE compliance measure and adds additional exemptions to address infeasible portfolio instructions, Responsive Reserve Service ramping, unit testing, and the scheduling of Uncontrollable Renewable Resources.  ERCOT posted this PRR on 4/10/06.  The submitter requested urgent status so that this PRR could be considered at the April PRS meeting along with the full package of SCE-related solutions to the frequency control issue.  On 4/12/06, PRS granted urgent status to PRR662 via e-mail vote.  On 4/21/06, PRS voted to table PRR662 with two abstentions from the Independent Generator and Independent Power Marketer segments.  On 5/18/06, PRS voted to recommend approval of PRR662 as amended by WMS comments.  All Market Segments were present.

# PRRs Recommended for Rejection:

PRS voted to recommend rejection of the following PRR to the TAC:

- PRR649 - Correct "K" Factor in Compliance SCE Formula - URGENT.  Proposed effective date: April 1, 2006.   This PRR would have revised the “K” factor in the Regulation Service monitoring SCE compliance formula from 0.81 to 1.00, thereby increasing the deadband for allowing QSEs to receive a passing score.  ERCOT posted PRR649 on 2/22/06.  The submitter requested urgency so that the SCE formula correction could be applied to the formula at the earliest possible time.  On 2/23/06, PRS voted to grant urgency, with two opposing votes (Municipal and Consumer segments) and one abstention (Independent REP segment).  PRS then voted to recommend approval of PRRR649 as submitted.  The motion passed with two opposing votes (Municipal and Consumer segments) and three abstentions (IOU, Municipal and Independent REP segments).  All Market Segments were present for the vote.

On 3/9/06, TAC voted to refer PRR649 to ROS to evaluate the potential impact of this PRR on reliability and report back to TAC at the April TAC meeting.  The motion passed unanimously with all market segments present for the vote.  On 4/7/06, TAC voted to remand to PRS for evaluation within the context of other PRRs related to Frequency Response and directed ROS to submit written comments to PRS on the “K” factor.  The motion passed unanimously with all market segments present for the vote.  On 4/21/06, PRS voted to table consideration of PRR649, along with PRRs 586, 656, 661 and 662, until the May 18, 2006 PRS Meeting.  The motion passed with two abstentions (Independent Power Marketer and Independent Generator segments).  All Market Segments were present for the vote.  On 5/18/06, PRS voted to recommend rejection of PRR649, with three abstentions (Independent REP (2) and Municipal segments).  The Consumer segment was not present for the vote.

- PRR586 – SCE Performance and Regulation Cost Re-allocation.  This PRR would have replaced monitoring of QSEs’ adherence to their base power schedules, Balancing Energy Dispatch Instructions and Ancillary Service Dispatch Instructions with a single metric that motivates QSEs to stay on schedule and perform their obligations. ERCOT posted this PRR on 4/01/05.  The submitter requested urgent status, but the request failed to garner enough favorable votes. On 5/19/05, PRS discussed the PRR and voted to remand it to ROS with a suggestion that the Performance, Disturbance, Compliance Working Group (PDC) review issues identified by PRS.  On 7/21/05, PRS discussed the PRR and voted to refer it to WMS and ROS for further development.  On 9/29/05, ROS reported to PRS the results of its investigation.  On 4/21/06, PRS voted to table consideration of PRR656, along with PRRs 586, 649, 661, and 662.  On 5/18/06, PRS voted to recommend rejection of PRR586, with three abstentions (Independent REP (2) and Municipal segments).  The Consumer segment was not present for the vote.

- PRR656 - SCE Performance Charge.  This PRR would have created an SCE Performance Charge to replace SCE Performance monitoring.  ERCOT posted this PRR on 3/15/06.  The submitter had requested urgent status so the PRR could be in place prior to the expiration of the six month delay for ERCOT Compliance enforcement of Protocol Section 6.10.5.3, SCE Monitoring Criteria.  On 3/17/06, at the end of the email voting period, the PRR had failed to receive sufficient votes for urgent status.  On 4/21/06, PRS voted to table consideration of PRR656, along with PRRs 586, 649, 661, and 662.  On 5/18/06, PRS voted to recommend rejection of PRR656, with three abstentions (Independent REP (2) and Municipal segments).  The Consumer segment was not present for the vote.

---------------------------------------------------------------------------------------------------------------------

Status of Pending PRRs (Information Purposes Only):

Deferred or Tabled

- PRR658, Requirements for Entities Re-entering the ERCOT Market.  ERCOT posted this PRR on 3/31/06.  It is on a normal timeline.  On 5/18/06, PRS unanimously voted to refer PRR658 to the Credit Work Group to review PRS’ suggested amendments to Section 16.1 and to RMS to review Section 16.1.1.  All market segments were present for the vote.

- PRR664, Revise Non-Spinning Reserve Services Performance Monitoring Criteria.  ERCOT posted this PRR on 4/21/06.  It is on a normal timeline.  On 5/18/06, PRS unanimously voted to refer PRR664 to ROS and request that the issue of the Ancillary Services testing deadline be placed on the June TAC agenda.

- PRR665, Revise Responsive Reserve Service Performance Monitoring Criteria.  ERCOT posted this PRR on 4/21/06.  It is on a normal timeline.  On 5/18/06, PRS unanimously voted to refer PRR665 to ROS and request that the issue of the Ancillary Services testing deadline be placed on the June TAC agenda.

- PRR652 - Customer Information Repository.  ERCOT posted this PRR on 3/8/06.  It is on a normal timeline.  ERCOT credit staff and the Credit WG have reviewed PRR652 and do not believe it requires changes to credit monitoring activity or the calculation of liability.

Pending Input from Other Subcommittees

- PRR476 – Ramp Rate Adherence During Local Congestion.  PRS recommended approval of this PRR on 5/21/04; TAC approved it on 6/3/04.  On 6/15/04, the Board remanded PRR476 back to the TAC for the development of a cost estimate, noting that there is more than one way to implement the PRR and that further direction from the stakeholders is needed.  On 7/8/04, TAC remanded PRR476 to the PRS with instructions that the WMS is to further define how PRR476 should be implemented.

- PRR549 – Regulation Control During Abnormal Frequency Events.  ERCOT posted this PRR on 10/8/04.  At its November 2004 meeting, PRS remanded the PRR to ROS.

- PRR584 – Extending Black Start Service Bid Timeline.  ERCOT posted this PRR on 3/25/05.  On 4/21/05, PRS voted to refer the PRR to the Black Start Task Force for further development.  There were three abstentions from the Municipal and Coop (2) segments.  All segments were present for the vote.

- PRR553 – Scheduling Trading Hubs.  This PRR was remanded to PRS by TAC on 1/6/05, to be remanded to WMS to further review its impacts and determine the necessity of implementing this PRR before the possible implementation of a nodal market (TNT).

- PRR605 - SCE Performance Monitoring for Combined Cycle Resources. ERCOT posted this PRR on 5/27/05.  PRS did not approve the request for urgent status (via email vote).  At its 6/23/05 meeting, PRS voted to refer the PRR to WMS for assignment to the WMS task force considering frequency issues.

- PRR607 - One-Minute Ramp Schedules.  ERCOT posted this PRR on 5/27/05.  At its 6/23/05 meeting, PRS voted to refer the PRR to WMS for assignment to the WMS task force considering frequency issues.

- PRR608 - Improve Ancillary Service Performance Conditions.  ERCOT posted this PRR on 6/1/05.  On 7/21/05, PRS voted to refer PRR608 to WMS and ROS task forces.

- PRR631 – Black Start Bid Procedures and Compensation for Testing.  ERCOT posted this PRR on 9/6/05.  On 10/20/05, PRS voted unanimously to refer PRR631 to ROS and the Black Start Task Force to address issues raised in ERCOT Staff’s comments

- PRR647 - Gross and Net MW/Mvar Data Reporting.  ERCOT posted this PRR on 12/05/05.  It is on a normal timeline.  On 1/19/06, PRS voted unanimously to refer PRR647 to ROS for determination of ERCOT needs and identification of data already reported to ERCOT by Market Participants.  On 3/23/06, PRS received an oral report of ROS’ discussions regarding PRR647 and voted to forward additional instructions to ROS.

Review of Impact Analysis (and CBA as Appropriate) at June 2006 PRS Meeting

- PRR653 - OOME Ramp Rate Adherence.  ERCOT posted this PRR on 3/9/06.  It is on a normal timeline.  ERCOT credit staff and the Credit WG have reviewed PRR653 and do not believe it requires changes to credit monitoring activity or the calculation of liability.