## Disclaimer
Disclaimer
CDR WORKING PAPER
FOR PLANNING PURPOSES ONLY
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been developed from data provided by ERCOT market participants. The data may contain errors or become obsolete and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS OR IMPLIED, INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE, AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH ALL FAULTS. The specific suitability for any use of the Working Paper and its accuracy should be confirmed by each ERCOT market participant that contributed data for this Working Paper.
This Working Paper is based on data submitted by ERCOT market participants as part of their Annual Load Data Request (ALDR) and their generation asset registration and on data in the EIA-411. As such, this data is updated on an ongoing basis, which means that this report can be rendered obsolete without notice.

## Summer Summary
2006 Report on the
Capacity, Demand, and Reserves in the ERCOT Region
Summer Summary
|  | 2006 | 2007 | 2008 | 2009 | 2010 | 2011
Load Forecast:
| Total Summer Peak Demand, MW | 61656 | 63222 | 64318 | 65950 | 67548 | 69034
| less LAARs Serving as Responsive, MW | 1112 | 1112 | 1112 | 1112 | 1112 | 1112
| Firm Load Forecast, MW | 60544 | 62110 | 63206 | 64838 | 66436 | 67922
Resources:
| Installed Capacity, MW | 58831.3 | 58831.3 | 58831.3 | 58831.3 | 58831.3 | 58831.3
| Capacity from Private Networks, MW | 6419 | 6575 | 6279 | 6279 | 6279 | 6279
| 2.6% of Wind Generation | 61.9606 | 61.9606 | 61.9606 | 61.9606 | 61.9606 | 61.9606
| RMR Units under Contract, MW | 267 | 170 | 170 | 170 | 0 | 0
| Operational Generation, MW | 65579.2606 | 65638.2606 | 65342.2606 | 65342.2606 | 65172.2606 | 65172.2606
| 50% of Asynchronous Ties, MW | 428 | 553 | 553 | 553 | 553 | 553
| Switchable Units, MW | 2645 | 2810 | 2810 | 2810 | 2810 | 2810
| Mothballed Units Available, MW | 2103.95 | 1997.1 | 1789.9 | 1786.5 | 1783.1 | 1820.1
| Planned Units (not wind) with Signed IA, MW | 0 | 550 | 550 | 550 | 1300 | 1300
| 2.6% of Planned Wind Units with Signed IA, MW | 0 | 24.8118 | 37.5778 | 37.5778 | 37.5778 | 37.5778
| less Retiring Units, MW | 0 | 0 | 393 | 451 | 451 | 451
| Total Resources, MW | 70756.2106 | 71573.1724 | 70689.7384 | 70628.3384 | 71204.9384 | 71241.9384
| Official Reserve Margin | 16.87% | 15.24% | 11.84% | 8.93% | 7.178% | 4.888%
(Resources - Firm Load Forecast)/Firm Load Forecast
Alternate Scenarios
| "High" Reserve Margin (all Mothballed Units return) | 16.87% | 26.4% | 23.14% | 19.95% | 18.19% | 15.61%
| "Low" Reserve Margin (no Mothballed Units return) | 16.87% | 12.02% | 9.008% | 6.175% | 4.494% | 2.208%
| Reserve Margin w/ Publicly Announced Thermal Units (net)* | 16.95% | 15.36% | 11.96% | 20.04% | 24.03% | 23.04%
* Air Permit either requested or issued, but no IA signed
ERCOT System Planning
2006-05-31