## Slide 1: ROS Report to TAC – 6/1/06
ROS will next meet on 6/15-16/06
Day-and-a-half meeting permits extended discussion on technical issues
TPTF Requests / Responses
Review of EECP Steps / Improvements
RRS Performance Metric
Hurricane Rita Lessons Learned

## Slide 2: ROS Report to TAC – 6/1/06 ROS Review of 4/17/06 EECP Event
ROS met on 5/15/06 to review the ERCOT Operations Report for the 4/17/06 EECP event.
ROS had no significant issues with the data in the report, or with ERCOT actions taken during the event
Issues for additional discussion / improvement:
Reliance on 100% of indicated reserve capability
Improved advance notice to participants
Dispatch / control of additional reserves
Clarity /adequacy of communication
Timing of manual LAAR deployment
Timing of Public Appeals
Discussion of these points at the next ROS necessary to enable a determination of more appropriate EECP triggers and/or any changes in actions at EECP steps.

## Slide 3: ROS Report to TAC – 6/1/06 Progress on Remaining TPTF Requests
Telemetry Criteria – NDSWG sponsored meetings in progress, ROS to consider in June.
State Estimator Performance Standard – NDSWG sponsored meetings in progress, ROS to consider in June.
Optimal Frequency Bias – PDCWG assignment, ROS to consider later this summer.
Non-Spin Deployments – ROS to consider later this summer.
Section 8 Performance Measures – Not active at this time.
Simple Transmission Outage – ROS to consider ERCOT proposal later this summer.