## Slide 1: Protocol Revision Subcommittee
Presentation to the
ERCOT Technical Advisory Committee
June 1, 2006

## Slide 2: PRS Summary
4 PRRs for Approval
  3 Non-System Changes – IA only
  1 System Change – CBA/IA
  2 Urgent
Extension of A/S Qualification Period
Review Participant Funding Pros & Cons

## Slide 3: PRR 654 – Remove Market Solution References
Purpose (LCRA, Cooperative) | Removes the term “market solution” from the Protocols. | 
Benefit | Clearer, more accurate Protocols | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS recommended approval with 1 abstention; all market segments were present | 
Effective Date | August 1, 2006 | 

## Slide 4: PRR 654 – Remove Market Solution References
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 5: PRR 655 – Approval of Temporary Modification to Annual Validation
Purpose (Reliant, IPM for PWG) | Allows TAC to grant approval of temporary modification to the Annual Validation process. | 
Benefit | This revision would allow TAC to give the final approval for both permanent and temporary modifications to the Annual Validation process. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS recommended approval unanimously; all market segments were present | 
Effective Date | August 1, 2006 | 

## Slide 6: PRR 655 – Approval of Temporary Modification to Annual Validation
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 7: PRR 661 – Performance Enforcement Criteria -- URGENT
Purpose (PSEG – Independent Generator) | Creates criteria for SCE performance enforcement; Urgent due to PRR 525 being in effect | 
Benefit | If a large QSE is eliminated from the market, the Market Clearing Price (MCPE) will spike to a higher clearing price. This PRR eliminates price shock if a large QSE is eliminated from the Ancillary Services market. | 
Market Impact | N/A | 
System Change | Yes | Project needed to automate manual work-around
Assumptions | Avoids price impact from large QSE disqualification | 
PRS Vote | PRS recommended approval with 3 abstentions; all market segments were present | 
Effective Date | TBD | 

## Slide 8: PRR 661 – Performance Enforcement Criteria -- URGENT
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
1 FTE for ERCOT Compliance
<$100K, Initial Manual Workaround
Increased Compliance Activity

## Slide 9: PRR 662 – Modify A/S Deployment Performance Conditions-- URGENT
Purpose () | Clarifies current language exempting the intervals following a Forced Outage from SCE measure and adds other exemptions; Urgent due to PRR 525 being in effect | 
Benefit | Avoids improper disqualification of Qualified Scheduling Entities (QSEs) and unnecessary depletion of Ancillary Service bid stacks and the resulting higher prices expected from tighter supply. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS recommended approval with 3 abstentions; all market segments were present | 
Effective Date | TBD | 

## Slide 10: PRR 662 – Modify A/S Deployment Performance Conditions-- URGENT
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
1 FTE (Same FTE as PRR 661)

## Slide 11: Recommended TAC Actions
Approval
  PRR 654 – Remove Market Solution References
  PRR 655 – Approval of Temporary Modification to Annual Validation Process
  PRR 661 – Performance Enforcement Criteria -- URGENT
  PRR 662 -- Modify A/S Deployment Performance Conditions -- URGENT

## Slide 12: Extension Of A/S Qualification Period Proposal

## Slide 13: A/S Qualification Extension
PDCWG recommended changes to Responsive and Non-Spin Reserve monitoring criteria in PRRs 664 & 665
PRS reviewed and requested ROS review and comment before taking action
PRS determined that a 60-day extension of the July 31, 2006 should be requested from the ERCOT Board by TAC

## Slide 14: Project Participant Funding: Pros & Cons
PRS Input for ERCOT Board Question

## Slide 15: Market Participant Funding for Market Projects
Issues with Market Participant (MP) funding of market projects identified by PRS on 03/23/06:
Adds a new level of complexity to contract negotiations
  Entity that contributes financially to project could want some level of control over project
  Potential funds management and confidentiality issues
Challenge of addressing resource impacts between fee based and MP funded projects
  Human resource allocation
  Human resource costs
Potential for parties to force option of MP funding if a project does not directly benefit a particular entity
  Results in only projects supported by investors will be funded

## Slide 16: Market Participant Funding for Market Projects
Questions on how to address project overruns or investor abandoned projects
Subsequent Protocol revisions could impact the value of a MP funded project
  MPs may more readily overlook the impacts of such MP funded projects by another project if stakeholders have no financial stake in project
Potential for equity issues whereby large stakeholders have an advantage over smaller entities