Mitigated Offer Curve Cap Rectification Method 1 (dark blue)

Take the largest marginal heat rate value from the resource’s marginal heat rate curve and use this cap value for all MW values of that Resource; or, use the Protocol specified value of 10.5 or 14.5 if the marginal heat rate curve never exceeds that value.

MOC(x) = Max[Max(MarginalheatRate(x)), Protocol-Specified Comparison Heat Rate]

LOL<x<HOL

Mitigated Offer Curve Cap Rectification Method 2 (light blue)

Protocols heat rate language subject to the marginal heat rate value calculated for any output level may not be less than the marginal heat rate value calculated for all previous output levels.

MOC(x) = Max[MarginalheatRate(x-dx), MarginalheatRate(x), Protocol-Specified Comparison Heat Rate]

LOL<x<HOL