| PRR Number | 669 | PRR Title | Timing of Calculation of RPRS Under Scheduled Charges |
| --- | --- | --- | --- |
| Date |  | June 5, 2006 |  |
| Submitter’s Information |  |  |  |
| Name |  | Young Li |  |
| Company |  | ERCOT |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 |  |  |
| Additional Qualitative Information | 1 |  |  |
| Other | 1 |  |  |

- Comments

ERCOT is not prepared to comment on the substance of PRR667 at this time.  Instead, ERCOT is seeking clarification regarding the proposed revisions listed below.  Feedback from Market Participants will allow ERCOT to perform a more in-depth analysis of this PRR.

- In reference to the proposed revisions to Section 4.4.17, ERCOT Procurement of Replacement Reserve Service As Needed, ERCOT needs to know whether it would be acceptable to use the Load forecast around 1600, such as 1555, instead of exactly at 1600?

- In reference to paragraph (1)(a) of Section 6.9.2.1.1, Replacement Reserve Under Scheduled Capacity, ERCOT notes that the ERCOT system does not have the Load schedule at 1600, but it has the Load schedule around 1600 at the time of the Replacement Reserve Service (RPRS) market clearing.  Because a system change will be needed to get the Load schedule snapshot at 1600, would it be acceptable to use the Load schedule around 1600 at the time of RPRS procurement?

- ERCOT Staff looks forward to receiving clarification regarding these issues so that it may proceed with its analysis of this PRR.

Revised Proposed Protocol Language

None