| PRR Number | 669 | PRR Title | Timing of Calculation of RPRS Under Scheduled Charges |
| --- | --- | --- | --- |
| Date |  | June 7, 2006 |  |
| Submitter’s Information |  |  |  |
| Name |  | Ino Gonzalez |  |
| Company |  | ERCOT |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 |  |  |
| Additional Qualitative Information | 1 |  |  |
| Other | 1 |  |  |

Comments

The following changes reflect the current snapshots utilized in the settlement system.  Currently, ERCOT utilizes, for settlement purposes, the schedule snapshots at 1600 or thereafter in the Day Ahead market.  If ERCOT opens a secondary RPRS market, then the snapshot used in settlements is taken 30 minutes after notification of the additional market at the time RPRS is procured.  Since the ERCOT Operator determines when to “push” the button to procure RPRS, the snapshot time may not always be exactly thirty minutes from the time ERCOT sent the notice.

Revised Proposed Protocol Language

6.9.2.1.1	Replacement Reserve Under Scheduled Capacity

(1)	The product of the MCPC multiplied by the amount of capacity insufficiency of each QSE.  The insufficiency for the Operating Hour shall be the sum of:

(a)	The greatest of zero, or each difference between the Adjusted Meter Load and the amount of Load scheduled in each Settlement Interval for the Operating Hour at 1600 or thereafter in the Day Ahead Period or if ERCOT procures RPRS after 1600, thirty (30) minutes after ERCOT provides Notice of procurement of RPRS in the Adjustment Period; and

(b)	The greater of zero, or the amount of capacity that results from either (i) a mismatch in the QSE’s Schedule as defined in Section 4.7.2, Schedule Validation Process, or (ii) a QSE selecting ERCOT as a Resource, at 1600 or thereafter in the Day Ahead period or, if ERCOT procures RPRS after 1600, thirty (30) minutes after ERCOT provides Notice of procurement of RPRS in the Adjustment Period.