| ERCOT Wholesale Client Services |
| --- |
| Event Description: CCRPRSTF | Date: May 10, 2006 | Completed by: Bill Kettlewell |
| Attendees: Dan Jones (CPS Energy), Randy Jones (Calpine), Mark Patterson (ERCOT Market Ops), Bill Kettlewell (ERCOT Client Services) Phone Attendees: Kristi Ashley (Exelon), Ralph Lozano (PSEG TexGen I), Also a phantom listener |
| Summary of Event |
| Randy Jones will deliver the update to WMS Discussed procedures for CC resources that are shown as offline and available in the Day Ahead and Adjustment Periods, including typical and atypical configurations. Revisited Ralph Lozano’s proposal for submitting RP’s from last time. Are there any other configurations that may not fit with Ralph’s proposal? Aux Boilers may be a one-off situation. Probably not an issue often enough to warrant much discussion. Randy expressed concern over situations requiring submission of verifiable costs. Dan and Kristi pointed out that with gas storage, it is nearly impossible to tie gas usage to a specific instruction. Randy pointed out that there are some units that are frequently OOMed by virtue of their location, but have a cost well above the generic cost structure. The only options are pursue verifiable costs or operate at a loss. Dual grid units Regardless of which grid the CT is on, the steamer will always be running If one CT is on in another grid, steamer is on in ERCOT and ERCOT takes second CT, QSE would receive startup for second CT. Steamer output would increase slightly and QSE would redispatch to accommodate or take RI, whichever is appropriate. Units with CT and Steamer on different busses may be a challenge, depending on the loading of the grid at the time of deployment. Worked through spreadsheet example. (Please see additional meeting materials.) Discussed appropriateness of current settlement startup payments for CC Resources that are procured for Local RPRS or OOMC. Dan presented starting fuel graph for one of their two-on-one CC units May indicate a need to revise the generic startup cost schedule. Increase the time window for hot start? Add a warm start window with a generic cost somewhere between cold start and hot start? Increase the payment for cold start? Randy pointed out that this graph represents a limited set a data points. Is there a PRR in this? Action Item for ERCOT: Do we need a PRR to incorporate Ralph’s proposed methodology? Would a Market Bulletin suffice? Would this violate any part of the Resource Plan Performance Metrics? Action Item for ERCOT: Does this methodology break anything for ERCOT? All agree that there is no fuel cost for the steamer. Package proposed solutions for consideration by WMS. Ralph’s proposed methodology PRR for tweaking the cost structure? |
| Action Items / Next Steps: |
| Action Item for ERCOT: Do we need a PRR to incorporate Ralph’s proposed methodology? Would a Market Bulletin suffice? Would this violate any part of the Resource Plan Performance Metrics? Action Item for ERCOT: Does this methodology break anything for ERCOT? |
| Hot topics or ‘At Risk’ Items: |